## HELP
Guidelines for Completing this "Energy Audit Results Template"
General:
▪ The "Template" consists of 5 Categories (spreadsheet tabs) that correspond to the main datasets required from the Energy Audit, namely:
1. Building Information
2. Processes Information
3. Economic and Environmental Indicators
4. Energy Performance Indicators
5. Energy Conversion Factors
▪ Each of the above Categories is divided into different discreet sections e.g. "1. BUILDING INFO" requests for Company Info, Energy Consumption, CO2 Emissions & RES, each with sub-sections
▪ Only the greyed out cells shall/ can be filled in. There are a lot of drop-down menus to aid the entries of data
- Please only provide quality data i.e accurate and true that can be backed up by the energy audit analysis and/or calculations
- Please ensure the values entered correspond to the units of these values, either given in brackets (e.g. m2, kWh etc) or are to be selected (e.g kg, ltr, m3 etc)
- Wherever there is a grey cell with grey italic text, it suggests what should be entered. Sometimes if there is a drop-down menu, a specific option may need further explanation (e.g. Other)
- Wherever there is a grey cell with red italic text, it suggests what should be entered and signifies that it is mandatory
- The Electricity Consumption - Distribution per Type section
▪ There are Notes at certain cells that provide clarification for the content of the cell. Keep your cursor on the cells with a red mark at the top right as shown within this cell
The 5 Spreadsheet Tabs (Data Categories) Explained:
1. Building Information (Non-process info)
The data/info to be provided here regards the energy & emissions analysis of the building under audit and does NOT include any manufacturing Process
The building may be a separate premise from the manufacturing facility OR it can be the manufacturing facility. In the case of the latter, the energy & emissions data for
the buidling shall be separated from the energy & emissions data of the manufacturing processes
The "Electricity Consumption - Distribution per Type" section asks for the percentage share each electricity usage has to the total consumption. The entries must add up to 100%
2. Processes Information
The data/info to be provided in this section regards the energy & emissions analysis of the specific NACE manufacturing/ fabrication processes under audit.
The data/info to be provided in this section shall not regard anything related to building data/ info
The "Electricity Consumption - Distribution % per Type" section asks for the percentage share each electricity usage has to the total consumption. The entries must add up to 100%
3. Economic and Environmental Indicators
In this Tab, the Recommended Energy Efficiency Measures for the Buidling and the Processes shall be listed. Some suggestions are given but the auditor can add more
For each measure, the corresponding economic analysis shall be entered. Please see the Notes for further explanation of each economic Indicator
Likewise, the Environmental Indicators for the potential energy savings of both Electricity and Fuel as well as total emissions shall be calculated and provided.
4. Energy Performance Indicators
These are normalised indicators from already acquired data. These indicators ARE KEY DATA for the project. They are self-explanatory.
5. Energy Conversion Factors
The Conversion Factors will be used to convert the different energy consumptions into Primary Energy and CO2 Emissions which are country-specific.
It is very important to gather this data from each country to have quality calculations for the consumptions and emissions.
PLEASE INSERT ONLY NUMBERS.
Note on B21: Stelios K: Example of Note in cells that require clarification

## 1. BUILDING INFO
COMPANY INFO
Name
Country |  | If Other, please specify
City
Size (personnel number)
Economic Activity Category (NACE Code) | Choose from menu | If Other, please specify
PREMISES CHARACTERISTICS |  | BUILDING INTERNAL AND/OR EXTERNAL PICTURES, IF AVAILABLE
General Characteristics |  | PLEASE INSERT BUILDING INTERNAL AND/OR EXTERNAL PICTURES, IF AVAILABLE
Gross Floor Area (m²)
Heated/Cooled Floor Area (m²)
No. of Floors
No. of Rooms
Underground?
Occupancy Profile
Building Envelope
| U-Value (W/m²∙K) | Area (m²) | Average Thickness (m) | Type | Insulated / Efficient?
Roof
Facades
Openings
Thermal Bridges (i.e. Steel Structure, Huge Openings) | YES / NO?
Systems
| Number | Power (KW) | Heating | Cooling | Energy Efficient?
Chiller
District Heating
VRV / VRF (Outdoor Units)
Split Units
Lighting Fixtures
Automation
Energy Monitoring Information
Energy Management System (e.g. ISO 50 001)?
Energy Performance Certificate? |  | Energy Class | KWh/m²/a | RES - KWh/m²/a
Smart Meters Installed on Site?
API for data acquisition available?
Who provides the data via API?
Who is the Energy Provider?
Who is the Distribution System Operator (DSO)?
Measurement Frequency
ENERGY CONSUMPTION OF THE BUILDING
Reference Year for the Consumptions
Electricity Consumption
Annual Electricity Consumption (kWh)
Percentage of RES in 's Total Electricity Mix
Electricity Consumption - Distribution per Type |  | Electricity Consumption [Builidng] - Distribution per Type for
Heating (%)
Cooling (%)
Domestic Hot Water (%)
Lighiting (%)
Other (%)
Other Energy Sources (Fuel) Consumption
Energy Source Type - 1
Application
Annual Fuel Cosumption |  | Please Select Units
Energy Source - 2 (if applicable)
Application
Annual Fuel Cosumption |  | Please Select Units
Energy Source - 3 (if applicable)
Application
Annual Fuel Cosumption |  | Please Select Units
CO2 EMISSIONS OF THE BUILDING
CO2 Emissions from Electricity |  | tons
CO2 Emissions from Other Energy Sources (Fuel) |  | tons
Total CO2 Emissions |  | tons
Renewable Energy Sources
Photovoltaic System
Size (KWp)
Average Annual Production (kWh)
Solar Thermal - DHW
Panel Size (m²)
Average Annual DHW Production (kWh) |  | whichever is available, both is preferred
Average Annual DHW Production (lts)
Other
Specify the System
Size (KW)
Average Annual Production (kWh)
Note on A16: stelios kyprou: This indicates whether the premise operates office hours (9am-5pm) or other (24h-7days) etc
Note on A32: Stelios K: Motion Sensors for Lighting or HVAC, Central Timers, Card Switches etc
Note on A46: Stelios K: This is the year used to calculate annual consumptions etc
Note on A54: Stelios Kyprou: Includes Ventilation
Note on B61: Stelios K: DWH - Domestic Hot Water
Note on A82: Stelios K: Produced on site, not grid electricity or other means
Note on A83: Stelios K: Produced on site, not grid electricity or other means
Note on A86: Stelios K: e.g. on-site biogas, measurable regeneration/ energy-recovery etc
Note on A87: Stelios K:
Note on A88: Stelios K: Produced on site, not grid electricity or other means

## 2. PROCESSES INFO
PROCESSES DATA
Economic Activity: | Choose from menu | If Other, please specify
Annual Number of Units Produced |  | No.
Annual Tons of Produced Goods |  | tn
Annual Volume of Produced Good |  | m3
Area of Manufacturing Facility |  | m2
Annual Turnover |  | €
ENERGY CONSUMPTION OF THE PROCESSES
Electricity Consumption
Total Annual Electricity Consumption |  | kWh
Electricity Consumption - Distribution % per Type |  | Electricity Consumption [Processes] - Distribution % per Type for
Specify Energy Use No.1 e.g. compressed air (%)
Specify Energy Use No.2 (%)
…
…
Other
Other Energy Source (Fuel) Consumptions for the above NACE category
Energy Source - 1
Annual Fuel Cosumption |  | Please Select Units
Energy Source - 2 (if applicable)
Annual Fuel Cosumption |  | Please Select Units
Energy Source - 3 (if applicable)
Annual Fuel Cosumption |  | Please Select Units
CO2 EMISSIONS OF THE BUILDING
CO2 Emissions from Electricity |  | tons
CO2 Emissions from Other Energy Sources (Fuel) |  | tons
Total CO2 Emissions |  | tons
Photovoltaic System
Size |  | kW
Average Annual Production |  | kWh
Other RES System (e.g. Bio-gas Generator)
Size |  | kW
Average Annual Production |  | kWh

## 3. ECONOMIC ENVIR INDICATORS
ECONOMIC & ENVIRONMENTAL INDICATORS
| DESCRIPTION | ECONOMIC |  |  |  |  | ENVIRONMENTAL
|  | CAPITAL COST (€) | NPV (€) | IRR | INVESTMENT PERIOD | PAYBACK PERIOD | PRIMARY ENERGY SAVINGS - Electricity (kWh/a) | FINAL ENERGY SAVINGS - Electricity (kWh/a) | PRIMARY ENERGY SAVINGS - Fuel (kWh/a) | FINAL ENERGY SAVINGS - Fuel (kWh/a) | TOTAL PRIMARY | TOTAL FINAL | TOTAL EMISSION REDUCTION (tCO2/a)
BUILDING | ROOF THERMAL INSULATION | [9 empty] | 0 | 0
FACADES THERMAL INSULATION
| OPENINGS REPLACEMENT | [9 empty] | 0 | 0
| LIGHTING REPLACEMENT W/ LED | [9 empty] | 0 | 0
| HVAC REPLACEMENT | [9 empty] | 0 | 0
| NEW RENEWABLES SYSTEM PRODUCTION | [9 empty] | 0 | 0
| OTHER (PLEASE SPECIFY) | [9 empty] | 0 | 0
OTHER (PLEASE SPECIFY)
OTHER (PLEASE SPECIFY)
OTHER (PLEASE SPECIFY)
PROCESSES | EQUIPMENT UPGRADE | [9 empty] | 0 | 0
| AUTOMATION INSTALLATION | [9 empty] | 0 | 0
| ENERGY MANAGEMENT SYSTEM IMPLEMENTATION (e.g ISO 50 001 or similar) | [9 empty] | 0 | 0
| NEW RENEWABLES SYSTEM PRODUCTION | [9 empty] | 0 | 0
OTHER (PLEASE SPECIFY)
OTHER (PLEASE SPECIFY)
OTHER (PLEASE SPECIFY)
OTHER (PLEASE SPECIFY)
| OTHER (PLEASE SPECIFY) | [9 empty] | 0 | 0
[6 empty] | of which RES Produced | 0 | 0 | 0 | 0 | 0 | 0 | 0
Note on E4: Stelios K: Net Present Value based on Life Cycle Cost Analysis i.e. cumulative cashflow at the end of life of the investment
Note on F4: Stelios K: Internal Rate on Return related to the calculated NPV
Note on G4: Stelios Kyprou: The period the economic analysis was calculated for each upgrade investment. E.g. for PV's is often 20 yrs
Note on H4: Stelios K: Simple Payback Period

## 4. ENERGY INDICATORS
PLEASE FILL-IN THE DATA BELOW, IF AVAILABLE VIA THE ENERGY AUDITS!!!
ENERGY PERFORMANCE INDICATORS - BUILDING
INDICATOR |  | VALUE | UNIT
OVERALL ANNUAL SPECIFIC CONSUMPTION |  |  | KWh / m²
HEATING ANNUAL SPECIFIC CONSUMPTION |  |  | KWh / m² / HDD
COOLING ANNUAL SPECIFIC CONSUMPTION |  |  | KWh / m² / CDD
LIGHTING ANNUAL SPECIFIC CONSUMPTION |  |  | KWh / fixture
ENERGY PERFORMANCE INDICATORS - PROCESSES
NACE Category: | Choose from menu
INDICATOR |  | VALUE | UNIT
ANNUAL CONSUMPTION per UNITS PRODUCED |  |  | Kwh / No.
ANNUAL CONSUMPTION per TON |  |  | Kwh / ton
ANNUAL CONSUMPTION per VOLUME |  |  | Kwh / m3
ANNUAL CONSUMPTION per AREA |  |  | Kwh / m2
ANNUAL CONSUMPTION per TURNOVER | Annual Turnover |  | Kwh / €

## 5. CONVERSION FACTORS
Energy Convertion Coefficients
| Final to Primary Energy [kWh,f/kWh,pr] | Primary Energy to CO2 Emissions [kgCO2/kWh,pr] | Net Calorific Value [kWh/m3]
Grid Electricity |  |  | -
District Heating |  |  | -
Solid Fuel |  |  | (Standard NCV value in EU)
Diesel |  |  | (Standard NCV value in EU)
Light Fuel Oil (Boiler) |  |  | (Standard NCV value in EU)
LPG |  |  | (Standard NCV value in EU)
Natural Gas
| PLEASE INSERT ONLY NUMBERS ↑ | PLEASE INSERT ONLY NUMBERS ↑ | PLEASE INSERT ONLY NUMBERS ↑
Grid Electricity |  |  |  | These are the values parsed from the coefficient's tab and are COUNTRY-SPECIFIC
District Heating
Solid Fuel
Diesel
Light Fuel Oil (Heating)
Natural Gas
LPG
Grid Electricity | 0 | 0 | - | THESE ARE THE ONES USED FOR CALCULATIONS OF PRIMARY AND CO2 EMISSIONS. THEY ARE EITHER DEFAULT or AUDITOR INPUT
District Heating | 0 | 0 | -
Solid Fuel | 0 | 0 | (Standard NCV value in EU)
Diesel | 0 | 0 | (Standard NCV value in EU)
Light Fuel Oil (Heating) | 0 | 0 | (Standard NCV value in EU)
Natural Gas | 0 | 0 | (Standard NCV value in EU)
LPG | 0 | 0 | 0

## 4. ENERGY INDICATORS (Auto) (hidden)
PLEASE FILL-IN THE DATA BELOW, IF AVAILABLE VIA THE ENERGY AUDITS!!!
ENERGY PERFORMANCE INDICATORS - BUILDING
INDICATOR |  | VALUE | UNIT
OVERALL ANNUAL SPECIFIC CONSUMPTION |  | cannot auto calculate | KWh / m²
HEATING ANNUAL SPECIFIC CONSUMPTION |  | cannot auto calculate | KWh / m² / HDD
COOLING ANNUAL SPECIFIC CONSUMPTION |  | cannot auto calculate | KWh / m² / CDD
LIGHTING ANNUAL SPECIFIC CONSUMPTION |  | cannot auto calculate | KWh / fixture
ENERGY PERFORMANCE INDICATORS - PROCESSES
NACE Category: | Choose from menu
INDICATOR |  | VALUE | UNIT
ANNUAL CONSUMPTION per UNITS PRODUCED |  | #DIV/0! | Kwh / No.
ANNUAL CONSUMPTION per TON |  | #DIV/0! | Kwh / ton
ANNUAL CONSUMPTION per VOLUME |  | #DIV/0! | Kwh / m3
ANNUAL CONSUMPTION per AREA |  | #DIV/0! | Kwh / m2
ANNUAL CONSUMPTION per TURNOVER | Annual Turnover | #DIV/0! | Kwh / €

## Calculations (hidden)
| BUILDING INFO |  |  | ACCOMODATION |  |  | AGRI-FOOD |  |  | METALWORK
| Data Parsing | toe/t | kWh | Data Parsing | toe/t | kWh | Data Parsing | toe/t | kWh | Data Parsing | toe/t | kWh
Electricity Consumption | 0 |  | 0 | [5 empty] | #REF! |  |  | #REF!
Fuel 1 - Solid,kg |  |  |  | #REF! |  |  | #REF! |  |  | #REF!
Fuel 1 - Oil,kg |  |  |  | #REF! |  |  | #REF! |  |  | #REF!
Fuel 1 - Oil, litres |  |  |  | #REF! |  |  | #REF! |  |  | #REF!
Fuel 1 - Natural Gas,m3 |  |  |  | #REF! |  |  | #REF! |  |  | #REF!
Fuel 1 - LPG,kg |  |  |  | #REF! |  |  | #REF! |  |  | #REF!
Fuel 1 - LPG,litres |  |  |  | #REF! |  |  | #REF! |  |  | #REF!
Fuel 2 - Solid,kg |  |  |  | #REF! |  |  | #REF! |  |  | #REF!
Fuel 2 - Oil,kg |  |  |  | #REF! |  |  | #REF! |  |  | #REF!
Fuel 2 - Oil, litres |  |  |  | #REF! |  |  | #REF! |  |  | #REF!
Fuel 2 - Natural Gas,m3 |  |  |  | #REF! |  |  | #REF! |  |  | #REF!
Fuel 2 - LPG,kg |  |  |  | #REF! |  |  | #REF! |  |  | #REF!
Fuel 2 - LPG,litres |  |  |  | #REF! |  |  | #REF! |  |  | #REF!
Fuel 3 - Solid,kg |  |  |  | #REF! |  |  | #REF! |  |  | #REF!
Fuel 3 - Oil,kg |  |  |  | #REF! |  |  | #REF! |  |  | #REF!
Fuel 3 - Oil, litres |  |  |  | #REF! |  |  | #REF! |  |  | #REF!
Fuel 3 - Natural Gas,m3 |  |  |  | #REF! |  |  | #REF! |  |  | #REF!
Fuel 3 - LPG,kg |  |  |  | #REF! |  |  | #REF! |  |  | #REF!
Fuel 3 - LPG,litres |  |  |  | #REF! |  |  | #REF! |  |  | #REF!
PV |  |  | 0 | [5 empty] | #REF! |  |  | #REF!
Solar Thermal |  |  | 0
Other |  |  | 0 | [5 empty] | #REF! |  |  | #REF!
|  |  | 0 |  |  | 0 |  |  | #REF! |  |  | #REF!
Sources:
https://www.seai.ie/data-and-insights/seai-statistics/conversion-factors/
https://www.engineeringtoolbox.com/fuels-densities-specific-volumes-d_166.html
https://www.aqua-calc.com/page/density-table/substance/liquefied-blank-petroleum-blank-gas

## CalculationsUpdated (hidden)
|  |  |  | BUILDING INFO | [12 empty] | PROCESSES INFO
[7 empty] | PRIMARY ENERGY DATA |  |  |  |  | EMISSIONS DATA | [7 empty] | PRIMARY ENERGY DATA |  |  |  |  | EMISSIONS DATA
|  |  |  | Data Parsing | Net Calorific Value [kWh/unit] | Final Energy [kWh,f] | Primary Energy Conversion Factor (default) | Primary Energy Conversion Factor (auditors) | Primary Energy Conversion Factor (available) | Primary Energy [kWh,pr] | SUBTOTALS | CO2 Conversions (default) [kgCO2/kWh] | CO2 Conversions (auditors) [kgCO2/kWh] | CO2 Conversions (available) [kgCO2/kWh] | CO2 Emissions [kgCO2] | SUBTOTALS | Data Parsing | Net Calorific Value [kWh/unit] | Final Energy [kWh,f] | Primary Energy Conversion Factor (default) | Primary Energy Conversion Factor (auditors) | Primary Energy Conversion Factor (available) | Primary Energy [kWh,pr] | SUBTOTALS | CO2 Conversions (default) [kgCO2/kWh] | CO2 Conversions (auditors) [kgCO2/kWh] | CO2 Conversions (available) [kgCO2/kWh] | CO2 Emissions [kgCO2] | SUBTOTALS
GRID | Electricity Consumption |  |  | 0 |  | 0 | 0.2 | 0 | 0.2 | 0 | 0 | 0.8 | 0 | 0.8 | 0 | 0 | 0 |  | 0 | 0.2 | 0 | 0.2 | 0 | 0 | 0.8 | 0 | 0.8 | 0 | 0
FUEL 1 | Solid Fuel | kg |  | 0 | 4.3333 | 0 | 1 | 0 | 1 | 0 | 0 | 0.025 | 0 | 0.025 | 0 | 0 | 0 | 4.3333 | 0 | 1 | 0 | 1 | 0 | 0 | 0.025 | 0 | 0.025 | 0 | 0 | Table 2: CO₂ Emission Factors by Country (kg CO₂/kWh of final energy)
| Solid Fuel | m3 |  | 0 | 2100 | 0 | 1 | 0 | 1 | 0 |  | 0.025 | 0 | 0.025 | 0 |  | 0 | 2100 | 0 | 1 | 0 | 1 | 0 |  | 0.025 | 0 | 0.025 | 0 |  | Fuel Type | France | Spain | Estonia | Latvia | Cyprus | Malta | AVERAGE
| Diesel | kg |  | 0 | 11.9444 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.27 | 0 | 0.27 | 0 |  | 0 | 11.9444 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.27 | 0 | 0.27 | 0 |  | LPG | 0.23 | 0.234 | 0.227 | 0.225 | 0.237 | 0.237 | 0.23
| Diesel | ltr |  | 0 | 9.9444 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.27 | 0 | 0.27 | 0 |  | 0 | 9.9444 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.27 | 0 | 0.27 | 0 |  | Diesel | 0.266 | 0.267 | 0.267 | 0.267 | 0.268 | 0.268 | 0.27
| Diesel | m3 |  | 0 | 9944.4444 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.27 | 0 | 0.27 | 0 |  | 0 | 9944.4444 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.27 | 0 | 0.27 | 0 |  | Light Fuel Oil | 0.279 | 0.281 | 0.279 | 0.279 | 0.282 | 0.282 | 0.28
| Light Fuel Oil (Boiler) | kg |  | 0 | 11.2222 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.28 | 0 | 0.28 | 0 |  | 0 | 11.2222 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.28 | 0 | 0.28 | 0 |  | Wood Pellets | 0.023* | 0.020* | 0.025* | 0.024* | 0.022* | 0.022* | 0.025
| Light Fuel Oil (Boiler) | ltr |  | 0 | 10.3889 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.28 | 0 | 0.28 | 0 |  | 0 | 10.3889 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.28 | 0 | 0.28 | 0 |  | Natural Gas | 0.184 | 0.202 | 0.198 | 0.202 | 0.215 | 0.215 | 0.20267
| Light Fuel Oil (Boiler) | m3 |  | 0 | 10388.8889 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.28 | 0 | 0.28 | 0 |  | 0 | 10388.8889 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.28 | 0 | 0.28 | 0
| LPG | kg |  | 0 | 13.1389 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.23 | 0 | 0.23 | 0 |  | 0 | 13.1389 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.23 | 0 | 0.23 | 0
| LPG | ltr |  | 0 | 7.1667 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.23 | 0 | 0.23 | 0 |  | 0 | 7.1667 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.23 | 0 | 0.23 | 0
| LPG | m3 |  | 0 | 18194.4444 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.23 | 0 | 0.23 | 0 |  | 0 | 18194.4444 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.23 | 0 | 0.23 | 0
| Natural Gas | m3 |  | 0 | 10 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.2 | 0 | 0.2 | 0 |  | 0 | 10 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.2 | 0 | 0.2 | 0
| Natural Gas | ltr |  | 0 | 10000 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.2 | 0 | 0.2 | 0 |  | 0 | 10000 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.2 | 0 | 0.2 | 0
| Natural Gas | kWh |  | 0 | 1 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.2 | 0 | 0.2 | 0 |  | 0 | 1 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.2 | 0 | 0.2 | 0
| District Heating | kWh |  | 0 | 1 | 0 | 1 | 0 | 1 | 0 |  | 0.1 | 0 | 0.1 | 0 |  | 0 | 1 | 0 | 1 | 0 | 1 | 0 |  | 0.1 | 0 | 0.1 | 0
FUEL 2 | Solid Fuel | kg |  | 0 | 4.3333 | 0 | 1 | 0 | 1 | 0 |  | 0.025 | 0 | 0.025 | 0 |  | 0 | 4.3333 | 0 | 1 | 0 | 1 | 0 |  | 0.025 | 0 | 0.025 | 0
| Solid Fuel | m3 |  | 0 | 2100 | 0 | 1 | 0 | 1 | 0 |  | 0.025 | 0 | 0.025 | 0 |  | 0 | 2100 | 0 | 1 | 0 | 1 | 0 |  | 0.025 | 0 | 0.025 | 0
| Diesel | kg |  | 0 | 11.9444 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.27 | 0 | 0.27 | 0 |  | 0 | 11.9444 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.27 | 0 | 0.27 | 0
| Diesel | ltr |  | 0 | 9.9444 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.27 | 0 | 0.27 | 0 |  | 0 | 9.9444 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.27 | 0 | 0.27 | 0
| Diesel | m3 |  | 0 | 9944.4444 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.27 | 0 | 0.27 | 0 |  | 0 | 9944.4444 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.27 | 0 | 0.27 | 0
| Light Fuel Oil (Boiler) | kg |  | 0 | 11.2222 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.28 | 0 | 0.28 | 0 |  | 0 | 11.2222 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.28 | 0 | 0.28 | 0
| Light Fuel Oil (Boiler) | ltr |  | 0 | 10.3889 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.28 | 0 | 0.28 | 0 |  | 0 | 10.3889 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.28 | 0 | 0.28 | 0
| Light Fuel Oil (Boiler) | m3 |  | 0 | 10388.8889 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.28 | 0 | 0.28 | 0 |  | 0 | 10388.8889 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.28 | 0 | 0.28 | 0
| LPG | kg |  | 0 | 13.1389 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.23 | 0 | 0.23 | 0 |  | 0 | 13.1389 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.23 | 0 | 0.23 | 0
| LPG | ltr |  | 0 | 7.1667 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.23 | 0 | 0.23 | 0 |  | 0 | 7.1667 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.23 | 0 | 0.23 | 0
| LPG | m3 |  | 0 | 18194.4444 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.23 | 0 | 0.23 | 0 |  | 0 | 18194.4444 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.23 | 0 | 0.23 | 0
| Natural Gas | m3 |  | 0 | 10 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.2 | 0 | 0.2 | 0 |  | 0 | 10 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.2 | 0 | 0.2 | 0
| Natural Gas | ltr |  | 0 | 10000 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.2 | 0 | 0.2 | 0 |  | 0 | 10000 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.2 | 0 | 0.2 | 0
| Natural Gas | kWh |  | 0 | 1 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.2 | 0 | 0.2 | 0 |  | 0 | 1 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.2 | 0 | 0.2 | 0
| District Heating | kWh |  | 0 | 1 | 0 | 1 | 0 | 1 | 0 |  | 0.1 | 0 | 0.1 | 0 |  | 0 | 1 | 0 | 1 | 0 | 1 | 0 |  | 0.1 | 0 | 0.1 | 0
FUEL 3 | Solid Fuel | kg |  | 0 | 4.3333 | 0 | 1 | 0 | 1 | 0 |  | 0.025 | 0 | 0.025 | 0 |  | 0 | 4.3333 | 0 | 1 | 0 | 1 | 0 |  | 0.025 | 0 | 0.025 | 0
| Solid Fuel | m3 |  | 0 | 2100 | 0 | 1 | 0 | 1 | 0 |  | 0.025 | 0 | 0.025 | 0 |  | 0 | 2100 | 0 | 1 | 0 | 1 | 0 |  | 0.025 | 0 | 0.025 | 0
| Diesel | kg |  | 0 | 11.9444 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.27 | 0 | 0.27 | 0 |  | 0 | 11.9444 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.27 | 0 | 0.27 | 0
| Diesel | ltr |  | 0 | 9.9444 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.27 | 0 | 0.27 | 0 |  | 0 | 9.9444 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.27 | 0 | 0.27 | 0
| Diesel | m3 |  | 0 | 9944.4444 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.27 | 0 | 0.27 | 0 |  | 0 | 9944.4444 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.27 | 0 | 0.27 | 0
| Light Fuel Oil (Boiler) | kg |  | 0 | 11.2222 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.28 | 0 | 0.28 | 0 |  | 0 | 11.2222 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.28 | 0 | 0.28 | 0
| Light Fuel Oil (Boiler) | ltr |  | 0 | 10.3889 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.28 | 0 | 0.28 | 0 |  | 0 | 10.3889 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.28 | 0 | 0.28 | 0
| Light Fuel Oil (Boiler) | m3 |  | 0 | 10388.8889 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.28 | 0 | 0.28 | 0 |  | 0 | 10388.8889 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.28 | 0 | 0.28 | 0
| LPG | kg |  | 0 | 13.1389 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.23 | 0 | 0.23 | 0 |  | 0 | 13.1389 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.23 | 0 | 0.23 | 0
| LPG | ltr |  | 0 | 7.1667 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.23 | 0 | 0.23 | 0 |  | 0 | 7.1667 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.23 | 0 | 0.23 | 0
| LPG | m3 |  | 0 | 18194.4444 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.23 | 0 | 0.23 | 0 |  | 0 | 18194.4444 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.23 | 0 | 0.23 | 0
| Natural Gas | m3 |  | 0 | 10 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.2 | 0 | 0.2 | 0 |  | 0 | 10 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.2 | 0 | 0.2 | 0
| Natural Gas | ltr |  | 0 | 10000 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.2 | 0 | 0.2 | 0 |  | 0 | 10000 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.2 | 0 | 0.2 | 0
| Natural Gas | kWh |  | 0 | 1 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.2 | 0 | 0.2 | 0 |  | 0 | 1 | 0 | 1.1 | 0 | 1.1 | 0 |  | 0.2 | 0 | 0.2 | 0
| District Heating | kWh |  | 0 | 1 | 0 | 1 | 0 | 1 | 0 |  | 0.1 | 0 | 0.1 | 0 |  | 0 | 1 | 0 | 1 | 0 | 1 | 0 |  | 0.1 | 0 | 0.1 | 0
| SUBTOTAL | [9 empty] | 0 |  |  |  |  | 0 | [7 empty] | 0 |  |  |  |  | 0
RES | PV | [9 empty] | 0 | [12 empty] | 0
| Solar Thermal | [9 empty] | 0 | [12 empty] | -
| Other | [9 empty] | 0 | [12 empty] | 0
| SUBTOTAL | [9 empty] | 0 | [12 empty] | 0
SUMMARY
BUILDING INFO
| Primary Energy - Electricity | kWh | 0
| Primary Energy - Fuels | kWh | 0
| Subtotal | kWh | 0
| Emissions - Electricity | ton/CO2 | 0
| Emissions - Fuels | ton/CO2 | 0
| Subtotal | ton/CO2 | 0
| RES Grid Share | kWh | 0
| On-site RES Production | kWh | 0
PROCESSES INFO
| Primary Energy - Electricity | kWh | 0
| Primary Energy - Fuels | kWh | 0
| Subtotal | kWh | 0
| Emissions - Electricity | ton/CO2 | 0
| Emissions - Fuels | ton/CO2 | 0
| Subtotal | ton/CO2 | 0
| RES Grid Share | kWh | 0
| On-site RES Production | kWh | 0
GRAND TOTALS
| Primary Energy - Electricity | kWh | 0
| Primary Energy - Fuels | kWh | 0
| Subtotal | kWh | 0
| Emissions - Electricity | ton/CO2 | 0
| Emissions - Fuels | ton/CO2 | 0
| Subtotal | ton/CO2 | 0
| RES Grid Share | kWh | 0
| On-site RES Production | kWh | 0
Sources:
https://www.seai.ie/data-and-insights/seai-statistics/conversion-factors/
https://www.engineeringtoolbox.com/fuels-densities-specific-volumes-d_166.html
https://www.aqua-calc.com/page/density-table/substance/liquefied-blank-petroleum-blank-gas
Note on G19: Stelios K: no conversion needed
Note on T19: Stelios K: no conversion needed
Note on G20: Stelios K: no conversion needed
Note on T20: Stelios K: no conversion needed
Note on G34: Stelios K: no conversion needed
Note on T34: Stelios K: no conversion needed
Note on G35: Stelios K: no conversion needed
Note on T35: Stelios K: no conversion needed
Note on G49: Stelios K: no conversion needed
Note on T49: Stelios K: no conversion needed
Note on G50: Stelios K: no conversion needed
Note on T50: Stelios K: no conversion needed

## Lists (hidden)
|  | Choose from menu | Countries | [8 empty] | sample rate
Yes | Purpose | C20 - Chemical Manufactruring | France | 9:00 - 17:00 | Flat | Concrete | Single-glazed | Solid Fuel | Heating | 2024 | kg | 1-second | Energy Provider
No | Hotel | C21 - Pharmaceuticals | Spain | 24-hours Shifts | Tilted | Brick | Double-glazed | Diesel | DHW | 2023 | ltr | 1-minutes | Distribution System Operator
N/A | Agricultural Premise | C22 - Rubber and Plastics | Estonia |  | N/A | Wood |  | Light Fuel Oil (Boiler) | Heating & DHW | 2022 | m3 | 5-minutes | Other
|  | C25 - Metal Products | Latvia |  |  | Other |  | LPG | Other | 2021 | kWh | 10-minutes
|  | C26 - Electronics | Cyprus |  |  |  |  | Natural Gas |  | 2020 | Please Select Units | 15-minutes
|  | C27 - Electrical Equipment | Malta |  |  |  |  | District Heating |  | 2019 |  | 30-minutes
|  | C28 - Machinery | Other, Please Specify | [6 empty] | 2018 |  | 1-hour
|  | C29 - Automotive Manufacturing | [7 empty] | 2017 |  | 12-hours
|  | Other -> Specify | [7 empty] | 2016 |  | 24-hours
[10 empty] | 2015 |  | 1-week
[10 empty] | 2014 |  | 1-month
[10 empty] | 2013 |  | 2-month
[10 empty] | 2012 |  | 6-month
2011
2010
2009
2008
2007
2006
2005

## Coefficients (hidden)
Conversion Factors for Primary Energy and CO2 Emissions
Table 1: Fuel Conversion to Energy Content
Fuel Type | Physical Unit | Net Calorific Value (kWh) | Notes
LPG | 1 kg | 13.8 | Standard EU value
LPG | 1 liter | 7 | At ~0.51 kg/l density
Diesel | 1 kg | 11.9 | Standard EU value
Diesel | 1 liter | 10 | At ~0.84 kg/l density
Light Fuel Oil | 1 kg | 11.8 | Standard EU value
Light Fuel Oil | 1 liter | 10.2 | At ~0.86 kg/l density
Wood Pellets | 1 kg | 4.8 | Standard value at ~10% moisture
Natural Gas | 1 m³ | Country-specific (see Table 3) | Varies by source and composition
Table 2: CO₂ Emission Factors by Country (kg CO₂/kWh of final energy)
Fuel Type | France | Spain | Estonia | Latvia | Cyprus | Malta
LPG | 0.23 | 0.234 | 0.227 | 0.225 | 0.237 | 0.237
Diesel | 0.266 | 0.267 | 0.267 | 0.267 | 0.268 | 0.268
Light Fuel Oil | 0.279 | 0.281 | 0.279 | 0.279 | 0.282 | 0.282
Wood Pellets | 0.023* | 0.020* | 0.025* | 0.024* | 0.022* | 0.022*
Natural Gas | 0.184 | 0.202 | 0.198 | 0.202 | 0.215 | 0.215
*Note: Wood pellets are often calculated with different biogenic carbon accounting methods depending on national regulations. Some countries consider them carbon-neutral, while others account for processing emissions. The values listed reflect supply chain emissions only.
Table 3: Natural Gas Conversion Factors by Country
Country | kWh/m³ | Primary Energy Factor | Notes
France | 10.7 | 1.1 | Higher methane content
Spain | 10.3 | 1.07 | Primarily Algerian import
Estonia | 9.3 | 1.09 | Baltic gas network
Latvia | 9.77 | 1.1 | Primarily Gazprom supply
Cyprus | 10.4 | 1.15 | Based on LNG imports
Malta | 10.4 | 1.15 | Based on LNG imports
Table 4: Primary Energy Factors by Country
Fuel Type | France | Spain | Estonia | Latvia | Cyprus | Malta
LPG | 1.05 | 1.08 | 1.09 | 1.1 | 1.12 | 1.12
Diesel | 1.08 | 1.1 | 1.09 | 1.1 | 1.12 | 1.12
Light Fuel Oil | 1.05 | 1.08 | 1.09 | 1.1 | 1.12 | 1.12
Wood Pellets | 1.2 | 1.25 | 1.2 | 1.2 | 1.3 | 1.3
Natural Gas | 1.07 | 1.07 | 1.09 | 1.1 | 1.15 | 1.15
Example Calculation Methodology
To calculate Primary Energy [1] and CO₂ emissions [2] for a given quantity of fuel:
1. Step 1: Convert physical units to energy content (kWh)
Energy (kWh) = Physical quantity × Net Calorific Value
2. Step 2: Calculate Primary Energy
Primary Energy (kWh) = Energy (kWh) × Primary Energy Factor
3. Step 3: Calculate CO₂ emissions
CO₂ emissions (kg) = Energy (kWh) × CO₂ Emission Factor
Example
For 100 kg of LPG in France:
Energy content = 100 kg × 13.8 kWh/kg = 1,380 kWh
Primary energy = 1,380 kWh × 1.05 = 1,449 kWh
CO₂ emissions = 1,380 kWh × 0.230 kg CO₂/kWh = 317.4 kg CO₂
These factors are based on standard values from:
EN 16247 Energy Audit standards
EU Covenant of Mayors reporting guidelines
National energy regulatory authorities
IPCC Guidelines for National Greenhouse Gas Inventories
National energy ministries' published data