## PageDeGarde
2019
Kévin BARIK
Vérification aéraulique + luminaires + stores vénitiens + ballons EC des plateaux du ministère
VIA VERDE
55 Place Nelson MANDELA NANTERRE
ENERGIE ET MAINTENANCE

## Sommaire
CLIENT : TELMMA / MACSF |  | SITE : | VIA VERDE
Adresse du client : | 55 Place NELSON MANDELA NANTERRE
SODEXO ENERGIE ET MAINTENANCE
Vos interlocuteurs privilégiés
Responsable d'agence : Adnane Hamouti
Responsable d'exploitation : Guillaume Salouet
Responsable Energie et Maintenance : Arnaud Boucher
SOMMAIRE
1 - Etat des lieux CVC / ECS / LUMINAIRES / STORES
1.1 Sous-sol -1 compartiment 2
2.2.2. Suivi des consommations électriques RIE
1.2 1er étage compartiment 2
2.2.4. Suivi des consommations électriques tarif bleu
1.3 4ème étage compartiment 1
2.2.5. Suivi des consommations d'eau glacée
2.2.6. Suivi des consommations divisionnaires eau glacée
2.2.7. Suivi des consommations d'eau chaude
2.2.8. Suivi des consommations divisionnaires eau chaude
2.2.10. Suivi des consommations de chauffage urbain (vapeur)
2.2.11. Suivi des consommations divisionnaires eau chaude
2.2.12. Suivi des consommations de gaz
2.2.9. Suivi des niveaux de fioul - GE
1.4 4ème étage compartiment 2
Page de garde
Paramétrage

## SS-1 C2
Bureau | Ventilation |  | Ballon ECS | Vérification store vénitien | Vérification luminaire |  | Vérification gaine/plénum |  | Vérification Motorisation VC |  |  |  | OBSERVATION SODEXO
|  | AXE RAPPORT |  |  |  | CRITICITE | Soufflage | Reprise | Auto | Vitesse 1 | Vitesse 2 | Vitesse 3
1.01 | OK |  |  | OK | 2 luminaires HS |  | OK | OK | OK | OK | OK | OK
1.02 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
1.03 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
1.04 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | 1 luminaire manquant sur une trame
1.05 | OK |  |  | OK | 1 luminaire HS |  | OK | OK | OK | OK | OK | OK
1.06 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
1.07 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
1.08 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | 1 luminaire manquant sur une trame
Toilettes H/F | OK |  | OK |  | OK | [7 empty] | Installation conforme
Couloir de circulation |  |  |  |  | OK | [7 empty] | Installation conforme
1.2 - Sous-sol -1 compartiment 2

## R+1 C2
Bureau | Ventilation |  | Ballon ECS | Vérification store vénitien | Vérification luminaire |  | Vérification gaine/plénum |  | Vérification Motorisation VC |  |  |  | OBSERVATION SODEXO
|  | AXE RAPPORT |  |  |  | CRITICITE | Soufflage | Reprise | Auto | Vitesse 1 | Vitesse 2 | Vitesse 3
1.01 | OK |  |  | OK | 1 luminaire HS |  | OK | OK | OK | OK | OK | OK
1.02 | OK |  |  | OK | 1 luminaire HS |  | OK | OK | OK | OK | OK | OK
1.03 tisanière |  |  |  | OK | OK | [7 empty] | ventilation en piquage sur le ventilo du bureau 1.04, éclairage piloté par la télécommande du bureau 1.04
1.04 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
1.05 | OK |  |  | OK | 2 luminaires HS |  | OK | OK | OK | OK | OK | OK
1.06 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | 1 luminaire manquant sur une trame
1.07 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
1.08 | OK |  |  | manque 1 store vénitien | 1 luminaire HS |  | OK | OK | OK | OK | OK | OK
1.09 | OK |  |  | OK | 2 luminaires HS |  | OK | OK | OK | OK | OK | OK
1.10 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
1.11 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
1.12 | OK |  |  | OK | 1 luminaire HS |  | OK | OK | OK | OK | OK | OK
1.13 | OK |  |  | OK | 3 luminaires HS |  | OK | OK | OK | OK | OK | OK
1.14 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
1.15.1 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
1.15.2 | OK |  |  | OK | OK |  |  |  | OK | OK | OK | OK | le ventilo VC2 R1.34 n'est pas raccordé aérauliquement, les gaines sont en vrac dans le plafond
1.16 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
1.17 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
1.18 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
1.19 | OK |  |  | OK | 2 luminaires HS |  | OK | OK | OK | OK | OK | OK
1.20 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | La ventilation fonctionne en permanence, problème de régulation
1.21 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
1.22 | OK |  |  | OK | 1 luminaire HS |  | OK | OK | OK | OK | OK | OK
1.23 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
1.24 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
1.25 | OK |  |  | OK |  |  | OK | OK | OK | OK | OK | OK | 2 luminaires en fonctionnement permanent
1.26 | OK |  |  | OK | 1 luminaire HS |  | OK | OK | OK | OK | OK | OK
1.27 | OK |  |  | OK | 1 luminaire HS |  | OK | OK | OK | OK | OK | OK
1.28 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
1.29 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
1.30 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
1.31 | OK |  |  | OK | 1 luminaire HS |  | OK | OK | OK | OK | OK | OK
1.32 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
1.34 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
1.35 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
1.36 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | ventilation en piquage sur le ventilo du bureau 1.37, éclairage piloté par la télécommande du bureau 1.37
1.37 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | la télécommande contrôle aussi le bureau 1.36
1.38 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
1.39 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
1.40 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
1.41 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
1.42 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
1.43 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
1.44 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
1.45 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | problème de régulation sur le VC
1.46 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
1.47 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | problème de régulation sur le VC
1.48 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | problème de régulation sur le VC
Toilettes H/F | OK |  | OK |  | OK | [7 empty] | Installation conforme
Couloir de circulation |  |  |  |  | 20 luminaires HS + 2 spots LED
1.1 - 1er étage compartiment 2

## R+4 C1
Bureau | Ventilation |  | Ballon ECS | Vérification store vénitien | Vérification luminaire |  | Vérification gaine/plénum |  | Vérification Motorisation VC |  |  |  | OBSERVATION SODEXO
|  | AXE RAPPORT |  |  |  | CRITICITE | Soufflage | Reprise | Auto | Vitesse 1 | Vitesse 2 | Vitesse 3
4.01 | OK |  |  | OK | 2 luminaire HS |  | OK | OK | OK | OK | OK | OK
4.02 | OK |  |  | OK | 1 luminaire HS |  | OK | OK | OK | OK | OK | OK
4.03 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
4.04 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
4.05 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
4.06 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
4.07 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
4.08 | OK |  |  | OK | 1 luminaire HS |  | OK | OK | OK | OK | OK | OK
4.09 | OK |  |  | OK | 2 luminaires HS |  | OK | OK | OK | OK | OK | OK
4.10 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
4.11 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
4.12 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
4.13 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
4.14 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
4.15 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
4.16 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
4.17 | OK |  |  | OK | 1 luminaire HS |  | OK | OK | OK | OK | OK | OK
4.18 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
4.19 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
4.20 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
4.21 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
4.22 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
4.23 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
4.24 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
4.25 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
4.52 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
4.53 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
4.54 | OK |  |  | OK | 1 luminaire HS |  | OK | OK | OK | OK | OK | OK
4.55 | OK |  |  | OK | 1 luminaire HS |  | OK | OK | OK | OK | OK | OK
4.56 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
4.57 | OK |  |  | OK |  |  | OK | OK | OK | OK | OK | OK | 1 luminaire en fonctionnement permanent
Toilettes H/F | OK |  | OK |  | OK | [7 empty] | Installation conforme
Couloir de circulation |  |  |  |  | 6 luminaires HS
1.1 - 4ème étage compartiment 1

## R+4 C2
Bureau | Ventilation |  | Ballon ECS | Vérification store vénitien | Vérification luminaire |  | Vérification gaine/plénum |  | Vérification Motorisation VC |  |  |  | OBSERVATION SODEXO
|  | AXE RAPPORT |  |  |  | CRITICITE | Soufflage | Reprise | Auto | Vitesse 1 | Vitesse 2 | Vitesse 3
4.26 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
4.27 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
4.28 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
4.29 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
4.30 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
4.31 | OK |  |  | manque 1 store vénitien | OK |  | OK | OK | OK | OK | OK | OK
4.32 | OK |  |  | OK | 1 luminaire HS |  | OK | OK | OK | OK | OK | OK
4.33 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
4.34 | OK |  |  | Ok | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
4.35 | OK |  |  | 3 stores vénitien HS | OK |  | OK | OK | OK | OK | OK | OK
4.36 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
4.37 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
4.38 | OK |  |  | OK | 2 luminaires HS |  | OK | OK | OK | OK | OK | OK
4.39 | OK |  |  | 5 stores vénitien HS | OK |  | OK | OK | OK | OK | OK | OK
4.40 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
4.41 | OK |  |  | OK | 1 luminaire HS |  |  |  | OK | OK | OK | OK
4.42 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
4.43 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
4.44 | OK |  |  | manque 1 store vénitien | 7 luminaires HS |  | OK | OK | OK | OK | OK | OK
4.45 | OK |  |  | OK | 1 luminaire HS |  | OK | OK | OK | OK | OK | OK
4.46 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
4.47 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
4.48 | OK |  |  | OK | 1 luminaire HS |  | OK | OK | OK | OK | OK | OK
4.49 | OK |  |  | OK | 4 luminaires HS |  | OK | OK | OK | OK | OK | OK
4.50 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | Installation conforme
4.51 | OK |  |  | OK | OK |  | OK | OK | OK | OK | OK | OK | 2 luminaires en fonctionnement permanent
Toilettes H/F | OK |  | OK |  | OK | [7 empty] | Installation conforme
Couloir de circulation |  |  |  |  | 10 luminaires HS
1.1 - 4ème étage compartiment 2