## Procedure-En
Procedure for completing the document
Document's objectives
The Appendix H document aims to clarify the equipment's needs to ensure an easier installation. Its completion is done by both the CEA and the Manufacturers
Structure of the document
"Rev. History" :
This sheet must contain the information about the different revisions of this document. For each modification of the document the traceability of the changes must be ensured and detailed in the dedicated table. The modified cells must be identified with the formatting here below:
Format | Signification
Added cell against previous version
Donnée | Row to be deleted once validated
Donnée | Data filled by LETI according to documentation or discussion - To be validated with manufacturer
Donnée | Data filled by Manufacturer - To be validated with LETI
Donnée | Consolidated data that has been confirmed by all parties
Donnée | Comment on the cell, to be deleted once dealt with
"Fluid designation" :
This sheet contains the list of the fluids supplied by the CEA and their description. These fluids' detail can be found in the "Annexe B" of the "Cahier des Charges équipements".
"Parameters" :
This sheet contains the data for the drop-down list used in the main sheet "Datasheet" These data can be modified by the CEA.
"Datasheet" :
This sheet contains 3 tables to be filled by both manufacturers and CEA. A legend is located on the top right corner of the sheet explaining the use of some columns. The regerences are identified by a letter in brackets "( )"
List of Equipment & sub-equipment
This table must contain the whole list of equipment and sub-equipment supplied by the manufacturer or to be supplied by the CEA.
Column "Installed by"
→ Must be completed by the CEA and validated by the manufacturer.
Column "Location (Clean-Room, CR-1, CR-2)"
→ "Clean Room" is the level of reference; "CR-1" is the level below the clean room; "CR-2" is the level below "CR-1"
Electrical requirements
This table must contain the whole list of electrical connections (power and signal) between the Facilities and the Equipment, and between the Equipment and sub-equipment
Fluid requirements
This table must contain the whole list of fluidic connections between the Facilities and the Equipment, and between the Equipment and sub-equipement.
Colonnes "From" & "To"
→ Selected from a drop-down list defined by the table "List of Equipement & sub-equipement"
Note on B19: DELVA Quentin:

## Procédure-Fr
Procédure de remplissage du document
Objectif du document
Le document Annexe H a pour objectif de clarifier les besoins des équipements et sous équipements pour faciliter les installations. Son remplissage se fait en collaboration entre le CEA et les équipementiers.
Structure du document
"Rev. History" :
Cet onglet doit contenir les informations sur les différentes versions du document. À chaque modification du document la traçabilité des changements doit être effectuée dans le tableau dédié. Les cellules modifiées doivent être identifiées avec un formalisme particulier
Format | Signification
Added cell against previous version
Donnée | Row to be deleted once validated
Donnée | Data filled by LETI according to documentation or discussion - To be validated with manufacturer
Donnée | Data filled by Manufacturer - To be validated with LETI
Donnée | Consolidated data that has been confirmed by all parties
Donnée | Comment on the cell, to be deleted once dealt with
"Fluid designation" :
Cet onglet contient la liste des fluides fournis par le CEA et leur description. Le détail de ces fluides peut être retrouvé dans l'annexe B du Cahier Des Charges équipements.
"Parameters" :
Cet onglet contient les données des listes déroulantes utilisées dans l'onglet principa "Datasheet" Ces données peuvent être modifiées par le CEA.
"Datasheet" :
Cet onglet contient 3 tableaux à remplir conjointement entre l'équipementier et le CEA. Une légende est présente pour expliquer le fonctionnement de certaines colonnes. Les références sont identifiées par une lettre entre parenthèses "( )"
List of Equipment & sub-equipment
Ce tableau doit contenir la totalité des équipements et sous-équipements fournis par l'équipementier ou à fournir par le CEA.
Colonne "Installed by"
→ doit être complétée par le CEA et validée par l'équipementier
Colonne "Location (Clean-Room, CR-1, CR-2)"
→ "Clean Room" est le niveau de référence ; "CR-1" est le niveau inférieur à la salle blanche ; "CR-2" est le niveau inférieur à "CR-1"
Electrical requirements
Ce tableau doit contenir la totalité des connexions électriques (puissance et communication) entre l'usine et les équipements et entre les équipement entre-eux.
Fluid requirements
Ce tableau doit contenir la totalité des connexions fluidiques entre l'usine et les équipements et entre les équipement entre-eux.
Colonnes "From" & "To"
→ Sélection parmis une liste construite automatiquement à partir du tableau des équipements
Note on B17: DELVA Quentin:

## Rev. History
Document Type: |  | Appendix H
Equipement Name:
Revision | Writer | Modification | Date
1
2

## Fluid designation
These fluids are described in the Appendix B of the Equipment's Specifications from the CEA
Fluids | Descriptions | CEA fluid code
? | ?
ERP / PCW | Eau de Refroidissement Process / Process Cooling Water | ERP
EUP / UPW | Eau Ultra Pure / Ultra Pure Water | EUP
EDI / DIW | Eau Dé-Ionisée / Deionised Water | EDI
EdV / CW | Eau de ville / City Water | EdV
EAd / SW | Eau adoucie / Softened Water
Wafer Vacuum | Vide Process / Vacuum (P=-880mbar) (expect pump) | VPE
Vpi | Vipe pipette | Vpi
ACS / CDA | Air Comprimé Sec / Compressed Dry Air | ACS
ACP / CDAP | Air Comprimé Process / Compressed Dry Air Porcess
N2S | Azote "service" / "Service" gas Nitrogen | N2S
N2P | Azote "Process" / "Process" gas Nitrogen | N2P
NL | Azote Liquide / Nitrogen Liquid
Ar | Argon réseau (bouteille) / Network Argon (bottled) | Ar
CO2 | bouteille / bottled
O2 | Oxygène réseau / Network Oxygen
He | Helium réseau (bouteille) / Network helium (bottled) | He
H2 | Hydrogène réseau / Network hydrogen
CH4 City Gas | Gaz de Ville / City Gas | GdV
H2O2 30% | Chemicals | H2O2 30%
H2SO4 96% | Chemicals | H2SO4 96%
HCl 37% | Chemicals | HCl 37%
HF 49% | Chemicals | HF 49%
IPA | Chemicals
NH4OH 28% | Chemicals | NH4OH 28%
Acid Drain | Acid Drain (concentrated) | ESAC /ESAD
Alkali Drain | Alkali Drain | ESB
Sulfuric Drain | Sulfuric drain | ES_Sulf
HF Drain | HF Drain (if [HF] > 1%) | ESAF
Solvent Drain | Solvent Drain | ESS
Metal Drain | Copper and heavy metals Drain | ES_CU
ReUse Drain | Drain eau propre / Re-Use Drains | RE-USE
Exhaust Solvent | Extraction solvent | EXS
Exhaust Therm | Extraction thermie / Exhaust therm | EXTH
Exhaust Chem | Extraction chimie / Exhaust chemistry | EXCH
Exhaust Pump | Extraction pompes à vide / Exhaust vacuum pump recovery | EXPV
Process Gas | Example : H2, SiH4, CH4…
Process Fluid | Example : IPA, HF, H3PO4…
Coolant | Coolant internal to Chiller

## Parameters
Equipment | Location | Type fluid | Rotation | Type elec
? | Clean-Room | ? | NA | ?
Facilities | CR-1 | Interco Exhaust | Clockwise | Interco Power
| CR-2 | Interco Pumping | Counterclockwise | Interco Signal
|  | Interco Gas |  | Facilities Power
|  | Interco Thermal |  | Facilities Signal
Interco Chemistry
Facilities Exhaust
Facilities Pumping
Facilities Gas
Facilities Thermal
Facilities Chemistry
Any change on these parameters must be discussed with COH and or COI from the CEA
If parameters were to be added on a column, make sure to insert a cell on the column in the marked area to automatically include the new value to the authorized list of data

## Datasheet
Equipement Model : |  | 0
List of Equipment & sub-equipment
Name | Location (Clean-Room, CR-1, CR-2) | Type (Chiller, pump…) | Model | Dimensions (L x w x h) in mm | Weight [Kg] | Risk management | Supplied by | Installed by | Comments (f)
Electrical requirements | [5 empty] | [ if 3 phases ] |  |  |  | [ one of the two to complete ]
From | To | Type (j) | Description (g) | Voltage | Phases | Neutral (Yes or No) | Gnd (Yes or No) | Phases rotation (clockwise or counter-clockwise) | Breaker Amp | FLA (Full Load Amperage) | Peak [kW] | Cable supplier | Connector supplier | Connected by | Routed by (k) | Cable Length [m] | connector type (h) | Comments (f)
Fluid requirements |  |  |  |  | Connector info "from" |  |  | Connector info "to" |  |  |  | Consumption (e) (Only for Facilities supplies) |  |  | Pressure (bar) at the connection on the tool |  | Temp (° C)
Fluid (a) | Type (i) | From | To | Description (b) | ID (c) | Size (d) | Type of connection | ID (c) | Size (d) | Type of connection | Insulation / Heating type | Min | Max | Average | Min | Max | Min | Max | Filtration (if CEA supply is not enough) | Purity | fitting equipment supplier | Pipe supplier | fitting pipe supplier | Connected by | Routed by (k) | Length [m] | Connector type (h) | Comments (f)
DPFT
ANNEXE H : Datasheet for tool installation
1) The datasheet informations allows CEA-LETI to design the fluid PID and the electrical PID.
2) These PIDs will be sent for verification and approval to the Contractor.
3) Hook Up and Fit Up will start after the official validation of PIDs by the Contractor.
4) All connexions and interconnexions sections must be clearly identified as Contractor or CEA responsability ("provided by" and "installed by"). Including final connectors (fluids & electricals).
5) In any cases Contractor is in charge of terminals equipement connections control.
Legend :
(a): See the sheet "Fluid designation"
(b): To define the purpose and description of the connexion
(c): Name of the connexion identified on tool
(d): Size of the connexion: Unit has to be precised
(e): Flows and consumptions have to be converted as described : Exhaust: m3/h, ERP-(PCW)-EDI(DIW)-VP-drain: l/min, Gases: Slm
(f): Add remarks / constraints to be known for tool installation
(g): Descriptions about the type of connection (High power, dry-contact, other)
(h): European, or other specific type of connector
Prefix "Inter" stands for "Interconnections, meaning that the connections is between 2 equipments/sub-equipment ; "Fac" stands for "Facilities", meaning that the connection is done with CEA facilities
(i): Type of fluid selected from a defined list
(j): Type of electrical connection selected from a defined list
(k): Positionning of the cables and pipes from an area to the other. Activity often handled by LETI
To add a row be sure to add it in the existing table and NOT at the bottom
To add a row be sure to add it in the existing table and NOT at the bottom
To add a row be sure to add it in the existing table and NOT at the bottom
To be completed by CEA