## PM
Adresse | Nom carte | Type de carte | Référence | Implantation | PM | PM Statut
| CPU 414-4H | Carte CPU | 414-4HM14-0AB0 | TGBT-N BOIS DE PEU | PM410 | Product is cancelled since: 01.02.2017
| CPU 414-4H | Carte CPU | 414-4HM14-0AB0 | TGBT-N FONTAIN | PM410 | Product is cancelled since: 01.02.2017
| ALIM 4A | Alimentation redondante | 6EP1 232-1AA10 | TGBT-N BOIS DE PEU | PM490 | Product discontinued since: 01.09.2021
| ALIM 4A | Alimentation redondante | 6EP1 232-1AA10 | TGBT-N BOIS DE PEU | PM490 | Product discontinued since: 01.09.2021
| ALIM 2,5A | Alimentation redondante | 6EP1 232-1AA00 | TGBT-N BOIS DE PEU | PM490 | Product discontinued since: 01.09.2021
| ALIM 2,5A | Alimentation redondante | 6EP1 232-1AA00 | TGBT-N BOIS DE PEU | PM490 | Product discontinued since: 01.09.2021
| ALIM 4A | Alimentation redondante | 6EP1 232-1AA10 | TGBT-N FONTAIN | PM490 | Product discontinued since: 01.09.2021
| ALIM 4A | Alimentation redondante | 6EP1 232-1AA10 | TGBT-N FONTAIN | PM490 | Product discontinued since: 01.09.2021
| ALIM 2,5A | Alimentation redondante | 6EP1 232-1AA00 | Armoire énergie Beure | PM490 | Product discontinued since: 01.09.2021
| ALIM 2,5A | Alimentation redondante | 6EP1 232-1AA00 | Armoire énergie Beure | PM490 | Product discontinued since: 01.09.2021
| ALIM 2,5A | Alimentation redondante | 6EP1 232-1AA00 | Armoire énergie profil 53 | PM490 | Product discontinued since: 01.09.2021
| ALIM 2,5A | Alimentation redondante | 6EP1 232-1AA00 | Armoire énergie profil 53 | PM490 | Product discontinued since: 01.09.2021
| ALIM 2,5A | Alimentation redondante | 6EP1 232-1AA00 | Armoire énergie profil 187 | PM490 | Product discontinued since: 01.09.2021
| ALIM 2,5A | Alimentation redondante | 6EP1 232-1AA00 | Armoire énergie profil 187 | PM490 | Product discontinued since: 01.09.2021
| ALIM 2,5A | Alimentation redondante | 6EP1 232-1AA00 | Armoire énergie La Veze | PM490 | Product discontinued since: 01.09.2021
| ALIM 2,5A | Alimentation redondante | 6EP1 232-1AA00 | Armoire énergie La Veze | PM490 | Product discontinued since: 01.09.2021
| ALIM 2,5A | Alimentation redondante | 6EP1 232-1AA00 | Coffret CAES galerie GC1 | PM490 | Product discontinued since: 01.09.2021
| ALIM 2,5A | Alimentation redondante | 6EP1 232-1AA00 | Coffret CAES galerie GC1 | PM490 | Product discontinued since: 01.09.2021
| ALIM 2,5A | Alimentation redondante | 6EP1 232-1AA00 | Coffret CAES galerie GC2 | PM490 | Product discontinued since: 01.09.2021
| ALIM 2,5A | Alimentation redondante | 6EP1 232-1AA00 | Coffret CAES galerie GC2 | PM490 | Product discontinued since: 01.09.2021
| ALIM 2,5A | Alimentation redondante | 6EP1 232-1AA00 | Coffret CAES niche NBN1 | PM490 | Product discontinued since: 01.09.2021
| ALIM 2,5A | Alimentation redondante | 6EP1 232-1AA00 | Coffret CAES niche NBN1 | PM490 | Product discontinued since: 01.09.2021
| ALIM 2,5A | Alimentation redondante | 6EP1 232-1AA00 | Coffret CAES niche NBN2 | PM490 | Product discontinued since: 01.09.2021
| ALIM 2,5A | Alimentation redondante | 6EP1 232-1AA00 | Coffret CAES niche NBN2 | PM490 | Product discontinued since: 01.09.2021
| ALIM 2,5A | Alimentation redondante | 6EP1 232-1AA00 | Coffret CAES niche NBN3 | PM490 | Product discontinued since: 01.09.2021
| ALIM 2,5A | Alimentation redondante | 6EP1 232-1AA00 | Coffret CAES niche NBN3 | PM490 | Product discontinued since: 01.09.2021
| ALIM 2,5A | Alimentation redondante | 6EP1 232-1AA00 | Coffret CAES niche NBN4 | PM490 | Product discontinued since: 01.09.2021
| ALIM 2,5A | Alimentation redondante | 6EP1 232-1AA00 | Coffret CAES niche NBN4 | PM490 | Product discontinued since: 01.09.2021
| ALIM 2,5A | Alimentation redondante | 6EP1 232-1AA00 | Coffret CAES niche NBN5 | PM490 | Product discontinued since: 01.09.2021
| ALIM 2,5A | Alimentation redondante | 6EP1 232-1AA00 | Coffret CAES niche NBN5 | PM490 | Product discontinued since: 01.09.2021
| ALIM 2,5A | Alimentation redondante | 6EP1 232-1AA00 | Coffret CAES niche NBS1 | PM490 | Product discontinued since: 01.09.2021
| ALIM 2,5A | Alimentation redondante | 6EP1 232-1AA00 | Coffret CAES niche NBS1 | PM490 | Product discontinued since: 01.09.2021
| ALIM 2,5A | Alimentation redondante | 6EP1 232-1AA00 | Coffret CAES niche NBS2 | PM490 | Product discontinued since: 01.09.2021
| ALIM 2,5A | Alimentation redondante | 6EP1 232-1AA00 | Coffret CAES niche NBS2 | PM490 | Product discontinued since: 01.09.2021
| ALIM 2,5A | Alimentation redondante | 6EP1 232-1AA00 | Coffret CAES niche NBS3 | PM490 | Product discontinued since: 01.09.2021
| ALIM 2,5A | Alimentation redondante | 6EP1 232-1AA00 | Coffret CAES niche NBS3 | PM490 | Product discontinued since: 01.09.2021
| ALIM 2,5A | Alimentation redondante | 6EP1 232-1AA00 | Coffret CAES niche NBS4 | PM490 | Product discontinued since: 01.09.2021
| ALIM 2,5A | Alimentation redondante | 6EP1 232-1AA00 | Coffret CAES niche NBS4 | PM490 | Product discontinued since: 01.09.2021
| ALIM 2,5A | Alimentation redondante | 6EP1 232-1AA00 | Coffret CAES niche NBS5 | PM490 | Product discontinued since: 01.09.2021
| ALIM 2,5A | Alimentation redondante | 6EP1 232-1AA00 | Coffret CAES niche NBS5 | PM490 | Product discontinued since: 01.09.2021
| ALIM 2,5A | Alimentation redondante | 6EP1 232-1AA00 | Coffret CAES niche NFN1 | PM490 | Product discontinued since: 01.09.2021
| ALIM 2,5A | Alimentation redondante | 6EP1 232-1AA00 | Coffret CAES niche NFN1 | PM490 | Product discontinued since: 01.09.2021
| ALIM 2,5A | Alimentation redondante | 6EP1 232-1AA00 | Coffret CAES niche NFN2 | PM490 | Product discontinued since: 01.09.2021
| ALIM 2,5A | Alimentation redondante | 6EP1 232-1AA00 | Coffret CAES niche NFN2 | PM490 | Product discontinued since: 01.09.2021
| ALIM 2,5A | Alimentation redondante | 6EP1 232-1AA00 | Coffret CAES niche NFN3 | PM490 | Product discontinued since: 01.09.2021
| ALIM 2,5A | Alimentation redondante | 6EP1 232-1AA00 | Coffret CAES niche NFN3 | PM490 | Product discontinued since: 01.09.2021
| ALIM 2,5A | Alimentation redondante | 6EP1 232-1AA00 | Coffret CAES niche NFS1 | PM490 | Product discontinued since: 01.09.2021
| ALIM 2,5A | Alimentation redondante | 6EP1 232-1AA00 | Coffret CAES niche NFS1 | PM490 | Product discontinued since: 01.09.2021
| ALIM 2,5A | Alimentation redondante | 6EP1 232-1AA00 | Coffret CAES niche NFS2 | PM490 | Product discontinued since: 01.09.2021
| ALIM 2,5A | Alimentation redondante | 6EP1 232-1AA00 | Coffret CAES niche NFS2 | PM490 | Product discontinued since: 01.09.2021
| ALIM 2,5A | Alimentation redondante | 6EP1 232-1AA00 | Coffret CAES niche NFS3 | PM490 | Product discontinued since: 01.09.2021
| ALIM 2,5A | Alimentation redondante | 6EP1 232-1AA00 | Coffret CAES niche NFS3 | PM490 | Product discontinued since: 01.09.2021
| OLM G12 | Profibus OLM | 6GK1503-3CC00 | TGBT-N BOIS DE PEU | PM300 | Active Product
| OLM G12 | Profibus OLM | 6GK1503-3CC00 | TGBT-N BOIS DE PEU | PM300 | Active Product
| OLM G12 | Profibus OLM | 6GK1503-3CC00 | TGBT-N FONTAIN | PM300 | Active Product
| OLM G12 | Profibus OLM | 6GK1503-3CC00 | TGBT-N FONTAIN | PM300 | Active Product
| OLM G12 | Profibus OLM | 6GK1503-3CC00 | Armoire énergie Beure | PM300 | Active Product
| OLM G12 | Profibus OLM | 6GK1503-3CC00 | Armoire énergie Beure | PM300 | Active Product
| OLM G12 | Profibus OLM | 6GK1503-3CC00 | Armoire énergie profil 53 | PM300 | Active Product
| OLM G12 | Profibus OLM | 6GK1503-3CC00 | Armoire énergie profil 53 | PM300 | Active Product
| OLM G12 | Profibus OLM | 6GK1503-3CC00 | Armoire énergie profil 187 | PM300 | Active Product
| OLM G12 | Profibus OLM | 6GK1503-3CC00 | Armoire énergie profil 187 | PM300 | Active Product
| OLM G12 | Profibus OLM | 6GK1503-3CC00 | Armoire énergie La Veze | PM300 | Active Product
| OLM G12 | Profibus OLM | 6GK1503-3CC00 | Armoire énergie La Veze | PM300 | Active Product
| OLM G12 | Profibus OLM | 6GK1503-3CC00 | Coffret CAES galerie GC1 | PM300 | Active Product
| OLM G12 | Profibus OLM | 6GK1503-3CC00 | Coffret CAES galerie GC1 | PM300 | Active Product
| OLM G12 | Profibus OLM | 6GK1503-3CC00 | Coffret CAES galerie GC2 | PM300 | Active Product
| OLM G12 | Profibus OLM | 6GK1503-3CC00 | Coffret CAES galerie GC2 | PM300 | Active Product
| OLM G12 | Profibus OLM | 6GK1503-3CC00 | Coffret CAES niche NBN1 | PM300 | Active Product
| OLM G12 | Profibus OLM | 6GK1503-3CC00 | Coffret CAES niche NBN1 | PM300 | Active Product
| OLM G12 | Profibus OLM | 6GK1503-3CC00 | Coffret CAES niche NBN2 | PM300 | Active Product
| OLM G12 | Profibus OLM | 6GK1503-3CC00 | Coffret CAES niche NBN2 | PM300 | Active Product
| OLM G12 | Profibus OLM | 6GK1503-3CC00 | Coffret CAES niche NBN3 | PM300 | Active Product
| OLM G12 | Profibus OLM | 6GK1503-3CC00 | Coffret CAES niche NBN3 | PM300 | Active Product
| OLM G12 | Profibus OLM | 6GK1503-3CC00 | Coffret CAES niche NBN4 | PM300 | Active Product
| OLM G12 | Profibus OLM | 6GK1503-3CC00 | Coffret CAES niche NBN4 | PM300 | Active Product
| OLM G12 | Profibus OLM | 6GK1503-3CC00 | Coffret CAES niche NBN5 | PM300 | Active Product
| OLM G12 | Profibus OLM | 6GK1503-3CC00 | Coffret CAES niche NBN5 | PM300 | Active Product
| OLM G12 | Profibus OLM | 6GK1503-3CC00 | Coffret CAES niche NBS1 | PM300 | Active Product
| OLM G12 | Profibus OLM | 6GK1503-3CC00 | Coffret CAES niche NBS1 | PM300 | Active Product
| OLM G12 | Profibus OLM | 6GK1503-3CC00 | Coffret CAES niche NBS2 | PM300 | Active Product
| OLM G12 | Profibus OLM | 6GK1503-3CC00 | Coffret CAES niche NBS2 | PM300 | Active Product
| OLM G12 | Profibus OLM | 6GK1503-3CC00 | Coffret CAES niche NBS3 | PM300 | Active Product
| OLM G12 | Profibus OLM | 6GK1503-3CC00 | Coffret CAES niche NBS3 | PM300 | Active Product
| OLM G12 | Profibus OLM | 6GK1503-3CC00 | Coffret CAES niche NBS4 | PM300 | Active Product
| OLM G12 | Profibus OLM | 6GK1503-3CC00 | Coffret CAES niche NBS4 | PM300 | Active Product
| OLM G12 | Profibus OLM | 6GK1503-3CC00 | Coffret CAES niche NBS5 | PM300 | Active Product
| OLM G12 | Profibus OLM | 6GK1503-3CC00 | Coffret CAES niche NBS5 | PM300 | Active Product
| OLM G12 | Profibus OLM | 6GK1503-3CC00 | Coffret CAES niche NFN1 | PM300 | Active Product
| OLM G12 | Profibus OLM | 6GK1503-3CC00 | Coffret CAES niche NFN1 | PM300 | Active Product
| OLM G12 | Profibus OLM | 6GK1503-3CC00 | Coffret CAES niche NFN2 | PM300 | Active Product
| OLM G12 | Profibus OLM | 6GK1503-3CC00 | Coffret CAES niche NFN2 | PM300 | Active Product
| OLM G12 | Profibus OLM | 6GK1503-3CC00 | Coffret CAES niche NFN3 | PM300 | Active Product
| OLM G12 | Profibus OLM | 6GK1503-3CC00 | Coffret CAES niche NFN3 | PM300 | Active Product
| OLM G12 | Profibus OLM | 6GK1503-3CC00 | Coffret CAES niche NFS1 | PM300 | Active Product
| OLM G12 | Profibus OLM | 6GK1503-3CC00 | Coffret CAES niche NFS1 | PM300 | Active Product
| OLM G12 | Profibus OLM | 6GK1503-3CC00 | Coffret CAES niche NFS2 | PM300 | Active Product
| OLM G12 | Profibus OLM | 6GK1503-3CC00 | Coffret CAES niche NFS2 | PM300 | Active Product
| OLM G12 | Profibus OLM | 6GK1503-3CC00 | Coffret CAES niche NFS3 | PM300 | Active Product
| OLM G12 | Profibus OLM | 6GK1503-3CC00 | Coffret CAES niche NFS3 | PM300 | Active Product
| IM153-2HF | Module d'interface | 6ES7153-2BA02-0XB0 | TGBT-N BOIS DE PEU | PM500 | End of product lifecycle since: 05.03.2024
| IM153-2HF | Module d'interface | 6ES7153-2BA02-0XB0 | TGBT-N BOIS DE PEU | PM500 | End of product lifecycle since: 05.03.2024
| IM153-2HF | Module d'interface | 6ES7153-2BA02-0XB0 | TGBT-N BOIS DE PEU | PM500 | End of product lifecycle since: 05.03.2024
| IM153-2HF | Module d'interface | 6ES7153-2BA02-0XB0 | TGBT-N BOIS DE PEU | PM500 | End of product lifecycle since: 05.03.2024
| IM153-2HF | Module d'interface | 6ES7153-2BA02-0XB0 | TGBT-N BOIS DE PEU | PM500 | End of product lifecycle since: 05.03.2024
| IM153-2HF | Module d'interface | 6ES7153-2BA02-0XB0 | TGBT-N BOIS DE PEU | PM500 | End of product lifecycle since: 05.03.2024
| IM153-2HF | Module d'interface | 6ES7153-2BA02-0XB0 | TGBT-N FONTAIN | PM500 | End of product lifecycle since: 05.03.2024
| IM153-2HF | Module d'interface | 6ES7153-2BA02-0XB0 | TGBT-N FONTAIN | PM500 | End of product lifecycle since: 05.03.2024
| IM153-2HF | Module d'interface | 6ES7153-2BA02-0XB0 | TGBT-N FONTAIN | PM500 | End of product lifecycle since: 05.03.2024
| IM153-2HF | Module d'interface | 6ES7153-2BA02-0XB0 | TGBT-N FONTAIN | PM500 | End of product lifecycle since: 05.03.2024
| IM153-2HF | Module d'interface | 6ES7153-2BA02-0XB0 | Armoire énergie Beure | PM500 | End of product lifecycle since: 05.03.2024
| IM153-2HF | Module d'interface | 6ES7153-2BA02-0XB0 | Armoire énergie Beure | PM500 | End of product lifecycle since: 05.03.2024
| IM153-2HF | Module d'interface | 6ES7153-2BA02-0XB0 | Armoire énergie profil 53 | PM500 | End of product lifecycle since: 05.03.2024
| IM153-2HF | Module d'interface | 6ES7153-2BA02-0XB0 | Armoire énergie profil 53 | PM500 | End of product lifecycle since: 05.03.2024
| IM153-2HF | Module d'interface | 6ES7153-2BA02-0XB0 | Armoire énergie profil 187 | PM500 | End of product lifecycle since: 05.03.2024
| IM153-2HF | Module d'interface | 6ES7153-2BA02-0XB0 | Armoire énergie profil 187 | PM500 | End of product lifecycle since: 05.03.2024
| IM153-2HF | Module d'interface | 6ES7153-2BA02-0XB0 | Armoire énergie La Veze | PM500 | End of product lifecycle since: 05.03.2024
| IM153-2HF | Module d'interface | 6ES7153-2BA02-0XB0 | Armoire énergie La Veze | PM500 | End of product lifecycle since: 05.03.2024
| IM153-2HF | Module d'interface | 6ES7153-2BA02-0XB0 | Coffret CAES galerie GC1 | PM500 | End of product lifecycle since: 05.03.2024
| IM153-2HF | Module d'interface | 6ES7153-2BA02-0XB0 | Coffret CAES galerie GC1 | PM500 | End of product lifecycle since: 05.03.2024
| IM153-2HF | Module d'interface | 6ES7153-2BA02-0XB0 | Coffret CAES galerie GC2 | PM500 | End of product lifecycle since: 05.03.2024
| IM153-2HF | Module d'interface | 6ES7153-2BA02-0XB0 | Coffret CAES galerie GC2 | PM500 | End of product lifecycle since: 05.03.2024
| IM153-2HF | Module d'interface | 6ES7153-2BA02-0XB0 | Coffret CAES niche NBN1 | PM500 | End of product lifecycle since: 05.03.2024
| IM153-2HF | Module d'interface | 6ES7153-2BA02-0XB0 | Coffret CAES niche NBN1 | PM500 | End of product lifecycle since: 05.03.2024
| IM153-2HF | Module d'interface | 6ES7153-2BA02-0XB0 | Coffret CAES niche NBN2 | PM500 | End of product lifecycle since: 05.03.2024
| IM153-2HF | Module d'interface | 6ES7153-2BA02-0XB0 | Coffret CAES niche NBN2 | PM500 | End of product lifecycle since: 05.03.2024
| IM153-2HF | Module d'interface | 6ES7153-2BA02-0XB0 | Coffret CAES niche NBN3 | PM500 | End of product lifecycle since: 05.03.2024
| IM153-2HF | Module d'interface | 6ES7153-2BA02-0XB0 | Coffret CAES niche NBN3 | PM500 | End of product lifecycle since: 05.03.2024
| IM153-2HF | Module d'interface | 6ES7153-2BA02-0XB0 | Coffret CAES niche NBN4 | PM500 | End of product lifecycle since: 05.03.2024
| IM153-2HF | Module d'interface | 6ES7153-2BA02-0XB0 | Coffret CAES niche NBN4 | PM500 | End of product lifecycle since: 05.03.2024
| IM153-2HF | Module d'interface | 6ES7153-2BA02-0XB0 | Coffret CAES niche NBN5 | PM500 | End of product lifecycle since: 05.03.2024
| IM153-2HF | Module d'interface | 6ES7153-2BA02-0XB0 | Coffret CAES niche NBN5 | PM500 | End of product lifecycle since: 05.03.2024
| IM153-2HF | Module d'interface | 6ES7153-2BA02-0XB0 | Coffret CAES niche NBS1 | PM500 | End of product lifecycle since: 05.03.2024
| IM153-2HF | Module d'interface | 6ES7153-2BA02-0XB0 | Coffret CAES niche NBS1 | PM500 | End of product lifecycle since: 05.03.2024
| IM153-2HF | Module d'interface | 6ES7153-2BA02-0XB0 | Coffret CAES niche NBS2 | PM500 | End of product lifecycle since: 05.03.2024
| IM153-2HF | Module d'interface | 6ES7153-2BA02-0XB0 | Coffret CAES niche NBS2 | PM500 | End of product lifecycle since: 05.03.2024
| IM153-2HF | Module d'interface | 6ES7153-2BA02-0XB0 | Coffret CAES niche NBS3 | PM500 | End of product lifecycle since: 05.03.2024
| IM153-2HF | Module d'interface | 6ES7153-2BA02-0XB0 | Coffret CAES niche NBS3 | PM500 | End of product lifecycle since: 05.03.2024
| IM153-2HF | Module d'interface | 6ES7153-2BA02-0XB0 | Coffret CAES niche NBS4 | PM500 | End of product lifecycle since: 05.03.2024
| IM153-2HF | Module d'interface | 6ES7153-2BA02-0XB0 | Coffret CAES niche NBS4 | PM500 | End of product lifecycle since: 05.03.2024
| IM153-2HF | Module d'interface | 6ES7153-2BA02-0XB0 | Coffret CAES niche NBS5 | PM500 | End of product lifecycle since: 05.03.2024
| IM153-2HF | Module d'interface | 6ES7153-2BA02-0XB0 | Coffret CAES niche NBS5 | PM500 | End of product lifecycle since: 05.03.2024
| IM153-2HF | Module d'interface | 6ES7153-2BA02-0XB0 | Coffret CAES niche NFN1 | PM500 | End of product lifecycle since: 05.03.2024
| IM153-2HF | Module d'interface | 6ES7153-2BA02-0XB0 | Coffret CAES niche NFN1 | PM500 | End of product lifecycle since: 05.03.2024
| IM153-2HF | Module d'interface | 6ES7153-2BA02-0XB0 | Coffret CAES niche NFN2 | PM500 | End of product lifecycle since: 05.03.2024
| IM153-2HF | Module d'interface | 6ES7153-2BA02-0XB0 | Coffret CAES niche NFN2 | PM500 | End of product lifecycle since: 05.03.2024
| IM153-2HF | Module d'interface | 6ES7153-2BA02-0XB0 | Coffret CAES niche NFN3 | PM500 | End of product lifecycle since: 05.03.2024
| IM153-2HF | Module d'interface | 6ES7153-2BA02-0XB0 | Coffret CAES niche NFN3 | PM500 | End of product lifecycle since: 05.03.2024
| IM153-2HF | Module d'interface | 6ES7153-2BA02-0XB0 | Coffret CAES niche NFS1 | PM500 | End of product lifecycle since: 05.03.2024
| IM153-2HF | Module d'interface | 6ES7153-2BA02-0XB0 | Coffret CAES niche NFS1 | PM500 | End of product lifecycle since: 05.03.2024
| IM153-2HF | Module d'interface | 6ES7153-2BA02-0XB0 | Coffret CAES niche NFS2 | PM500 | End of product lifecycle since: 05.03.2024
| IM153-2HF | Module d'interface | 6ES7153-2BA02-0XB0 | Coffret CAES niche NFS2 | PM500 | End of product lifecycle since: 05.03.2024
| IM153-2HF | Module d'interface | 6ES7153-2BA02-0XB0 | Coffret CAES niche NFS3 | PM500 | End of product lifecycle since: 05.03.2024
| IM153-2HF | Module d'interface | 6ES7153-2BA02-0XB0 | Coffret CAES niche NFS3 | PM500 | End of product lifecycle since: 05.03.2024
E1.6 | SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | TGBT-N BOIS DE PEU | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | TGBT-N BOIS DE PEU | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | TGBT-N BOIS DE PEU | PM400 | Product phase-out since: 01.10.2023
E3.0 | SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | TGBT-N BOIS DE PEU | PM400 | Product phase-out since: 01.10.2023
E3.1 | SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | TGBT-N BOIS DE PEU | PM400 | Product phase-out since: 01.10.2023
E1.4 | SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | TGBT-N BOIS DE PEU | PM400 | Product phase-out since: 01.10.2023
E2.1 | SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | TGBT-N BOIS DE PEU | PM400 | Product phase-out since: 01.10.2023
E2.6 | SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | TGBT-N BOIS DE PEU | PM400 | Product phase-out since: 01.10.2023
E2.4 | SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | TGBT-N BOIS DE PEU | PM400 | Product phase-out since: 01.10.2023
E2.3 | SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | TGBT-N BOIS DE PEU | PM400 | Product phase-out since: 01.10.2023
E3.4 | SM 322 - 32 STOR | Carte STOR | 6ES7-322-1BL00-0AA0 | TGBT-N BOIS DE PEU | PM400 | Product phase-out since: 01.10.2023
E3.5 | SM 322 - 32 STOR | Carte STOR | 6ES7-322-1BL00-0AA0 | TGBT-N BOIS DE PEU | PM400 | Product phase-out since: 01.10.2023
E3.3 | SM 331 - 8 EANA | Carte EANA | 6ES7-331-7KF02-0AB0 | TGBT-N BOIS DE PEU | PM400 | Product phase-out since: 01.10.2023
| CP 341 - MODBUS | Ponts de comm. série | 6ES7- 341-1AH02-0AE0 | TGBT-N BOIS DE PEU | PM400 | Product phase-out since: 01.10.2023
| CP 341 - MODBUS | Ponts de comm. série | 6ES7- 341-1AH02-0AE0 | TGBT-N BOIS DE PEU | PM400 | Product phase-out since: 01.10.2023
E0.5 | SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | TGBT-S BOIS DE PEU | PM400 | Product phase-out since: 01.10.2023
E0.6 | SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | TGBT-S BOIS DE PEU | PM400 | Product phase-out since: 01.10.2023
E0.7 | SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | TGBT-S BOIS DE PEU | PM400 | Product phase-out since: 01.10.2023
E1.0 | SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | TGBT-S BOIS DE PEU | PM400 | Product phase-out since: 01.10.2023
E1.1 | SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | TGBT-S BOIS DE PEU | PM400 | Product phase-out since: 01.10.2023
E1.2 | SM 326 - 24 ETOR SIL 2 | Carte ETOR | 6ES7-326-1BK02-0AB0 | TGBT-S BOIS DE PEU | PM400 | Product phase-out since: 01.10.2023
E1.3 | SM 322 - 32 STOR | Carte STOR | 6ES7-322-1BL00-0AA0 | TGBT-S BOIS DE PEU | PM400 | Product phase-out since: 01.10.2023
E12.6 | SM 336 - 10 STOR SIL 2 | Carte STOR | 6ES7-326-2BF01-0AB0 | TGBT-S BOIS DE PEU | PM490 | Product discontinued since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | TGBT-N FONTAIN | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | TGBT-N FONTAIN | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | TGBT-N FONTAIN | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | TGBT-N FONTAIN | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | TGBT-N FONTAIN | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | TGBT-N FONTAIN | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | TGBT-N FONTAIN | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | TGBT-N FONTAIN | PM400 | Product phase-out since: 01.10.2023
| SM 322 - 32 STOR | Carte STOR | 6ES7-322-1BL00-0AA0 | TGBT-N FONTAIN | PM400 | Product phase-out since: 01.10.2023
| SM 322 - 32 STOR | Carte STOR | 6ES7-322-1BL00-0AA0 | TGBT-N FONTAIN | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | TGBT-N FONTAIN | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | TGBT-N FONTAIN | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | TGBT-N FONTAIN | PM400 | Product phase-out since: 01.10.2023
| SM 331 - 8 EANA | Carte EANA | 6ES7-331-7KF02-0AB0 | TGBT-N FONTAIN | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | Armoire énergie Beure | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | Armoire énergie Beure | PM400 | Product phase-out since: 01.10.2023
| SM 322 - 32 STOR | Carte STOR | 6ES7-322-1BL00-0AA0 | Armoire énergie Beure | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | Armoire énergie profil 53 | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | Armoire énergie profil 53 | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | Armoire énergie profil 187 | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | Armoire énergie profil 187 | PM400 | Product phase-out since: 01.10.2023
| SM 331 - 8 EANA | Carte EANA | 6ES7-331-7KF02-0AB0 | Armoire énergie profil 187 | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | Armoire énergie La Veze | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | Armoire énergie La Veze | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | Armoire énergie La Veze | PM400 | Product phase-out since: 01.10.2023
| SM 322 - 32 STOR | Carte STOR | 6ES7-322-1BL00-0AA0 | Armoire énergie La Veze | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | Coffret CAES galerie GC1 | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | Coffret CAES galerie GC1 | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | Coffret CAES galerie GC1 | PM400 | Product phase-out since: 01.10.2023
| SM 326 - 24 ETOR SIL 2 | Carte ETOR | 6ES7-326-1BK02-0AB0 | Coffret CAES galerie GC1 | PM400 | Product phase-out since: 01.10.2023
| SM 336 - 10 STOR SIL 2 | Carte STOR | 6ES7-326-2BF01-0AB0 | Coffret CAES galerie GC1 | PM490 | Product discontinued since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | Coffret CAES galerie GC2 | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | Coffret CAES galerie GC2 | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | Coffret CAES galerie GC2 | PM400 | Product phase-out since: 01.10.2023
| SM 326 - 24 ETOR SIL 2 | Carte ETOR | 6ES7-326-1BK02-0AB0 | Coffret CAES galerie GC2 | PM400 | Product phase-out since: 01.10.2023
| SM 336 - 10 STOR SIL 2 | Carte STOR | 6ES7-326-2BF01-0AB0 | Coffret CAES galerie GC2 | PM490 | Product discontinued since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | Coffret CAES niche NBN1 | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | Coffret CAES niche NBN1 | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | Coffret CAES niche NBN2 | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | Coffret CAES niche NBN2 | PM400 | Product phase-out since: 01.10.2023
| SM 331 - 8 EANA | Carte EANA | 6ES7-331-7KF02-0AB0 | Coffret CAES niche NBN2 | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | Coffret CAES niche NBN3 | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | Coffret CAES niche NBN3 | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | Coffret CAES niche NBN4 | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | Coffret CAES niche NBN4 | PM400 | Product phase-out since: 01.10.2023
| SM 331 - 8 EANA | Carte EANA | 6ES7-331-7KF02-0AB0 | Coffret CAES niche NBN4 | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | Coffret CAES niche NBN5 | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | Coffret CAES niche NBN5 | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | Coffret CAES niche NBN5 | PM400 | Product phase-out since: 01.10.2023
| SM 322 - 32 STOR | Carte STOR | 6ES7-322-1BL00-0AA0 | Coffret CAES niche NBN5 | PM400 | Product phase-out since: 01.10.2023
| SM 331 - 32 ENA | Carte EANA | 6ES7-331-7KF02-0AB0 | Coffret CAES niche NBN5 | PM400 | Product phase-out since: 01.10.2023
| SM 326 - 24 ETOR SIL 2 | Carte ETOR | 6ES7-326-1BK02-0AB0 | Coffret CAES niche NBN5 | PM400 | Product phase-out since: 01.10.2023
| SM 336 - 10 STOR SIL 2 | Carte STOR | 6ES7-326-2BF01-0AB0 | Coffret CAES niche NBN5 | PM490 | Product discontinued since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | Coffret CAES niche NBS1 | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | Coffret CAES niche NBS1 | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | Coffret CAES niche NBS2 | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | Coffret CAES niche NBS2 | PM400 | Product phase-out since: 01.10.2023
| SM 331 - 8 EANA | Carte EANA | 6ES7-331-7KF02-0AB0 | Coffret CAES niche NBS2 | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | Coffret CAES niche NBS3 | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | Coffret CAES niche NBS3 | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | Coffret CAES niche NBS4 | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | Coffret CAES niche NBS4 | PM400 | Product phase-out since: 01.10.2023
| SM 331 - 8 EANA | Carte EANA | 6ES7-331-7KF02-0AB0 | Coffret CAES niche NBS4 | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | Coffret CAES niche NBS5 | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | Coffret CAES niche NBS5 | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | Coffret CAES niche NFN1 | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | Coffret CAES niche NFN1 | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | Coffret CAES niche NFN2 | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | Coffret CAES niche NFN2 | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | Coffret CAES niche NFN3 | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | Coffret CAES niche NFN3 | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | Coffret CAES niche NFN3 | PM400 | Product phase-out since: 01.10.2023
| SM 322 - 32 STOR | Carte STOR | 6ES7-322-1BL00-0AA0 | Coffret CAES niche NFN3 | PM400 | Product phase-out since: 01.10.2023
| SM 331 - 32 ENA | Carte EANA | 6ES7-331-7KF02-0AB0 | Coffret CAES niche NFN3 | PM400 | Product phase-out since: 01.10.2023
| SM 326 - 24 ETOR SIL 2 | Carte ETOR | 6ES7-326-1BK02-0AB0 | Coffret CAES niche NFN3 | PM400 | Product phase-out since: 01.10.2023
| SM 336 - 10 STOR SIL 2 | Carte STOR | 6ES7-326-2BF01-0AB0 | Coffret CAES niche NFN3 | PM490 | Product discontinued since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | Coffret CAES niche NFS2 | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | Coffret CAES niche NFS2 | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | Coffret CAES niche NFS1 | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | Coffret CAES niche NFS1 | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | Coffret CAES niche NFS1 | PM400 | Product phase-out since: 01.10.2023
| SM 322 - 32 STOR | Carte STOR | 6ES7-322-1BL00-0AA0 | Coffret CAES niche NFS1 | PM400 | Product phase-out since: 01.10.2023
| SM 331 - 32 ENA | Carte EANA | 6ES7-331-7KF02-0AB0 | Coffret CAES niche NFS1 | PM400 | Product phase-out since: 01.10.2023
| SM 326 - 24 ETOR SIL 2 | Carte ETOR | 6ES7-326-1BK02-0AB0 | Coffret CAES niche NFS1 | PM400 | Product phase-out since: 01.10.2023
| SM 336 - 10 STOR SIL 2 | Carte STOR | 6ES7-326-2BF01-0AB0 | Coffret CAES niche NFS1 | PM490 | Product discontinued since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | Coffret CAES niche NFS3 | PM400 | Product phase-out since: 01.10.2023
| SM 321 - 32 ETOR | Carte ETOR | 6ES7-321-1BL00-0AA0 | Coffret CAES niche NFS3 | PM400 | Product phase-out since: 01.10.2023
TOTAL :

## TCD PM
Nombre de PM |  | PM
Type de carte | Référence | PM300 | PM400 | PM410 | PM490 | PM500 | Total général
Alimentation redondante |  |  |  |  | 50 |  | 50
| 6EP1 232-1AA00 |  |  |  | 46 |  | 46
| 6EP1 232-1AA10 |  |  |  | 4 |  | 4
Carte CPU |  |  |  | 2 |  |  | 2
| 414-4HM14-0AB0 |  |  | 2 |  |  | 2
Ponts de comm. série |  |  | 2 |  |  |  | 2
| 6ES7- 341-1AH02-0AE0 |  | 2 |  |  |  | 2
Profibus OLM |  | 48 |  |  |  |  | 48
| 6GK1503-3CC00 | 48 |  |  |  |  | 48
Module d'interface | [5 empty] | 54 | 54
| 6ES7153-2BA02-0XB0 |  |  |  |  | 54 | 54
Carte ETOR |  |  | 82 |  |  |  | 82
| 6ES7-321-1BL00-0AA0 |  | 76 |  |  |  | 76
| 6ES7-326-1BK02-0AB0 |  | 6 |  |  |  | 6
Carte STOR |  |  | 10 |  | 6 |  | 16
| 6ES7-322-1BL00-0AA0 |  | 10 |  |  |  | 10
| 6ES7-326-2BF01-0AB0 |  |  |  | 6 |  | 6
Carte EANA |  |  | 10 |  |  |  | 10
| 6ES7-331-7KF02-0AB0 |  | 10 |  |  |  | 10
Total général |  | 48 | 104 | 2 | 56 | 54 | 264

## Implantations
Nombre de PM | Étiquettes de colonnes
| Alimentation redondante |  | Carte CPU | Ponts de comm. série | Profibus OLM | Module d'interface | Carte ETOR |  | Carte STOR |  | Carte EANA | Total général
Étiquettes de lignes | 6EP1 232-1AA00 | 6EP1 232-1AA10 | 414-4HM14-0AB0 | 6ES7- 341-1AH02-0AE0 | 6GK1503-3CC00 | 6ES7153-2BA02-0XB0 | 6ES7-321-1BL00-0AA0 | 6ES7-326-1BK02-0AB0 | 6ES7-322-1BL00-0AA0 | 6ES7-326-2BF01-0AB0 | 6ES7-331-7KF02-0AB0
Armoire énergie Beure | 2 |  |  |  | 2 | 2 | 2 |  | 1 |  |  | 9
Armoire énergie La Veze | 2 |  |  |  | 2 | 2 | 3 |  | 1 |  |  | 10
Armoire énergie profil 187 | 2 |  |  |  | 2 | 2 | 2 |  |  |  | 1 | 9
Armoire énergie profil 53 | 2 |  |  |  | 2 | 2 | 2 |  |  |  |  | 8
Coffret CAES galerie GC1 | 2 |  |  |  | 2 | 2 | 3 | 1 |  | 1 |  | 11
Coffret CAES galerie GC2 | 2 |  |  |  | 2 | 2 | 3 | 1 |  | 1 |  | 11
Coffret CAES niche NBN1 | 2 |  |  |  | 2 | 2 | 2 |  |  |  |  | 8
Coffret CAES niche NBN2 | 2 |  |  |  | 2 | 2 | 2 |  |  |  | 1 | 9
Coffret CAES niche NBN3 | 2 |  |  |  | 2 | 2 | 2 |  |  |  |  | 8
Coffret CAES niche NBN4 | 2 |  |  |  | 2 | 2 | 2 |  |  |  | 1 | 9
Coffret CAES niche NBN5 | 2 |  |  |  | 2 | 2 | 3 | 1 | 1 | 1 | 1 | 13
Coffret CAES niche NBS1 | 2 |  |  |  | 2 | 2 | 2 |  |  |  |  | 8
Coffret CAES niche NBS2 | 2 |  |  |  | 2 | 2 | 2 |  |  |  | 1 | 9
Coffret CAES niche NBS3 | 2 |  |  |  | 2 | 2 | 2 |  |  |  |  | 8
Coffret CAES niche NBS4 | 2 |  |  |  | 2 | 2 | 2 |  |  |  | 1 | 9
Coffret CAES niche NBS5 | 2 |  |  |  | 2 | 2 | 2 |  |  |  |  | 8
Coffret CAES niche NFN1 | 2 |  |  |  | 2 | 2 | 2 |  |  |  |  | 8
Coffret CAES niche NFN2 | 2 |  |  |  | 2 | 2 | 2 |  |  |  |  | 8
Coffret CAES niche NFN3 | 2 |  |  |  | 2 | 2 | 3 | 1 | 1 | 1 | 1 | 13
Coffret CAES niche NFS1 | 2 |  |  |  | 2 | 2 | 3 | 1 | 1 | 1 | 1 | 13
Coffret CAES niche NFS2 | 2 |  |  |  | 2 | 2 | 2 |  |  |  |  | 8
Coffret CAES niche NFS3 | 2 |  |  |  | 2 | 2 | 2 |  |  |  |  | 8
TGBT-N BOIS DE PEU | 2 | 2 | 1 | 2 | 2 | 6 | 10 |  | 2 |  | 1 | 28
TGBT-N FONTAIN |  | 2 | 1 |  | 2 | 4 | 11 |  | 2 |  | 1 | 23
TGBT-S BOIS DE PEU | [6 empty] | 5 | 1 | 1 | 1 |  | 8
Total général | 46 | 4 | 2 | 2 | 48 | 54 | 76 | 6 | 10 | 6 | 10 | 264

## Vérif (hidden)
Vérif issue de GT 500.D Spécifications matériels et logiciels GTC.pdf
| CP341 | SM321 | SM326 | SM322 | SM326 | SM331 | Chassis
|  | 32xDI 24V | 24xDI 24V | 32DO 24V | 10DO 24V | 8xAI mA | 8 slots
AE Beurre | 0 | 2 | 0 | 1 | 0 | 0 | 1
AE53 | 0 | 2 | 0 | 0 | 0 | 0 | 1
LT BdP | 2 | 16 | 1 | 3 | 1 | 1 | 3
NBN1 | 0 | 2 | 0 | 0 | 0 | 0 | 1
NBN2 | 0 | 2 | 0 | 0 | 0 | 1 | 1
NBN3 | 0 | 2 | 0 | 0 | 0 | 0 | 1
NBN4 | 0 | 2 | 0 | 0 | 0 | 1 | 1
NBN5 | 0 | 3 | 2 | 2 | 1 | 1 | 1
NBS1 | 0 | 2 | 0 | 0 | 0 | 0 | 1
NBS2 | 0 | 2 | 0 | 0 | 0 | 1 | 1
NBS3 | 0 | 2 | 0 | 0 | 0 | 0 | 1
NBS4 | 0 | 2 | 0 | 0 | 0 | 1 | 1
NBS5 | 0 | 2 | 0 | 0 | 0 | 0 | 1
GC1 | 0 | 3 | 1 | 0 | 1 | 0 | 1
GC2 | 0 | 3 | 1 | 0 | 1 | 0 | 1
AE187 | 0 | 2 | 0 | 0 | 0 | 0 | 1
LTFontain | 2 | 11 | 0 | 2 | 0 | 0 | 2
NFN1 | 0 | 2 | 0 | 0 | 0 | 0 | 1
NFN2 | 0 | 2 | 0 | 0 | 0 | 0 | 1
NFN3 | 0 | 3 | 2 | 1 | 1 | 1 | 1
NFS1 | 0 | 3 | 2 | 2 | 1 | 1 | 1
NFS2 | 0 | 2 | 0 | 0 | 0 | 0 | 1
NFS3 | 0 | 2 | 0 | 0 | 0 | 0 | 1
AE Vèze | 0 | 2 | 0 | 1 | 0 | 0 | 1
Note on E13: Peyret Paul: 1 seul 3SM326 sur plans
Note on F13: Peyret Paul: 1 seul 322 sur plans
Note on H13: Peyret Paul: SM 331 - 32 ENA - 5
Note on B21: Peyret Paul: + SM 331 - 8 EANA - 3
Note on B22: Peyret Paul: + SM 331 - 8 EANA - 3
Note on E25: Peyret Paul: Il en manque un sur les plans
Note on E26: Peyret Paul: Il en manque un sur les plans
Note on F26: Peyret Paul: Il en manque un sur les plans
Note on D29: Peyret Paul: Un en trop sur les plans