## Software Licenses
Item No. | Description | Entity | Qty | Unit | Specification / Notes | Unit Price (USD) | Total (USD)
1 | DMS Core License (Perpetual, On-Premises) | PPA | 1 | Lot | Perpetual license
2 | DMS Core License (Perpetual, On-Premises) | CSB | 1 | Lot | Perpetual license
3 | ECM Workflow Module License | PPA | 50 | User | Perpetual license
4 | ECM Workflow Module License | CSB | 100 | User | Perpetual license
5 | Scanning User Licenses | PPA | 4 | User | Perpetual license
6 | Scanning User Licenses | CSB | 5 | User | Perpetual license
7 | Approval User Licenses | PPA | 2 | User | Perpetual license
8 | Approval User Licenses | CSB | 2 | User | Perpetual license

## Hardware
Item No. | Description | Entity | Qty | Unit | Specification / Notes | Unit Price (USD) | Total (USD)
1 | Application Server | PPA | 1 | Unit | Intel Xeon E5 ≥6 cores, 64GB RAM, 1TB SSD + 4TB HDD, RAID, redundant PSU
2 | Application Server | CSB | 1 | Unit | Same configuration
3 | NAS Backup Storage | PPA | 1 | Unit | ≥4TB, automated backup scheduling
4 | NAS Backup Storage | CSB | 1 | Unit | ≥4TB, automated backup scheduling
5 | UPS | PPA | 1 | Unit | Online UPS, minimum 3kVA
6 | UPS | CSB | 1 | Unit | Online UPS, minimum 3kVA
7 | Network Switch | PPA | 1 | Unit | Gigabit, 24 ports
8 | Network Switch | CSB | 1 | Unit | Gigabit, 24 ports
9 | Operating System License | PPA | 2 | License | Windows Server 2022 or latest Linux
10 | Operating System License | CSB | 2 | License | Windows Server 2022 or latest Linux
11 | Database License | PPA | 2 | License | MS SQL / PostgreSQL / MySQL
12 | Database License | CSB | 2 | License | MS SQL / PostgreSQL / MySQL

## Peripheral Equipment
Item No. | Equipment | Entity | Qty | Unit | Specifications | Unit Price (USD) | Total (USD)
1 | A4 Scanner | PPA | 3 | Unit | Flatbed + ADF, 30–50 ppm @300dpi, duplex, OCR (AR/EN)
2 | A3 Scanner | PPA | 1 | Unit | Flatbed + ADF, 20–30 ppm, duplex, OCR (AR/EN)
3 | A4 Scanner | CSB | 3 | Unit | Same as above
4 | A3 Scanner | CSB | 1 | Unit | Same as above
5 | Barcode Reader | PPA | 2 | Unit | 1D/2D handheld, USB/Bluetooth
6 | Barcode Reader | CSB | 2 | Unit | 1D/2D handheld, USB/Bluetooth
7 | Barcode Printer | PPA | 1 | Unit | Thermal, 300 dpi, 4 ips, USB/Ethernet
8 | Barcode Printer | CSB | 1 | Unit | Thermal, 300 dpi, 4 ips, USB/Ethernet
9 | Label Rolls (4x6”) | PPA | 20 | Roll | Adhesive, compatible with Barcode Printer
10 | Label Rolls (4x6”) | CSB | 20 | Roll | Adhesive, compatible with Barcode Printer
11 | Ribbons | PPA | 10 | Roll | Thermal transfer type
12 | Ribbons | CSB | 10 | Roll | Thermal transfer type

## Services
Item No. | Description | Entity | Unit | Specification | Qty | Unit Price (USD) | Total (USD)
1 | Installation, Configuration & Testing | PPA | Lot | Onsite installation, integration, user acceptance testing | 1
2 | Installation, Configuration & Testing | CSB | Lot | Onsite installation, integration, user acceptance testing | 1
3 | Onsite Training (Users & Admins) | PPA | Session | Users, Scanning, Server Admin, Solution Admin modules | 4
4 | Onsite Training (Users & Admins) | CSB | Session | Users, Scanning, Server Admin, Solution Admin modules | 4
5 | Documentation & User Manuals | PPA | Lot | Arabic & English | 1
6 | Documentation & User Manuals | CSB | Lot | Arabic & English | 1
7 | Support & Maintenance | PPA | Year | Onsite, 3 years after go-live | 3
8 | Support & Maintenance | CSB | Year | Onsite, 3 years after go-live | 3
9 | A0 Scanning Service (Option A) | PPA | Lot | On-premises large-format scanning lease | 2
10 | A0 Scanning Service (Option A) | CSB | Lot | On-premises large-format scanning lease | 2
11 | A0 Scanning Service (Option B) | PPA | Lot | Off-premises pickup, scan, return | 2
12 | A0 Scanning Service (Option B) | CSB | Lot | Off-premises pickup, scan, return | 2
13 | Project Management & Reporting | PPA | Lot | Bi-monthly reporting, steering committee engagement | 1
14 | Project Management & Reporting | CSB | Lot | Bi-monthly reporting, steering committee engagement | 1

## Summary by Entity
Entity | Subtotal Hardware | Subtotal Software | Subtotal Services | Subtotal Periphals | Grand Total (USD)
PPA |  |  |  |  | 0
CSB |  |  |  |  | 0
Total |  |  |  |  | 0