## Codes
CODE | DESCRIPTION | NIVEAU
A | Substructure | 1
A10 | Foundations | 2
A1010 | Standard Foundations | 3
A1010100 | Footings & Pile Caps | 4
A1010110 | Strip Footings | 5
A1010120 | Spread Footings | 5
A1010130 | Pile Caps | 5
A1010200 | Foundation Walls | 4
A1010210 | Foundation Walls - CIP | 5
A1010220 | Foundation Walls - CMU | 5
A1010230 | Foundation Walls - Wood | 5
A1010300 | Perimeter Drainage | 4
A1010310 | Footing Drains | 5
A1010400 | Perimeter Insulation | 4
A1010410 | Perimeter Insulation - Rigid | 5
A1020 | Special Foundations | 3
A1020100 | Pile Foundations | 4
A1020110 | Piles - CIP | 5
A1020120 | Piles - Precast Concrete | 5
A1020130 | Piles - Steel Pipe | 5
A1020140 | Piles - Steel H | 5
A1020150 | Piles - Step Tapered | 5
A1020160 | Piles - Treated Wood | 5
A1020200 | Grade Beams | 4
A1020210 | Grade Beams - CIP | 5
A1020300 | Caissons | 4
A1020310 | Caissons - Bell | 5
A1020400 | Underpinning | 4
A1020500 | Dewatering | 4
A1020600 | Raft Foundations | 4
A1020700 | Pressure Injected Grouting | 4
A1020710 | Pressure Injected Footings | 5
A1020900 | Other Special Foundation Conditions | 4
A1030 | Slab on Grade | 3
A1030100 | Standard Slab on Grade | 4
A1030110 | SOG - Reinforced | 5
A1030120 | SOG - Unreinforced | 5
A1030200 | Structural Slab on Grade | 4
A1030300 | Inclined Slab on Grade | 4
A1030400 | Trenches | 4
A1030500 | Pits & Bases | 4
A1030600 | Under-Slab Drainage | 4
A1030700 | Under-Slab Insulation | 4
A1030710 | Subdrainage Piping | 5
A20 | Basement Construction | 2
A2010 | Basement Excavation | 3
A2010100 | Excavation for Basements | 4
A2010110 | Basement Excavation & Backfill | 5
A2010200 | Structural Backfill & Compaction | 4
A2010300 | Shoring | 4
A2010310 | Shoring | 5
A2020 | Basement Walls | 3
A2020100 | Basement Wall Construction | 4
A2020110 | Basement Walls - CIP | 5
A2020120 | Basement Walls - CMU | 5
A2020130 | Basement Walls - Wood | 5
A2020200 | Moisture Protection | 4
A2020210 | Foundation Dampproofing | 5
A2020300 | Basement Wall Insulation | 4
A2020310 | Basement Wall Insulation - Rigid | 5
A2020400 | Interior Skin | 4
B | Shell | 1
B10 | Superstructure | 2
B1010 | Floor Construction | 3
B1010100 | Suspended Basement Floor Construction | 4
B1010200 | Upper Floor Framing - Vertical Elements | 4
B1010210 | Bearing Walls - CIP | 5
B1010215 | Bearing Walls - Block | 5
B1010220 | Bearing Walls - Drywall w/Studs | 5
B1010225 | Bearing Walls - Plaster w/Studs | 5
B1010240 | Columns - CIP | 5
B1010245 | Columns - Precast | 5
B1010250 | Columns - Steel | 5
B1010255 | Columns - Wood | 5
B1010300 | Upper Floor Framing - Horizontal Elements | 4
B1010310 | Beams - CIP | 5
B1010320 | Beams - Precast | 5
B1010325 | Beams - Precast Double T | 5
B1010330 | Beams - Steel | 5
B1010340 | Beams - Wood (Dimensional Lumber) | 5
B1010345 | Beams - Wood (Laminated) | 5
B1010350 | Joists - Steel | 5
B1010355 | Joists - Wood (Dimensional Lumber) | 5
B1010358 | Joists - Wood (Manufactured) | 5
B1010370 | Deck - Metal | 5
B1010375 | Deck - Wood | 5
B1010380 | Planks - Precast | 5
B1010400 | Upper Floor Framing - Systems | 4
B1010410 | CIP Slabs - One Way | 5
B1010412 | CIP Slabs - Flat Plate | 5
B1010414 | CIP Slabs - Flat Plate w/Drop Panels | 5
B1010416 | CIP Slabs - Multispan Joist | 5
B1010418 | CIP Slabs - Waffle | 5
B1010420 | CIP Beam & Slab - One Way | 5
B1010422 | CIP Beam & Slab - Two Way | 5
B1010430 | Composite Beam & Slab | 5
B1010432 | Composite Beam, Deck & Slab | 5
B1010434 | W Shape Composite Deck & Slab | 5
B1010440 | Precast Beams w/ Precast Planks | 5
B1010442 | Precast Beams w/Precast Double T | 5
B1010460 | Steel Girders w/ Steel Beams | 5
B1010462 | Steel Beams w/ Steel Joists | 5
B1010464 | Joist Girders w/ Steel Joists | 5
B1010470 | Steel Light Gauge Floor System | 5
B1010480 | Wood Beams w/ Wood Joists | 5
B1010482 | Wood Laminated Beams w/ Wood Joists | 5
B1010500 | Balcony Floor Construction | 4
B1010600 | Ramps | 4
B1010700 | Exterior Stairs & Fire Escapes | 4
B1010800 | Floor Raceway Systems | 4
B1010900 | Fireproofing - Floor Construction | 4
B1010910 | Steel Beam Fireproofing | 5
B1010920 | Steel Column Fireproofing | 5
B1020 | Roof Construction | 3
B1020100 | Flat Roof Framing - Vertical Elements | 4
B1020110 | Bearing Walls - CIP | 5
B1020115 | Bearing Walls - Block | 5
B1020120 | Bearing Walls - Drywall w/Studs | 5
B1020125 | Bearing Walls - Plaster w/Studs | 5
B1020140 | Columns - CIP | 5
B1020145 | Columns - Precast | 5
B1020150 | Columns - Steel | 5
B1020155 | Columns - Wood | 5
B1020200 | Flat Roof Framing - Horizontal Elements | 4
B1020210 | Beams - CIP | 5
B1020220 | Beams - Precast | 5
B1020225 | Beams - Precast Double T | 5
B1020230 | Beams - Steel | 5
B1020240 | Beams - Wood (Dimensional Lumber) | 5
B1020245 | Beams - Wood (Laminated) | 5
B1020250 | Joists - Steel | 5
B1020255 | Joists - Wood (Dimensional Lumber) | 5
B1020258 | Joists - Wood (Manufactured) | 5
B1020260 | Deck - Metal | 5
B1020265 | Deck - Wood | 5
B1020270 | Planks - Precast | 5
B1020300 | Flat Roof Framing - Systems | 4
B1020310 | CIP Slabs - One Way | 5
B1020312 | CIP Slabs - Flat Plate | 5
B1020314 | CIP Slabs - Flat Plate w/Drop Panels | 5
B1020316 | CIP Slabs - Multispan Joist | 5
B1020318 | CIP Slabs - Waffle | 5
B1020320 | CIP Beam & Slab - One Way | 5
B1020322 | CIP Beam & Slab - Two Way | 5
B1020330 | Composite Beam & Slab | 5
B1020332 | Composite Beam, Deck & Slab | 5
B1020334 | W Shape Composite Deck & Slab | 5
B1020340 | Precast Beams w/ Precast Planks | 5
B1020342 | Precast Beams w/Precast Double T | 5
B1020360 | Steel Girders w/ Steel Beams | 5
B1020362 | Steel Beams w/ Steel Joists | 5
B1020364 | Joist Girders w/ Steel Joists | 5
B1020370 | Steel Light Gauge Floor System | 5
B1020380 | Wood Beams w/ Wood Joists | 5
B1020382 | Wood Laminated Beams w/ Wood Joists | 5
B1020400 | Pitched Roof Construction | 4
B1020500 | Vaulted Roof Construction | 4
B1020600 | Dome Construction | 4
B1020700 | Fabric (Tensile) Roof Construction | 4
B1020800 | Canopies | 4
B1020900 | Fireproofing - Roof Construction | 4
B1020910 | Steel Beam Fireproofing | 5
B1020920 | Steel Column Fireproofing | 5
B20 | Exterior Enclosure | 2
B2010 | Exterior Walls | 3
B2010100 | Exterior Wall Construction | 4
B2010110 | Ext. Wall - CIP | 5
B2010120 | Ext. Wall - Precast | 5
B2010125 | Ext. Wall - Precast Lintels & Specialties | 5
B2010130 | Ext. Wall - Tilt-up | 5
B2010140 | Ext. Wall - CMU | 5
B2010142 | Ext. Wall - CMU Cavity | 5
B2010144 | Ext. Wall - CMU Composite | 5
B2010146 | Ext. Wall - CMU Lintels & Specialties | 5
B2010148 | Ext. Wall - Glass Block | 5
B2010150 | Ext. Wall - Brick (Single Wythe) | 5
B2010152 | Ext. Wall - Brick (Double Wythe) | 5
B2010154 | Ext. Wall - Brick Cavity | 5
B2010156 | Ext. Wall - Brick Composite | 5
B2010158 | Ext. Wall - Brick Veneer w/ Stud | 5
B2010160 | Ext. Wall - Stone Veneer w/ Stud | 5
B2010170 | Ext. Wall - Metal Siding Supports | 5
B2010175 | Ext. Wall - Metal Siding Panels | 5
B2010180 | Ext. Wall - Wood Stud w/ Siding & Shingles | 5
B2010185 | Ext. Wall - Wood Stud w/ Stucco | 5
B2010200 | Parapets | 4
B2010300 | Exterior Louvers, Screens & Fencing | 4
B2010400 | Exterior Sun Control Devices | 4
B2010500 | Balcony Walls & Handrails | 4
B2010600 | Exterior Soffits | 4
B2020 | Exterior Windows | 3
B2020100 | Windows | 4
B2020110 | Windows - Aluminum | 5
B2020120 | Windows - Steel | 5
B2020130 | Windows - Wood | 5
B2020200 | Curtain Walls | 4
B2020210 | Curtain Walls - Framing | 5
B2020220 | Curtain Walls - Panels | 5
B2020300 | Storefronts | 4
B2020400 | Screened Openings | 4
B2030 | Exterior Doors | 3
B2030100 | Glazed Doors & Entrances | 4
B2030110 | Exterior Glazed Doors - Aluminum | 5
B2030120 | Exterior Glazed Doors - Steel | 5
B2030130 | Exterior Glazed Doors - Wood | 5
B2030200 | Solid Exterior Doors | 4
B2030210 | Exterior Solid Doors - Aluminum | 5
B2030220 | Exterior Solid Doors - Steel | 5
B2030230 | Exterior Solid Doors - Wood | 5
B2030300 | Revolving Doors | 4
B2030400 | Overhead Doors & Roll-up Grilles | 4
B2030410 | Overhead Doors | 5
B2030420 | Roll-up Grilles | 5
B2030500 | Door Wall Opening Elements | 4
B2030900 | Other Exterior Doors | 4
B30 | Roofing | 2
B3010 | Roof Coverings | 3
B3010100 | Roof Finishes | 4
B3010110 | Roofing - Built-up | 5
B3010120 | Roofing - Single Ply Membrane | 5
B3010130 | Roofing - Preformed Metal | 5
B3010140 | Roofing - Formed Metal | 5
B3010150 | Roofing - Shingle & Tile | 5
B3010200 | Traffic Toppings & Paving Membranes | 4
B3010300 | Roof Insulation & Fill | 4
B3010310 | Roof Insulation - Rigid | 5
B3010400 | Roof Flashing & Trim | 4
B3010410 | Base Flashing | 5
B3010420 | Roof Edges | 5
B3010430 | Roof Flashing | 5
B3010500 | Roof Eaves & Soffits | 4
B3010600 | Gutters & Downspouts | 4
B3010610 | Gutters | 5
B3010620 | Downspouts | 5
B3020 | Roof Openings | 3
B3020100 | Glazed Roof Openings | 4
B3020110 | Skylights | 5
B3020200 | Roof Hatches | 4
B3020210 | Roof Hatches | 5
B3020220 | Smoke Vents | 5
B3020230 | Roof Accessories | 5
B3020300 | Gravity Roof Ventilators | 4
C | Interiors | 1
C10 | Interior Construction | 2
C1010 | Partitions | 3
C1010100 | Fixed Partitions | 4
C1010110 | Partitions - Brick, Solid | 5
C1010115 | Partitions - Brick Veneer w/ Stud | 5
C1010118 | Partitions - Stone Veneer w/ Stud | 5
C1010120 | Partitions - CMU | 5
C1010130 | Partitions - Glass Block | 5
C1010135 | Partitions - Tile | 5
C1010140 | Partitions - Drywall w/ Wood Stud | 5
C1010145 | Partitions - Drywall w/ Metal Stud | 5
C1010150 | Partitions - Plaster w/ Wood Stud | 5
C1010155 | Partitions - Plaster w/ Metal Stud | 5
C1010180 | Partition Components - Wood Framing | 5
C1010185 | Partition Components - Metal Framing | 5
C1010190 | Partition Components - Drywall | 5
C1010195 | Partition Components - Plaster | 5
C1010200 | Demountable Partitions | 4
C1010210 | Partitions- Demountable, Drywall | 5
C1010300 | Retractable Partitions | 4
C1010310 | Partitions - Folding | 5
C1010400 | Site Built Toilet Partitions | 4
C1010500 | Site Built Compartments & Cubicles | 4
C1010600 | Interior Balustrades & Screens | 4
C1010700 | Interior Windows & Storefronts | 4
C1010710 | Interior Glazed Openings | 5
C1020 | Interior Doors | 3
C1020100 | Interior Doors | 4
C1020110 | Interior Doors - Metal | 5
C1020120 | Interior Doors - Wood | 5
C1020200 | Interior Door Frames | 4
C1020210 | Interior Door Frames - Metal | 5
C1020220 | Interior Door Frames - Wood | 5
C1020300 | Interior Doors with Frames | 4
C1020310 | Interior Metal Doors with Metal Frames | 5
C1020320 | Interior Wood Doors with Metal Frames | 5
C1020330 | Interior Wood Doors with Wood Frames | 5
C1020400 | Interior Door Hardware | 4
C1020410 | Door Hardware | 5
C1020500 | Interior Door Wall Opening Elements | 4
C1020600 | Interior Door Sidelights & Transoms | 4
C1020700 | Interior Hatches & Access Doors | 4
C1030 | Fittings | 3
C1030100 | Fabricated Compartments & Cubicles | 4
C1030110 | Toilet Partitions | 5
C1030120 | Telephone Enclosures | 5
C1030200 | Bath & Toilet Accessories | 4
C1030210 | Bath & Toilet Accessories - Commercial | 5
C1030220 | Bath & Toilet Accessories - Residential | 5
C1030230 | Hospital Curtains | 5
C1030300 | Storage Specialties | 4
C1030310 | Lockers | 5
C1030320 | Shelving | 5
C1030330 | Parts Bins | 5
C1030400 | Fabricated Cabinets & Counters | 4
C1030410 | Cabinets | 5
C1030500 | Identifying/Visual Aid Specialties | 4
C1030510 | Signs | 5
C1030520 | Building Directory Boards | 5
C1030530 | Bulletin Boards | 5
C1030540 | Chalkboards & Whiteboards | 5
C1030600 | Internal Traffic Protection Aids | 4
C1030610 | Turnstiles | 5
C1030700 | Integrated Appurtenances | 4
C1030900 | Other Fittings | 4
C1030910 | Mailboxes | 5
C20 | Stairs | 2
C2010 | Stair Construction | 3
C2010100 | Regular Stairs | 4
C2010110 | Stairs - CIP | 5
C2010120 | Stairs - Precast | 5
C2010130 | Stairs - Steel | 5
C2010140 | Stairs - Wood | 5
C2010200 | Curved Stairs | 4
C2010300 | Spiral Stairs | 4
C2010310 | Spiral Stairs - Metal | 5
C2010320 | Spiral Stairs - Wood | 5
C2010400 | Stair Handrails/Balustrades | 4
C2020 | Stair Finishes | 3
C2020100 | Stair, Tread & Landing Finishes | 4
C2020200 | Stair Soffit Finishes | 4
C2020300 | Stair Handrail & Balustrade Finishes | 4
C30 | Interior Finishes | 2
C3010 | Wall Finishes | 3
C3010100 | Wall Finishes | 4
C3010110 | Wall Finishes - Paint | 5
C3010120 | Wall Finishes - Coatings | 5
C3010130 | Wall Finishes - Coverings | 5
C3010140 | Wall Finishes - Paneling | 5
C3010150 | Wall Finishes - Tile | 5
C3010300 | Column Finishes | 4
C3020 | Floor Finishes | 3
C3020100 | Floor Toppings & Coatings | 4
C3020110 | Concrete Toppings | 5
C3020120 | Acrylic Coatings | 5
C3020130 | Epoxy Coatings | 5
C3020200 | Traffic Membranes | 4
C3020300 | Hardeners & Sealers | 4
C3020400 | Flooring | 4
C3020410 | Flooring - Sheet Goods | 5
C3020420 | Flooring - Terrazzo | 5
C3020430 | Flooring - Tile | 5
C3020440 | Flooring - VCT | 5
C3020450 | Flooring - Wood | 5
C3020490 | Flooring - Other | 5
C3020500 | Carpeting | 4
C3020510 | Carpet | 5
C3020520 | Carpet Tile | 5
C3020600 | Bases, Curbs & Trim | 4
C3020610 | Base - Vinyl & Rubber | 5
C3020620 | Base - Wood | 5
C3020700 | Access Pedestal Flooring | 4
C3020800 | Subflooring & Underlayment | 4
C3020810 | Subflooring & Underlayment - Wood | 5
C3030 | Ceiling Finishes | 3
C3030100 | Applied Ceiling Finishes | 4
C3030110 | Ceiling Finishes - Paint | 5
C3030120 | Ceiling Finishes - Coatings | 5
C3030130 | Ceiling Finishes - Coverings | 5
C3030140 | Ceiling Finishes - Paneling | 5
C3030150 | Ceiling Finishes - Tile | 5
C3030200 | Suspended Ceilings | 4
C3030210 | Suspended Ceilings - Acoustical | 5
C3030220 | Suspended Ceilings - Gypsum Board | 5
C3030230 | Suspended Ceilings - Plaster | 5
C3030300 | Drywall & Plaster Ceiling Components | 4
C3030310 | Ceiling Components - Drywall | 5
C3030320 | Ceiling components - Plaster | 5
C3030900 | Other Ceiling Finishes | 4
D | Services | 1
D10 | Conveying | 2
D1010 | Elevators and Lifts | 3
D1010100 | Passenger Elevators | 4
D1010110 | Elevators - Hydraulic | 5
D1010130 | Elevators - Oil Hydraulic | 5
D1010140 | Elevators - Traction Geared | 5
D1010150 | Elevators - Traction Gearless | 5
D1010200 | Freight Elevators | 4
D1010210 | Elevators - Freight | 5
D1010300 | Lifts | 4
D1010310 | Lifts - Passenger | 5
D1020 | Escalators and Moving Walks | 3
D1020100 | Escalators | 4
D1020110 | Escalators | 5
D1020200 | Moving Walks | 4
D1020210 | Moving Walks | 5
D1090 | Other Conveying Systems | 3
D1090100 | Dumbwaiters | 4
D1090200 | Pneumatic Tube Systems | 4
D1090300 | Hoists & Cranes | 4
D1090400 | Conveyors | 4
D1090410 | Conveyors - Horizontal & Inclined | 5
D1090420 | Conveyors - Vertical | 5
D1090500 | Chutes | 4
D1090510 | Chutes - Linen & Refuse | 5
D1090520 | Chutes - Mail | 5
D1090600 | Turntables | 4
D1090700 | Baggage Handling & Loading Systems | 4
D1090800 | Transportation Systems | 4
D20 | Plumbing | 2
D2010 | Plumbing Fixtures | 3
D2010100 | Water Closets | 4
D2010110 | Water Closets - Single | 5
D2010120 | Water Closets - Group | 5
D2010200 | Urinals | 4
D2010210 | Urinals - Single | 5
D2010220 | Urinals - Battery Mount | 5
D2010300 | Lavatories | 4
D2010310 | Lavatories - Single | 5
D2010320 | Lavatories - Battery Mount | 5
D2010400 | Sinks | 4
D2010410 | Sinks - Kitchen | 5
D2010420 | Sinks - Laundry | 5
D2010430 | Sinks - Laboratory | 5
D2010440 | Sinks - Service | 5
D2010500 | Bathtubs | 4
D2010510 | Bathtubs | 5
D2010600 | Wash Fountains | 4
D2010610 | Wash Fountains - Group | 5
D2010700 | Showers | 4
D2010710 | Showers | 5
D2010800 | Drinking Fountains & Coolers | 4
D2010810 | Drinking Fountains | 5
D2010820 | Water Coolers | 5
D2010900 | Other Plumbing Fixtures | 4
D2010910 | Bidets | 5
D2020 | Domestic Water Distribution | 3
D2020100 | Cold Water Service | 4
D2020200 | Hot Water Service | 4
D2020300 | Domestic Water Supply Equipment | 4
D2030 | Sanitary Waste | 3
D2030100 | Waste Piping | 4
D2030200 | Vent Piping | 4
D2030300 | Floor Drains | 4
D2030400 | Sanitary Waste Equipment | 4
D2030500 | Pipe Insulation | 4
D2040 | Rain Water Drainage | 3
D2040100 | Pipe & Fittings | 4
D2040200 | Roof Drains | 4
D2040300 | Rainwater Drainage Equipment | 4
D2040400 | Pipe Insulation | 4
D2090 | Other Plumbing Systems | 3
D2090100 | Gas Distribution | 4
D2090200 | Acid Waste Systems | 4
D2090300 | Interceptors | 4
D2090400 | Pool Piping & Equipment | 4
D2090500 | Decorative Fountain Piping & Devices | 4
D2090600 | Special Water Systems | 4
D2090800 | Piping & Fittings | 4
D2090900 | Misc. Other Plumbing Systems | 4
D30 | HVAC | 2
D3010 | Energy Supply | 3
D3010100 | Oil Supply System | 4
D3010200 | Gas Supply System | 4
D3010300 | Coal Supply System | 4
D3010400 | Steam Supply System | 4
D3010500 | Hot Water Supply System | 4
D3010600 | Chilled Water Supply System | 4
D3010700 | Solar Energy Systems | 4
D3010800 | Wind Energy System | 4
D3010900 | Fuel Cell Systems | 4
D3020 | Heat Generating Systems | 3
D3020100 | Boilers | 4
D3020200 | Boiler Room Piping & Specialties | 4
D3020300 | Auxiliary Equipment | 4
D3020400 | Insulation | 4
D3030 | Cooling Generating Systems | 3
D3030100 | Chilled Water Systems | 4
D3030200 | Direct Expansion Systems | 4
D3030300 | Other Cooling System Components | 4
D3040 | Distribution Systems | 3
D3040100 | Air Distribution Systems | 4
D3040200 | Exhaust Ventilation Systems | 4
D3040300 | Steam Distribution Systems | 4
D3040400 | Hot Water Distribution | 4
D3040500 | Chilled Water Distribution | 4
D3040600 | Change-over Distribution Systems | 4
D3040700 | Glycol Distribution Systems | 4
D3050 | Terminal & Package Units | 3
D3050100 | Terminal Self-Contained Units | 4
D3050200 | Package Units | 4
D3060 | Controls & Instrumentation | 3
D3060100 | Heating Generating Systems | 4
D3060200 | Cooling Generating Systems | 4
D3060300 | Heating/Cooling Air Handling Units | 4
D3060400 | Exhaust & Ventilating Systems | 4
D3060500 | Hoods & Exhaust Systems | 4
D3060600 | Terminal Devices | 4
D3060700 | Energy Monitoring & Control | 4
D3060800 | Building Automation Systems | 4
D3070 | Systems Testing & Balancing | 3
D3070100 | Piping System Testing & Balancing | 4
D3070200 | Air System Testing & Balancing | 4
D3070300 | HVAC Commissioning | 4
D3070900 | Other System Testing & Balancing | 4
D3090 | Other HVAC Systems/Equip | 3
D3090100 | Special Cooling Systems & Devices | 4
D3090200 | Special Humidity Control | 4
D3090300 | Dust & Fume Collectors | 4
D3090400 | Air Curtains | 4
D3090500 | Air Purifiers | 4
D3090600 | Paint Spray Booth Ventilation | 4
D3090700 | General Construction Items (HVAC) | 4
D3090900 | Misc. Other HVAC Systems & Equipment | 4
D40 | Fire Protection | 2
D4010 | Sprinklers | 3
D4010100 | Sprinkler Water Supply | 4
D4010200 | Sprinkler Pumping Equipment | 4
D4010300 | Wet Sprinkler Systems | 4
D4010400 | Dry Sprinkler Systems | 4
D4020 | Standpipes | 3
D4020100 | Standpipe Water Supply | 4
D4020200 | Pumping Equipment | 4
D4020300 | Standpipe Equipment | 4
D4020400 | Fire Hose Equipment | 4
D4030 | Fire Protection Specialties | 3
D4030100 | Fire Extinguishers | 4
D4030200 | Fire Extinguisher Cabinets | 4
D4030900 | Other Fire Protection Specialties | 4
D4090 | Other Fire Protection Systems | 3
D4090100 | Carbon Dioxide Systems | 4
D4090200 | Foam Generating Equipment | 4
D4090300 | Clean Agent System | 4
D4090400 | Dry Chemical Systems | 4
D4090500 | Hood & Duct Fire Protection | 4
D4090900 | Misc. Other Fire Protection Systems | 4
D50 | Electrical | 2
D5010 | Electrical Service/Distribution | 3
D5010100 | High Tension Service & Distribution | 4
D5010200 | Low Tension Service & Distribution | 4
D5020 | Lighting and Branch Wiring | 3
D5020100 | Branch Wiring & Devices | 4
D5020110 | Receptacles - Wall | 5
D5020115 | Receptacles - Floor | 5
D5020120 | Switches - Wall | 5
D5020200 | Lighting Equipment | 4
D5020210 | Lighting - Fluorescent | 5
D5020220 | Lighting - Incandescent | 5
D5020230 | Lighting - High Intensity | 5
D5020280 | Light Poles | 5
D5030 | Communications and Security | 3
D5030100 | Public Address & Music Systems | 4
D5030200 | Intercommunication & Paging Systems | 4
D5030300 | Telephone Systems | 4
D5030400 | Call Systems | 4
D5030500 | Television Systems | 4
D5030600 | Data Networking | 4
D5030700 | Fire Alarm Systems | 4
D5030800 | Security & Detection Systems | 4
D5030900 | Other Communications & Security Systems | 4
D5090 | Other Electrical Systems | 3
D5090100 | Grounding Systems | 4
D5090200 | Emergency Light & Power Systems | 4
D5090300 | Floor Raceway Systems | 4
D5090400 | General Construction Items (Elect.) | 4
D5090900 | Misc. Other Electrical Systems | 4
E | Equipment & Furnishings | 1
E10 | Equipment | 2
E1010 | Commercial Equipment | 3
E1010100 | Security & Vault Equipment | 4
E1010110 | Security Equipment | 5
E1010120 | Vault Equipment | 5
E1010200 | Teller & Service Equipment | 4
E1010300 | Registration Equipment | 4
E1010400 | Checkroom Equipment | 4
E1010500 | Mercantile Equipment | 4
E1010510 | Display Cases | 5
E1010520 | Checkout Counters | 5
E1010600 | Laundry & Dry Cleaning Equipment | 4
E1010610 | Laundry Equipment - Washers & Dryers | 5
E1010620 | Laundry Equipment - Ironers | 5
E1010700 | Vending Equipment | 4
E1010800 | Office Equipment | 4
E1010900 | Other Commercial Equipment | 4
E1020 | Institutional Equipment | 3
E1020100 | Ecclesiastical Equipment | 4
E1020110 | Ecclesiastical Equipment - Steeples & Bells | 5
E1020120 | Ecclesiastical Equipment - Baptismals & Fonts | 5
E1020130 | Ecclesiastical Equipment - Pews | 5
E1020200 | Library Equipment | 4
E1020210 | Library Equipment - Carrels | 5
E1020230 | Library Equipment - Shelves & Desks | 5
E1020300 | Theater & Stage Equipment | 4
E1020310 | Theater Equipment - Projection | 5
E1020320 | Theater Equipment - Lights & Tracks | 5
E1020330 | Theater Equipment - Curtains | 5
E1020400 | Instrumental Equipment | 4
E1020500 | Audio-visual Equipment | 4
E1020600 | Detention Equipment | 4
E1020700 | Laboratory Equipment | 4
E1020710 | Laboratory Equipment | 5
E1020720 | Laboratory Cabinets & Countertops | 5
E1020730 | Laboratory Hoods | 5
E1020800 | Medical Equipment | 4
E1020810 | Medical Furniture & Equipment | 5
E1020820 | X-ray Equipment | 5
E1020900 | Other Institutional Equipment | 4
E1030 | Vehicular Equipment | 3
E1030100 | Vehicular Service Equipment | 4
E1030200 | Parking Control Equipment | 4
E1030300 | Loading Dock Equipment | 4
E1030900 | Other Vehicular Equipment | 4
E1090 | Other Equipment | 3
E1090100 | Maintenance Equipment | 4
E1090200 | Solid Waste Handling Equipment | 4
E1090300 | Food Service Equipment | 4
E1090310 | Food Service - Cabinets & Countertops | 5
E1090320 | Food Service - Appliances & Equipment | 5
E1090330 | Food Service - Walk-in Refrigerators | 5
E1090400 | Residential Equipment | 4
E1090500 | Darkroom Equipment | 4
E1090600 | Window Washing Equipment | 4
E1090900 | Other Equipment | 4
E20 | Furnishings | 2
E2010 | Fixed Furnishings | 3
E2010100 | Fixed Artwork | 4
E2010200 | Fixed Casework | 4
E2010300 | Window Treatments | 4
E2010310 | Window Treatments - Blinds | 5
E2010320 | Window Treatments - Shades | 5
E2010330 | Window Treatments - Draperies | 5
E2010400 | Fixed Floor Grilles & Mats | 4
E2010500 | Fixed Multiple Seating | 4
E2010600 | Fixed Interior Landscaping | 4
E2020 | Moveable Furnishings | 3
E2020100 | Movable Artwork | 4
E2020200 | Furniture & Accessories | 4
E2020300 | Movable Rugs & Mats | 4
E2020400 | Movable Multiple Seating | 4
E2020500 | Movable Interior Landscaping | 4
F | Special Construction & Demolition | 1
F10 | Special Construction | 2
F1010 | Special Structures | 3
F1010100 | Air Supported Structures | 4
F1010200 | Pre-engineered Structures | 4
F1010300 | Other Special Structures | 4
F1020 | Integrated Construction | 3
F1020100 | Integrated Assemblies | 4
F1020200 | Special Purpose Rooms | 4
F1020300 | Other Integrated Construction | 4
F1030 | Special Construction Systems | 3
F1030100 | Sound, Vibration & Seismic Construction | 4
F1030200 | Radiation Protection | 4
F1030300 | Special Security Systems | 4
F1030400 | Vaults | 4
F1030900 | Other Special Construction Systems | 4
F1040 | Special Facilities | 3
F1040100 | Aquatic Facilities | 4
F1040200 | Ice Rinks | 4
F1040300 | Site Constructed Incinerators | 4
F1040400 | Kennels & Animal Shelters | 4
F1040500 | Liquid & Gas Storage Tanks | 4
F1040900 | Other Special Facilities | 4
F1050 | Special Controls & Instrumentation | 3
F1050100 | Recording Instrumentation | 4
F1050200 | Building Automation Systems | 4
F1050900 | Other Special Control& Instrumentation | 4
F20 | Selective Building Demolition | 2
F2010 | Building Elements Demolition | 3
F2010100 | Building Interior Demolition | 4
F2010200 | Building Exterior Demolition | 4
F2020 | Hazardous Components Abatement | 3
F2020100 | Removal of Hazardous Components | 4
F2020200 | Encapsulation of Hazardous Components | 4
G | Building Sitework | 1
G10 | Site Preparation | 2
G1010 | Site Clearing | 3
G1010100 | Clearing & Grubbing | 4
G1010200 | Tree Removal & Thinning | 4
G1020 | Site Demolition and Relocations | 3
G1020100 | Building Demolition | 4
G1020200 | Demolition of Site Components | 4
G1020300 | Relocation of Buildings | 4
G1020400 | Utilities Relocation | 4
G1030 | Site Earthwork | 3
G1030100 | Site Grading Excavation & Disposal | 4
G1030200 | Borrow Fill | 4
G1030300 | Soil Stabilization & Treatment | 4
G1030400 | Site Dewatering | 4
G1030500 | Site Shoring | 4
G1030600 | Embankments | 4
G1030700 | Erosion Control | 4
G1030800 | Utilities Trenching | 4
G1040 | Hazardous Waste Remediation | 3
G1040100 | Removal of Contaminated Soil | 4
G1040200 | Soil Restoration & Treatment | 4
G1040900 | Other Hazardous Waste Remediation | 4
G20 | Site Improvement | 2
G2010 | Roadways | 3
G2010100 | Roadway Bases & Sub-Bases | 4
G2010200 | Roadway Paving & Surfacing | 4
G2010300 | Curbs, Gutters & Drains | 4
G2010400 | Guardrails & Barriers | 4
G2010500 | Painted Lines & Markings | 4
G2010600 | Signage | 4
G2010700 | Vehicular Bridges | 4
G2020 | Parking Lots | 3
G2020100 | Parking Lot Bases & Sub-Bases | 4
G2020200 | Parking Lot Paving & Surfacing | 4
G2020300 | Curbs, Gutters & Drains | 4
G2020400 | Guardrails & Barriers | 4
G2020500 | Parking Booths & Equipment | 4
G2020600 | Painted Lines & Markings | 4
G2020700 | Signage | 4
G2030 | Pedestrian Paving | 3
G2030100 | Bases & Sub-Bases | 4
G2030200 | Sidewalks | 4
G2030300 | Brick & Tile Plazas | 4
G2030400 | Edging | 4
G2030500 | Exterior Steps & Ramps | 4
G2030600 | Pedestrian Bridges | 4
G2040 | Site Development | 3
G2040100 | Fences & Gates | 4
G2040200 | Retaining Walls | 4
G2040300 | Terracing & Perimeter Walls | 4
G2040400 | Signage | 4
G2040500 | Site Furnishings | 4
G2040600 | Fountains, Pools & Watercourses | 4
G2040700 | Playing Fields | 4
G2040800 | Flagpoles | 4
G2040900 | Other Site Development | 4
G2050 | Landscaping | 3
G2050100 | Fine Grading & Soil Preparation | 4
G2050200 | Erosion Control Measures | 4
G2050300 | Vehicular Bridges | 4
G2050400 | Seeding & Sodding | 4
G2050500 | Planting | 4
G2050600 | Planters | 4
G2050700 | Irrigation Systems | 4
G2050900 | Other Landscape Features | 4
G30 | Site Mechanical Utilities | 2
G3010 | Water Supply | 3
G3010100 | Potable Water Distribution & Storage | 4
G3010200 | Non Potable Water Distribution & Storage | 4
G3010300 | Well Systems | 4
G3010400 | Fire Protection Distribution & Storage | 4
G3010500 | Pumping Stations | 4
G3010600 | Package Water Treatment Plants | 4
G3020 | Sanitary Sewer | 3
G3020100 | Sewage Piping | 4
G3020200 | Manholes & Cleanouts | 4
G3020300 | Septic Disposal Systems | 4
G3020400 | Lift Stations | 4
G3020500 | Packaged Water Waste Treatment Plants | 4
G3030 | Storm Sewer | 3
G3030100 | Storm Sewer Piping | 4
G3030200 | Manholes | 4
G3030300 | Headwalls & Catch Basins | 4
G3030400 | Lift Stations | 4
G3030500 | Retention Ponds | 4
G3030600 | Ditches & Culverts | 4
G3040 | Heating Distribution | 3
G3040100 | Steam Supply | 4
G3040200 | Condensate Return | 4
G3040300 | Hot Water Supply System | 4
G3040400 | Pumping Stations | 4
G3050 | Cooling Distribution | 3
G3050100 | Chilled Water Piping | 4
G3050200 | Wells for Cooling/Heating | 4
G3050300 | Pumping Stations | 4
G3050400 | Cooling Towers on Site | 4
G3060 | Fuel Distribution | 3
G3060100 | Fuel Piping | 4
G3060200 | Fuel Equipment | 4
G3060300 | Fuel Storage Tanks | 4
G3060400 | Fuel Dispensing Stations | 4
G3090 | Other Site Mechanical Utilities | 3
G3090100 | Industrial Waste Systems | 4
G3090200 | POL Distribution Systems | 4
G40 | Site Electrical Utilities | 2
G4010 | Electrical Distribution | 3
G4010100 | Substations | 4
G4010200 | Overhead Power Distribution | 4
G4010300 | Underground Power Distribution | 4
G4020 | Site Lighting | 3
G4020100 | Site Fixtures & Transformers | 4
G4020200 | Site Lighting Poles | 4
G4020300 | Wiring Conduits & Ductbanks | 4
G4020400 | Site Lighting Controls | 4
G4030 | Site Communication and Security | 3
G4030100 | Site Communications Systems | 4
G4030200 | Site Security & Alarm Systems | 4
G4040 | Other Site Electrical Utilities | 3
G4040100 | Cathodic Protection | 4
G4040200 | Site Emergency Power Generation | 4
G90 | Other Site Construction | 2
G9010 | Service and Pedestrian Tunnels | 3
G9010100 | Service Tunnels | 4
G9010200 | Trench Boxes | 4
G9010300 | Pedestrian Tunnels | 4
G9090 | Other Site Systems/Equipment | 3
G9090100 | Snow Melting Systems | 4

## Arborescence
Niveau 1 | Niveau 2 | Niveau 3 | Niveau 4 | Niveau 5 | Description niv. 5
A | Substructure
| A10 | Foundations
|  | A1010 | Standard Foundations
|  |  | A1010100 | Footings & Pile Caps
|  |  |  | A1010110 | Strip Footings
|  |  |  | A1010120 | Spread Footings
|  |  |  | A1010130 | Pile Caps
|  |  | A1010200 | Foundation Walls
|  |  |  | A1010210 | Foundation Walls - CIP
|  |  |  | A1010220 | Foundation Walls - CMU
|  |  |  | A1010230 | Foundation Walls - Wood
|  |  | A1010300 | Perimeter Drainage
|  |  |  | A1010310 | Footing Drains
|  |  | A1010400 | Perimeter Insulation
|  |  |  | A1010410 | Perimeter Insulation - Rigid
|  | A1020 | Special Foundations
|  |  | A1020100 | Pile Foundations
|  |  |  | A1020110 | Piles - CIP
|  |  |  | A1020120 | Piles - Precast Concrete
|  |  |  | A1020130 | Piles - Steel Pipe
|  |  |  | A1020140 | Piles - Steel H
|  |  |  | A1020150 | Piles - Step Tapered
|  |  |  | A1020160 | Piles - Treated Wood
|  |  | A1020200 | Grade Beams
|  |  |  | A1020210 | Grade Beams - CIP
|  |  | A1020300 | Caissons
|  |  |  | A1020310 | Caissons - Bell
|  |  | A1020400 | Underpinning
|  |  | A1020500 | Dewatering
|  |  | A1020600 | Raft Foundations
|  |  | A1020700 | Pressure Injected Grouting
|  |  |  | A1020710 | Pressure Injected Footings
|  |  | A1020900 | Other Special Foundation Conditions
|  | A1030 | Slab on Grade
|  |  | A1030100 | Standard Slab on Grade
|  |  |  | A1030110 | SOG - Reinforced
|  |  |  | A1030120 | SOG - Unreinforced
|  |  | A1030200 | Structural Slab on Grade
|  |  | A1030300 | Inclined Slab on Grade
|  |  | A1030400 | Trenches
|  |  | A1030500 | Pits & Bases
|  |  | A1030600 | Under-Slab Drainage
|  |  | A1030700 | Under-Slab Insulation
|  |  |  | A1030710 | Subdrainage Piping
| A20 | Basement Construction
|  | A2010 | Basement Excavation
|  |  | A2010100 | Excavation for Basements
|  |  |  | A2010110 | Basement Excavation & Backfill
|  |  | A2010200 | Structural Backfill & Compaction
|  |  | A2010300 | Shoring
|  |  |  | A2010310 | Shoring
|  | A2020 | Basement Walls
|  |  | A2020100 | Basement Wall Construction
|  |  |  | A2020110 | Basement Walls - CIP
|  |  |  | A2020120 | Basement Walls - CMU
|  |  |  | A2020130 | Basement Walls - Wood
|  |  | A2020200 | Moisture Protection
|  |  |  | A2020210 | Foundation Dampproofing
|  |  | A2020300 | Basement Wall Insulation
|  |  |  | A2020310 | Basement Wall Insulation - Rigid
|  |  | A2020400 | Interior Skin
B | Shell
| B10 | Superstructure
|  | B1010 | Floor Construction
|  |  | B1010100 | Suspended Basement Floor Construction
|  |  | B1010200 | Upper Floor Framing - Vertical Elements
|  |  |  | B1010210 | Bearing Walls - CIP
|  |  |  | B1010215 | Bearing Walls - Block
|  |  |  | B1010220 | Bearing Walls - Drywall w/Studs
|  |  |  | B1010225 | Bearing Walls - Plaster w/Studs
|  |  |  | B1010240 | Columns - CIP
|  |  |  | B1010245 | Columns - Precast
|  |  |  | B1010250 | Columns - Steel
|  |  |  | B1010255 | Columns - Wood
|  |  | B1010300 | Upper Floor Framing - Horizontal Elements
|  |  |  | B1010310 | Beams - CIP
|  |  |  | B1010320 | Beams - Precast
|  |  |  | B1010325 | Beams - Precast Double T
|  |  |  | B1010330 | Beams - Steel
|  |  |  | B1010340 | Beams - Wood (Dimensional Lumber)
|  |  |  | B1010345 | Beams - Wood (Laminated)
|  |  |  | B1010350 | Joists - Steel
|  |  |  | B1010355 | Joists - Wood (Dimensional Lumber)
|  |  |  | B1010358 | Joists - Wood (Manufactured)
|  |  |  | B1010370 | Deck - Metal
|  |  |  | B1010375 | Deck - Wood
|  |  |  | B1010380 | Planks - Precast
|  |  | B1010400 | Upper Floor Framing - Systems
|  |  |  | B1010410 | CIP Slabs - One Way
|  |  |  | B1010412 | CIP Slabs - Flat Plate
|  |  |  | B1010414 | CIP Slabs - Flat Plate w/Drop Panels
|  |  |  | B1010416 | CIP Slabs - Multispan Joist
|  |  |  | B1010418 | CIP Slabs - Waffle
|  |  |  | B1010420 | CIP Beam & Slab - One Way
|  |  |  | B1010422 | CIP Beam & Slab - Two Way
|  |  |  | B1010430 | Composite Beam & Slab
|  |  |  | B1010432 | Composite Beam, Deck & Slab
|  |  |  | B1010434 | W Shape Composite Deck & Slab
|  |  |  | B1010440 | Precast Beams w/ Precast Planks
|  |  |  | B1010442 | Precast Beams w/Precast Double T
|  |  |  | B1010460 | Steel Girders w/ Steel Beams
|  |  |  | B1010462 | Steel Beams w/ Steel Joists
|  |  |  | B1010464 | Joist Girders w/ Steel Joists
|  |  |  | B1010470 | Steel Light Gauge Floor System
|  |  |  | B1010480 | Wood Beams w/ Wood Joists
|  |  |  | B1010482 | Wood Laminated Beams w/ Wood Joists
|  |  | B1010500 | Balcony Floor Construction
|  |  | B1010600 | Ramps
|  |  | B1010700 | Exterior Stairs & Fire Escapes
|  |  | B1010800 | Floor Raceway Systems
|  |  | B1010900 | Fireproofing - Floor Construction
|  |  |  | B1010910 | Steel Beam Fireproofing
|  |  |  | B1010920 | Steel Column Fireproofing
|  | B1020 | Roof Construction
|  |  | B1020100 | Flat Roof Framing - Vertical Elements
|  |  |  | B1020110 | Bearing Walls - CIP
|  |  |  | B1020115 | Bearing Walls - Block
|  |  |  | B1020120 | Bearing Walls - Drywall w/Studs
|  |  |  | B1020125 | Bearing Walls - Plaster w/Studs
|  |  |  | B1020140 | Columns - CIP
|  |  |  | B1020145 | Columns - Precast
|  |  |  | B1020150 | Columns - Steel
|  |  |  | B1020155 | Columns - Wood
|  |  | B1020200 | Flat Roof Framing - Horizontal Elements
|  |  |  | B1020210 | Beams - CIP
|  |  |  | B1020220 | Beams - Precast
|  |  |  | B1020225 | Beams - Precast Double T
|  |  |  | B1020230 | Beams - Steel
|  |  |  | B1020240 | Beams - Wood (Dimensional Lumber)
|  |  |  | B1020245 | Beams - Wood (Laminated)
|  |  |  | B1020250 | Joists - Steel
|  |  |  | B1020255 | Joists - Wood (Dimensional Lumber)
|  |  |  | B1020258 | Joists - Wood (Manufactured)
|  |  |  | B1020260 | Deck - Metal
|  |  |  | B1020265 | Deck - Wood
|  |  |  | B1020270 | Planks - Precast
|  |  | B1020300 | Flat Roof Framing - Systems
|  |  |  | B1020310 | CIP Slabs - One Way
|  |  |  | B1020312 | CIP Slabs - Flat Plate
|  |  |  | B1020314 | CIP Slabs - Flat Plate w/Drop Panels
|  |  |  | B1020316 | CIP Slabs - Multispan Joist
|  |  |  | B1020318 | CIP Slabs - Waffle
|  |  |  | B1020320 | CIP Beam & Slab - One Way
|  |  |  | B1020322 | CIP Beam & Slab - Two Way
|  |  |  | B1020330 | Composite Beam & Slab
|  |  |  | B1020332 | Composite Beam, Deck & Slab
|  |  |  | B1020334 | W Shape Composite Deck & Slab
|  |  |  | B1020340 | Precast Beams w/ Precast Planks
|  |  |  | B1020342 | Precast Beams w/Precast Double T
|  |  |  | B1020360 | Steel Girders w/ Steel Beams
|  |  |  | B1020362 | Steel Beams w/ Steel Joists
|  |  |  | B1020364 | Joist Girders w/ Steel Joists
|  |  |  | B1020370 | Steel Light Gauge Floor System
|  |  |  | B1020380 | Wood Beams w/ Wood Joists
|  |  |  | B1020382 | Wood Laminated Beams w/ Wood Joists
|  |  | B1020400 | Pitched Roof Construction
|  |  | B1020500 | Vaulted Roof Construction
|  |  | B1020600 | Dome Construction
|  |  | B1020700 | Fabric (Tensile) Roof Construction
|  |  | B1020800 | Canopies
|  |  | B1020900 | Fireproofing - Roof Construction
|  |  |  | B1020910 | Steel Beam Fireproofing
|  |  |  | B1020920 | Steel Column Fireproofing
| B20 | Exterior Enclosure
|  | B2010 | Exterior Walls
|  |  | B2010100 | Exterior Wall Construction
|  |  |  | B2010110 | Ext. Wall - CIP
|  |  |  | B2010120 | Ext. Wall - Precast
|  |  |  | B2010125 | Ext. Wall - Precast Lintels & Specialties
|  |  |  | B2010130 | Ext. Wall - Tilt-up
|  |  |  | B2010140 | Ext. Wall - CMU
|  |  |  | B2010142 | Ext. Wall - CMU Cavity
|  |  |  | B2010144 | Ext. Wall - CMU Composite
|  |  |  | B2010146 | Ext. Wall - CMU Lintels & Specialties
|  |  |  | B2010148 | Ext. Wall - Glass Block
|  |  |  | B2010150 | Ext. Wall - Brick (Single Wythe)
|  |  |  | B2010152 | Ext. Wall - Brick (Double Wythe)
|  |  |  | B2010154 | Ext. Wall - Brick Cavity
|  |  |  | B2010156 | Ext. Wall - Brick Composite
|  |  |  | B2010158 | Ext. Wall - Brick Veneer w/ Stud
|  |  |  | B2010160 | Ext. Wall - Stone Veneer w/ Stud
|  |  |  | B2010170 | Ext. Wall - Metal Siding Supports
|  |  |  | B2010175 | Ext. Wall - Metal Siding Panels
|  |  |  | B2010180 | Ext. Wall - Wood Stud w/ Siding & Shingles
|  |  |  | B2010185 | Ext. Wall - Wood Stud w/ Stucco
|  |  | B2010200 | Parapets
|  |  | B2010300 | Exterior Louvers, Screens & Fencing
|  |  | B2010400 | Exterior Sun Control Devices
|  |  | B2010500 | Balcony Walls & Handrails
|  |  | B2010600 | Exterior Soffits
|  | B2020 | Exterior Windows
|  |  | B2020100 | Windows
|  |  |  | B2020110 | Windows - Aluminum
|  |  |  | B2020120 | Windows - Steel
|  |  |  | B2020130 | Windows - Wood
|  |  | B2020200 | Curtain Walls
|  |  |  | B2020210 | Curtain Walls - Framing
|  |  |  | B2020220 | Curtain Walls - Panels
|  |  | B2020300 | Storefronts
|  |  | B2020400 | Screened Openings
|  | B2030 | Exterior Doors
|  |  | B2030100 | Glazed Doors & Entrances
|  |  |  | B2030110 | Exterior Glazed Doors - Aluminum
|  |  |  | B2030120 | Exterior Glazed Doors - Steel
|  |  |  | B2030130 | Exterior Glazed Doors - Wood
|  |  | B2030200 | Solid Exterior Doors
|  |  |  | B2030210 | Exterior Solid Doors - Aluminum
|  |  |  | B2030220 | Exterior Solid Doors - Steel
|  |  |  | B2030230 | Exterior Solid Doors - Wood
|  |  | B2030300 | Revolving Doors
|  |  | B2030400 | Overhead Doors & Roll-up Grilles
|  |  |  | B2030410 | Overhead Doors
|  |  |  | B2030420 | Roll-up Grilles
|  |  | B2030500 | Door Wall Opening Elements
|  |  | B2030900 | Other Exterior Doors
| B30 | Roofing
|  | B3010 | Roof Coverings
|  |  | B3010100 | Roof Finishes
|  |  |  | B3010110 | Roofing - Built-up
|  |  |  | B3010120 | Roofing - Single Ply Membrane
|  |  |  | B3010130 | Roofing - Preformed Metal
|  |  |  | B3010140 | Roofing - Formed Metal
|  |  |  | B3010150 | Roofing - Shingle & Tile
|  |  | B3010200 | Traffic Toppings & Paving Membranes
|  |  | B3010300 | Roof Insulation & Fill
|  |  |  | B3010310 | Roof Insulation - Rigid
|  |  | B3010400 | Roof Flashing & Trim
|  |  |  | B3010410 | Base Flashing
|  |  |  | B3010420 | Roof Edges
|  |  |  | B3010430 | Roof Flashing
|  |  | B3010500 | Roof Eaves & Soffits
|  |  | B3010600 | Gutters & Downspouts
|  |  |  | B3010610 | Gutters
|  |  |  | B3010620 | Downspouts
|  | B3020 | Roof Openings
|  |  | B3020100 | Glazed Roof Openings
|  |  |  | B3020110 | Skylights
|  |  | B3020200 | Roof Hatches
|  |  |  | B3020210 | Roof Hatches
|  |  |  | B3020220 | Smoke Vents
|  |  |  | B3020230 | Roof Accessories
|  |  | B3020300 | Gravity Roof Ventilators
C | Interiors
| C10 | Interior Construction
|  | C1010 | Partitions
|  |  | C1010100 | Fixed Partitions
|  |  |  | C1010110 | Partitions - Brick, Solid
|  |  |  | C1010115 | Partitions - Brick Veneer w/ Stud
|  |  |  | C1010118 | Partitions - Stone Veneer w/ Stud
|  |  |  | C1010120 | Partitions - CMU
|  |  |  | C1010130 | Partitions - Glass Block
|  |  |  | C1010135 | Partitions - Tile
|  |  |  | C1010140 | Partitions - Drywall w/ Wood Stud
|  |  |  | C1010145 | Partitions - Drywall w/ Metal Stud
|  |  |  | C1010150 | Partitions - Plaster w/ Wood Stud
|  |  |  | C1010155 | Partitions - Plaster w/ Metal Stud
|  |  |  | C1010180 | Partition Components - Wood Framing
|  |  |  | C1010185 | Partition Components - Metal Framing
|  |  |  | C1010190 | Partition Components - Drywall
|  |  |  | C1010195 | Partition Components - Plaster
|  |  | C1010200 | Demountable Partitions
|  |  |  | C1010210 | Partitions- Demountable, Drywall
|  |  | C1010300 | Retractable Partitions
|  |  |  | C1010310 | Partitions - Folding
|  |  | C1010400 | Site Built Toilet Partitions
|  |  | C1010500 | Site Built Compartments & Cubicles
|  |  | C1010600 | Interior Balustrades & Screens
|  |  | C1010700 | Interior Windows & Storefronts
|  |  |  | C1010710 | Interior Glazed Openings
|  | C1020 | Interior Doors | 3
C1020100
|  |  |  | C1020110 | Interior Doors - Metal
|  |  |  | C1020120 | Interior Doors - Wood
|  |  | C1020200 | Interior Door Frames
|  |  |  | C1020210 | Interior Door Frames - Metal
|  |  |  | C1020220 | Interior Door Frames - Wood
|  |  | C1020300 | Interior Doors with Frames
|  |  |  | C1020310 | Interior Metal Doors with Metal Frames
|  |  |  | C1020320 | Interior Wood Doors with Metal Frames
|  |  |  | C1020330 | Interior Wood Doors with Wood Frames
|  |  | C1020400 | Interior Door Hardware
|  |  |  | C1020410 | Door Hardware
|  |  | C1020500 | Interior Door Wall Opening Elements
|  |  | C1020600 | Interior Door Sidelights & Transoms
|  |  | C1020700 | Interior Hatches & Access Doors
|  | C1030 | Fittings
|  |  | C1030100 | Fabricated Compartments & Cubicles
|  |  |  | C1030110 | Toilet Partitions
|  |  |  | C1030120 | Telephone Enclosures
|  |  | C1030200 | Bath & Toilet Accessories
|  |  |  | C1030210 | Bath & Toilet Accessories - Commercial
|  |  |  | C1030220 | Bath & Toilet Accessories - Residential
|  |  |  | C1030230 | Hospital Curtains
|  |  | C1030300 | Storage Specialties
|  |  |  | C1030310 | Lockers
|  |  |  | C1030320 | Shelving
|  |  |  | C1030330 | Parts Bins
|  |  | C1030400 | Fabricated Cabinets & Counters
|  |  |  | C1030410 | Cabinets
|  |  | C1030500 | Identifying/Visual Aid Specialties
|  |  |  | C1030510 | Signs
|  |  |  | C1030520 | Building Directory Boards
|  |  |  | C1030530 | Bulletin Boards
|  |  |  | C1030540 | Chalkboards & Whiteboards
|  |  | C1030600 | Internal Traffic Protection Aids
|  |  |  | C1030610 | Turnstiles
|  |  | C1030700 | Integrated Appurtenances
|  |  | C1030900 | Other Fittings
|  |  |  | C1030910 | Mailboxes
| C20 | Stairs
|  | C2010 | Stair Construction
|  |  | C2010100 | Regular Stairs
|  |  |  | C2010110 | Stairs - CIP
|  |  |  | C2010120 | Stairs - Precast
|  |  |  | C2010130 | Stairs - Steel
|  |  |  | C2010140 | Stairs - Wood
|  |  | C2010200 | Curved Stairs
|  |  | C2010300 | Spiral Stairs
|  |  |  | C2010310 | Spiral Stairs - Metal
|  |  |  | C2010320 | Spiral Stairs - Wood
|  |  | C2010400 | Stair Handrails/Balustrades
|  | C2020 | Stair Finishes
|  |  | C2020100 | Stair, Tread & Landing Finishes
|  |  | C2020200 | Stair Soffit Finishes
|  |  | C2020300 | Stair Handrail & Balustrade Finishes
| C30 | Interior Finishes
|  | C3010 | Wall Finishes
|  |  | C3010100 | Wall Finishes
|  |  |  | C3010110 | Wall Finishes - Paint
|  |  |  | C3010120 | Wall Finishes - Coatings
|  |  |  | C3010130 | Wall Finishes - Coverings
|  |  |  | C3010140 | Wall Finishes - Paneling
|  |  |  | C3010150 | Wall Finishes - Tile
|  |  | C3010300 | Column Finishes
|  | C3020 | Floor Finishes
|  |  | C3020100 | Floor Toppings & Coatings
|  |  |  | C3020110 | Concrete Toppings
|  |  |  | C3020120 | Acrylic Coatings
|  |  |  | C3020130 | Epoxy Coatings
|  |  | C3020200 | Traffic Membranes
|  |  | C3020300 | Hardeners & Sealers
|  |  | C3020400 | Flooring
|  |  |  | C3020410 | Flooring - Sheet Goods
|  |  |  | C3020420 | Flooring - Terrazzo
|  |  |  | C3020430 | Flooring - Tile
|  |  |  | C3020440 | Flooring - VCT
|  |  |  | C3020450 | Flooring - Wood
|  |  |  | C3020490 | Flooring - Other
|  |  | C3020500 | Carpeting
|  |  |  | C3020510 | Carpet
|  |  |  | C3020520 | Carpet Tile
|  |  | C3020600 | Bases, Curbs & Trim
|  |  |  | C3020610 | Base - Vinyl & Rubber
|  |  |  | C3020620 | Base - Wood
|  |  | C3020700 | Access Pedestal Flooring
|  |  | C3020800 | Subflooring & Underlayment
|  |  |  | C3020810 | Subflooring & Underlayment - Wood
|  | C3030 | Ceiling Finishes
|  |  | C3030100 | Applied Ceiling Finishes
|  |  |  | C3030110 | Ceiling Finishes - Paint
|  |  |  | C3030120 | Ceiling Finishes - Coatings
|  |  |  | C3030130 | Ceiling Finishes - Coverings
|  |  |  | C3030140 | Ceiling Finishes - Paneling
|  |  |  | C3030150 | Ceiling Finishes - Tile
|  |  | C3030200 | Suspended Ceilings
|  |  |  | C3030210 | Suspended Ceilings - Acoustical
|  |  |  | C3030220 | Suspended Ceilings - Gypsum Board
|  |  |  | C3030230 | Suspended Ceilings - Plaster
|  |  | C3030300 | Drywall & Plaster Ceiling Components
|  |  |  | C3030310 | Ceiling Components - Drywall
|  |  |  | C3030320 | Ceiling components - Plaster
|  |  | C3030900 | Other Ceiling Finishes
D | Services
| D10 | Conveying
|  | D1010 | Elevators and Lifts
|  |  | D1010100 | Passenger Elevators
|  |  |  | D1010110 | Elevators - Hydraulic
|  |  |  | D1010130 | Elevators - Oil Hydraulic
|  |  |  | D1010140 | Elevators - Traction Geared
|  |  |  | D1010150 | Elevators - Traction Gearless
|  |  | D1010200 | Freight Elevators
|  |  |  | D1010210 | Elevators - Freight
|  |  | D1010300 | Lifts
|  |  |  | D1010310 | Lifts - Passenger
|  | D1020 | Escalators and Moving Walks
|  |  | D1020100 | Escalators
|  |  |  | D1020110 | Escalators
|  |  | D1020200 | Moving Walks
|  |  |  | D1020210 | Moving Walks
|  | D1090 | Other Conveying Systems
|  |  | D1090100 | Dumbwaiters
|  |  | D1090200 | Pneumatic Tube Systems
|  |  | D1090300 | Hoists & Cranes
|  |  | D1090400 | Conveyors
|  |  |  | D1090410 | Conveyors - Horizontal & Inclined
|  |  |  | D1090420 | Conveyors - Vertical
|  |  | D1090500 | Chutes
|  |  |  | D1090510 | Chutes - Linen & Refuse
|  |  |  | D1090520 | Chutes - Mail
|  |  | D1090600 | Turntables
|  |  | D1090700 | Baggage Handling & Loading Systems
|  |  | D1090800 | Transportation Systems
| D20 | Plumbing
|  | D2010 | Plumbing Fixtures
|  |  | D2010100 | Water Closets
|  |  |  | D2010110 | Water Closets - Single
|  |  |  | D2010120 | Water Closets - Group
|  |  | D2010200 | Urinals
|  |  |  | D2010210 | Urinals - Single
|  |  |  | D2010220 | Urinals - Battery Mount
|  |  | D2010300 | Lavatories
|  |  |  | D2010310 | Lavatories - Single
|  |  |  | D2010320 | Lavatories - Battery Mount
|  |  | D2010400 | Sinks
|  |  |  | D2010410 | Sinks - Kitchen
|  |  |  | D2010420 | Sinks - Laundry
|  |  |  | D2010430 | Sinks - Laboratory
|  |  |  | D2010440 | Sinks - Service
|  |  | D2010500 | Bathtubs
|  |  |  | D2010510 | Bathtubs
|  |  | D2010600 | Wash Fountains
|  |  |  | D2010610 | Wash Fountains - Group
|  |  | D2010700 | Showers
|  |  |  | D2010710 | Showers
|  |  | D2010800 | Drinking Fountains & Coolers
|  |  |  | D2010810 | Drinking Fountains
|  |  |  | D2010820 | Water Coolers
|  |  | D2010900 | Other Plumbing Fixtures
|  |  |  | D2010910 | Bidets
|  | D2020 | Domestic Water Distribution
|  |  | D2020100 | Cold Water Service
|  |  | D2020200 | Hot Water Service
|  |  | D2020300 | Domestic Water Supply Equipment
|  | D2030 | Sanitary Waste
|  |  | D2030100 | Waste Piping
|  |  | D2030200 | Vent Piping
|  |  | D2030300 | Floor Drains
|  |  | D2030400 | Sanitary Waste Equipment
|  |  | D2030500 | Pipe Insulation
|  | D2040 | Rain Water Drainage
|  |  | D2040100 | Pipe & Fittings
|  |  | D2040200 | Roof Drains
|  |  | D2040300 | Rainwater Drainage Equipment
|  |  | D2040400 | Pipe Insulation
|  | D2090 | Other Plumbing Systems
|  |  | D2090100 | Gas Distribution
|  |  | D2090200 | Acid Waste Systems
|  |  | D2090300 | Interceptors
|  |  | D2090400 | Pool Piping & Equipment
|  |  | D2090500 | Decorative Fountain Piping & Devices
|  |  | D2090600 | Special Water Systems
|  |  | D2090800 | Piping & Fittings
|  |  | D2090900 | Misc. Other Plumbing Systems
| D30 | HVAC
|  | D3010 | Energy Supply
|  |  | D3010100 | Oil Supply System
|  |  | D3010200 | Gas Supply System
|  |  | D3010300 | Coal Supply System
|  |  | D3010400 | Steam Supply System
|  |  | D3010500 | Hot Water Supply System
|  |  | D3010600 | Chilled Water Supply System
|  |  | D3010700 | Solar Energy Systems
|  |  | D3010800 | Wind Energy System
|  |  | D3010900 | Fuel Cell Systems
|  | D3020 | Heat Generating Systems
|  |  | D3020100 | Boilers
|  |  | D3020200 | Boiler Room Piping & Specialties
|  |  | D3020300 | Auxiliary Equipment
|  |  | D3020400 | Insulation
|  | D3030 | Cooling Generating Systems
|  |  | D3030100 | Chilled Water Systems
|  |  | D3030200 | Direct Expansion Systems
|  |  | D3030300 | Other Cooling System Components
|  | D3040 | Distribution Systems
|  |  | D3040100 | Air Distribution Systems
|  |  | D3040200 | Exhaust Ventilation Systems
|  |  | D3040300 | Steam Distribution Systems
|  |  | D3040400 | Hot Water Distribution
|  |  | D3040500 | Chilled Water Distribution
|  |  | D3040600 | Change-over Distribution Systems
|  |  | D3040700 | Glycol Distribution Systems
|  | D3050 | Terminal & Package Units
|  |  | D3050100 | Terminal Self-Contained Units
|  |  | D3050200 | Package Units
|  | D3060 | Controls & Instrumentation
|  |  | D3060100 | Heating Generating Systems
|  |  | D3060200 | Cooling Generating Systems
|  |  | D3060300 | Heating/Cooling Air Handling Units
|  |  | D3060400 | Exhaust & Ventilating Systems
|  |  | D3060500 | Hoods & Exhaust Systems
|  |  | D3060600 | Terminal Devices
|  |  | D3060700 | Energy Monitoring & Control
|  |  | D3060800 | Building Automation Systems
|  | D3070 | Systems Testing & Balancing
|  |  | D3070100 | Piping System Testing & Balancing
|  |  | D3070200 | Air System Testing & Balancing
|  |  | D3070300 | HVAC Commissioning
|  |  | D3070900 | Other System Testing & Balancing
|  | D3090 | Other HVAC Systems/Equip
|  |  | D3090100 | Special Cooling Systems & Devices
|  |  | D3090200 | Special Humidity Control
|  |  | D3090300 | Dust & Fume Collectors
|  |  | D3090400 | Air Curtains
|  |  | D3090500 | Air Purifiers
|  |  | D3090600 | Paint Spray Booth Ventilation
|  |  | D3090700 | General Construction Items (HVAC)
|  |  | D3090900 | Misc. Other HVAC Systems & Equipment
| D40 | Fire Protection
|  | D4010 | Sprinklers
|  |  | D4010100 | Sprinkler Water Supply
|  |  | D4010200 | Sprinkler Pumping Equipment
|  |  | D4010300 | Wet Sprinkler Systems
|  |  | D4010400 | Dry Sprinkler Systems
|  | D4020 | Standpipes
|  |  | D4020100 | Standpipe Water Supply
|  |  | D4020200 | Pumping Equipment
|  |  | D4020300 | Standpipe Equipment
|  |  | D4020400 | Fire Hose Equipment
|  | D4030 | Fire Protection Specialties
|  |  | D4030100 | Fire Extinguishers
|  |  | D4030200 | Fire Extinguisher Cabinets
|  |  | D4030900 | Other Fire Protection Specialties
|  | D4090 | Other Fire Protection Systems
|  |  | D4090100 | Carbon Dioxide Systems
|  |  | D4090200 | Foam Generating Equipment
|  |  | D4090300 | Clean Agent System
|  |  | D4090400 | Dry Chemical Systems
|  |  | D4090500 | Hood & Duct Fire Protection
|  |  | D4090900 | Misc. Other Fire Protection Systems
| D50 | Electrical
|  | D5010 | Electrical Service/Distribution
|  |  | D5010100 | High Tension Service & Distribution
|  |  | D5010200 | Low Tension Service & Distribution
|  | D5020 | Lighting and Branch Wiring
|  |  | D5020100 | Branch Wiring & Devices
|  |  |  | D5020110 | Receptacles - Wall
|  |  |  | D5020115 | Receptacles - Floor
|  |  |  | D5020120 | Switches - Wall
|  |  | D5020200 | Lighting Equipment
|  |  |  | D5020210 | Lighting - Fluorescent
|  |  |  | D5020220 | Lighting - Incandescent
|  |  |  | D5020230 | Lighting - High Intensity
|  |  |  | D5020280 | Light Poles
|  | D5030 | Communications and Security
|  |  | D5030100 | Public Address & Music Systems
|  |  | D5030200 | Intercommunication & Paging Systems
|  |  | D5030300 | Telephone Systems
|  |  | D5030400 | Call Systems
|  |  | D5030500 | Television Systems
|  |  | D5030600 | Data Networking
|  |  | D5030700 | Fire Alarm Systems
|  |  | D5030800 | Security & Detection Systems
|  |  | D5030900 | Other Communications & Security Systems
|  | D5090 | Other Electrical Systems
|  |  | D5090100 | Grounding Systems
|  |  | D5090200 | Emergency Light & Power Systems
|  |  | D5090300 | Floor Raceway Systems
|  |  | D5090400 | General Construction Items (Elect.)
|  |  | D5090900 | Misc. Other Electrical Systems
E | Equipment & Furnishings
| E10 | Equipment
|  | E1010 | Commercial Equipment
|  |  | E1010100 | Security & Vault Equipment
|  |  |  | E1010110 | Security Equipment
|  |  |  | E1010120 | Vault Equipment
|  |  | E1010200 | Teller & Service Equipment
|  |  | E1010300 | Registration Equipment
|  |  | E1010400 | Checkroom Equipment
|  |  | E1010500 | Mercantile Equipment
|  |  |  | E1010510 | Display Cases
|  |  |  | E1010520 | Checkout Counters
|  |  | E1010600 | Laundry & Dry Cleaning Equipment
|  |  |  | E1010610 | Laundry Equipment - Washers & Dryers
|  |  |  | E1010620 | Laundry Equipment - Ironers
|  |  | E1010700 | Vending Equipment
|  |  | E1010800 | Office Equipment
|  |  | E1010900 | Other Commercial Equipment
|  | E1020 | Institutional Equipment
|  |  | E1020100 | Ecclesiastical Equipment
|  |  |  | E1020110 | Ecclesiastical Equipment - Steeples & Bells
|  |  |  | E1020120 | Ecclesiastical Equipment - Baptismals & Fonts
|  |  |  | E1020130 | Ecclesiastical Equipment - Pews
|  |  | E1020200 | Library Equipment
|  |  |  | E1020210 | Library Equipment - Carrels
|  |  |  | E1020230 | Library Equipment - Shelves & Desks
|  |  | E1020300 | Theater & Stage Equipment
|  |  |  | E1020310 | Theater Equipment - Projection
|  |  |  | E1020320 | Theater Equipment - Lights & Tracks
|  |  |  | E1020330 | Theater Equipment - Curtains
|  |  | E1020400 | Instrumental Equipment
|  |  | E1020500 | Audio-visual Equipment
|  |  | E1020600 | Detention Equipment
|  |  | E1020700 | Laboratory Equipment
|  |  |  | E1020710 | Laboratory Equipment
|  |  |  | E1020720 | Laboratory Cabinets & Countertops
|  |  |  | E1020730 | Laboratory Hoods
|  |  | E1020800 | Medical Equipment
|  |  |  | E1020810 | Medical Furniture & Equipment
|  |  |  | E1020820 | X-ray Equipment
|  |  | E1020900 | Other Institutional Equipment
|  | E1030 | Vehicular Equipment
|  |  | E1030100 | Vehicular Service Equipment
|  |  | E1030200 | Parking Control Equipment
|  |  | E1030300 | Loading Dock Equipment
|  |  | E1030900 | Other Vehicular Equipment
|  | E1090 | Other Equipment
|  |  | E1090100 | Maintenance Equipment
|  |  | E1090200 | Solid Waste Handling Equipment
|  |  | E1090300 | Food Service Equipment
|  |  |  | E1090310 | Food Service - Cabinets & Countertops
|  |  |  | E1090320 | Food Service - Appliances & Equipment
|  |  |  | E1090330 | Food Service - Walk-in Refrigerators
|  |  | E1090400 | Residential Equipment
|  |  | E1090500 | Darkroom Equipment
|  |  | E1090600 | Window Washing Equipment
|  |  | E1090900 | Other Equipment
| E20 | Furnishings
|  | E2010 | Fixed Furnishings
|  |  | E2010100 | Fixed Artwork
|  |  | E2010200 | Fixed Casework
|  |  | E2010300 | Window Treatments
|  |  |  | E2010310 | Window Treatments - Blinds
|  |  |  | E2010320 | Window Treatments - Shades
|  |  |  | E2010330 | Window Treatments - Draperies
|  |  | E2010400 | Fixed Floor Grilles & Mats
|  |  | E2010500 | Fixed Multiple Seating
|  |  | E2010600 | Fixed Interior Landscaping
|  | E2020 | Moveable Furnishings
|  |  | E2020100 | Movable Artwork
|  |  | E2020200 | Furniture & Accessories
|  |  | E2020300 | Movable Rugs & Mats
|  |  | E2020400 | Movable Multiple Seating
|  |  | E2020500 | Movable Interior Landscaping
F | Special Construction & Demolition
| F10 | Special Construction
|  | F1010 | Special Structures
|  |  | F1010100 | Air Supported Structures
|  |  | F1010200 | Pre-engineered Structures
|  |  | F1010300 | Other Special Structures
|  | F1020 | Integrated Construction
|  |  | F1020100 | Integrated Assemblies
|  |  | F1020200 | Special Purpose Rooms
|  |  | F1020300 | Other Integrated Construction
|  | F1030 | Special Construction Systems
|  |  | F1030100 | Sound, Vibration & Seismic Construction
|  |  | F1030200 | Radiation Protection
|  |  | F1030300 | Special Security Systems
|  |  | F1030400 | Vaults
|  |  | F1030900 | Other Special Construction Systems
|  | F1040 | Special Facilities
F1040100
|  |  | F1040200 | Ice Rinks
|  |  | F1040300 | Site Constructed Incinerators
|  |  | F1040400 | Kennels & Animal Shelters
|  |  | F1040500 | Liquid & Gas Storage Tanks
|  |  | F1040900 | Other Special Facilities
|  | F1050 | Special Controls & Instrumentation
|  |  | F1050100 | Recording Instrumentation
|  |  | F1050200 | Building Automation Systems
|  |  | F1050900 | Other Special Control& Instrumentation
| F20 | Selective Building Demolition
|  | F2010 | Building Elements Demolition
|  |  | F2010100 | Building Interior Demolition
|  |  | F2010200 | Building Exterior Demolition
|  | F2020 | Hazardous Components Abatement
|  |  | F2020100 | Removal of Hazardous Components
|  |  | F2020200 | Encapsulation of Hazardous Components
G | Building Sitework
| G10 | Site Preparation
|  | G1010 | Site Clearing
|  |  | G1010100 | Clearing & Grubbing
|  |  | G1010200 | Tree Removal & Thinning
|  | G1020 | Site Demolition and Relocations
|  |  | G1020100 | Building Demolition
|  |  | G1020200 | Demolition of Site Components
|  |  | G1020300 | Relocation of Buildings
|  |  | G1020400 | Utilities Relocation
|  | G1030 | Site Earthwork
|  |  | G1030100 | Site Grading Excavation & Disposal
|  |  | G1030200 | Borrow Fill
|  |  | G1030300 | Soil Stabilization & Treatment
|  |  | G1030400 | Site Dewatering
|  |  | G1030500 | Site Shoring
|  |  | G1030600 | Embankments
|  |  | G1030700 | Erosion Control
|  |  | G1030800 | Utilities Trenching
|  | G1040 | Hazardous Waste Remediation
|  |  | G1040100 | Removal of Contaminated Soil
|  |  | G1040200 | Soil Restoration & Treatment
|  |  | G1040900 | Other Hazardous Waste Remediation
| G20 | Site Improvement
|  | G2010 | Roadways
|  |  | G2010100 | Roadway Bases & Sub-Bases
|  |  | G2010200 | Roadway Paving & Surfacing
|  |  | G2010300 | Curbs, Gutters & Drains
|  |  | G2010400 | Guardrails & Barriers
|  |  | G2010500 | Painted Lines & Markings
|  |  | G2010600 | Signage
|  |  | G2010700 | Vehicular Bridges
|  | G2020 | Parking Lots
|  |  | G2020100 | Parking Lot Bases & Sub-Bases
|  |  | G2020200 | Parking Lot Paving & Surfacing
|  |  | G2020300 | Curbs, Gutters & Drains
|  |  | G2020400 | Guardrails & Barriers
|  |  | G2020500 | Parking Booths & Equipment
|  |  | G2020600 | Painted Lines & Markings
|  |  | G2020700 | Signage
|  | G2030 | Pedestrian Paving
|  |  | G2030100 | Bases & Sub-Bases
|  |  | G2030200 | Sidewalks
|  |  | G2030300 | Brick & Tile Plazas
|  |  | G2030400 | Edging
|  |  | G2030500 | Exterior Steps & Ramps
|  |  | G2030600 | Pedestrian Bridges
|  | G2040 | Site Development
|  |  | G2040100 | Fences & Gates
|  |  | G2040200 | Retaining Walls
|  |  | G2040300 | Terracing & Perimeter Walls
|  |  | G2040400 | Signage
|  |  | G2040500 | Site Furnishings
|  |  | G2040600 | Fountains, Pools & Watercourses
|  |  | G2040700 | Playing Fields
|  |  | G2040800 | Flagpoles
|  |  | G2040900 | Other Site Development
|  | G2050 | Landscaping
|  |  | G2050100 | Fine Grading & Soil Preparation
|  |  | G2050200 | Erosion Control Measures
|  |  | G2050300 | Vehicular Bridges
|  |  | G2050400 | Seeding & Sodding
|  |  | G2050500 | Planting
|  |  | G2050600 | Planters
|  |  | G2050700 | Irrigation Systems
|  |  | G2050900 | Other Landscape Features
| G30 | Site Mechanical Utilities
|  | G3010 | Water Supply
|  |  | G3010100 | Potable Water Distribution & Storage
|  |  | G3010200 | Non Potable Water Distribution & Storage
|  |  | G3010300 | Well Systems
|  |  | G3010400 | Fire Protection Distribution & Storage
|  |  | G3010500 | Pumping Stations
|  |  | G3010600 | Package Water Treatment Plants
|  | G3020 | Sanitary Sewer
|  |  | G3020100 | Sewage Piping
|  |  | G3020200 | Manholes & Cleanouts
|  |  | G3020300 | Septic Disposal Systems
|  |  | G3020400 | Lift Stations
|  |  | G3020500 | Packaged Water Waste Treatment Plants
|  | G3030 | Storm Sewer
|  |  | G3030100 | Storm Sewer Piping
|  |  | G3030200 | Manholes
|  |  | G3030300 | Headwalls & Catch Basins
|  |  | G3030400 | Lift Stations
|  |  | G3030500 | Retention Ponds
|  |  | G3030600 | Ditches & Culverts
|  | G3040 | Heating Distribution
|  |  | G3040100 | Steam Supply
|  |  | G3040200 | Condensate Return
|  |  | G3040300 | Hot Water Supply System
|  |  | G3040400 | Pumping Stations
|  | G3050 | Cooling Distribution
|  |  | G3050100 | Chilled Water Piping
|  |  | G3050200 | Wells for Cooling/Heating
|  |  | G3050300 | Pumping Stations
|  |  | G3050400 | Cooling Towers on Site
|  | G3060 | Fuel Distribution
|  |  | G3060100 | Fuel Piping
|  |  | G3060200 | Fuel Equipment
|  |  | G3060300 | Fuel Storage Tanks
|  | G3060400 | Fuel Dispensing Stations
|  | G3090 | Other Site Mechanical Utilities
|  |  | G3090100 | Industrial Waste Systems
|  |  | G3090200 | POL Distribution Systems
| G40 | Site Electrical Utilities
|  | G4010 | Electrical Distribution
|  |  | G4010100 | Substations
|  |  | G4010200 | Overhead Power Distribution
|  |  | G4010300 | Underground Power Distribution
|  | G4020 | Site Lighting
|  |  | G4020100 | Site Fixtures & Transformers
|  |  | G4020200 | Site Lighting Poles
|  |  | G4020300 | Wiring Conduits & Ductbanks
|  |  | G4020400 | Site Lighting Controls
|  | G4030 | Site Communication and Security
|  |  | G4030100 | Site Communications Systems
|  |  | G4030200 | Site Security & Alarm Systems
|  | G4040 | Other Site Electrical Utilities
|  |  | G4040100 | Cathodic Protection
|  |  | G4040200 | Site Emergency Power Generation
| G90 | Other Site Construction
|  | G9010 | Service and Pedestrian Tunnels
|  |  | G9010100 | Service Tunnels
|  |  | G9010200 | Trench Boxes
|  |  | G9010300 | Pedestrian Tunnels
|  | G9090 | Other Site Systems/Equipment
|  |  | G9090100 | Snow Melting Systems