## Title page
MESCO
EE RENOVATION OF PUBLIC BUILDINGS VIA EPC
Prepared by:
Prepared for:
Document title
Measurement and Verification (M&V) Report
Facility name:
Facility address:
Type of report: | monthly/final
Verification month
Verification year
Document data
2024-04-09
Revision: 0.0

## 1.Intro
EE RENOVATION OF PUBLIC BUILDINGS VIA EPC
Measurement and Verification (M&V) Report
2024-04-09
DOCUMENT CONTROL SHEET
PROJECT NUMBER:
PREPARED BY: | 0
PREPARED FOR: | 0
Description
The MESCO program aims to foster the growth and development of the energy services market in Moldova.The program's specific objectives are to design, procure, fund, and oversee the execution of Energy Performance Contracts (EPCs). These contracts are comprehensive, encompassing the deployment of energy efficiency improvements and Renewable Energy Sources (RES) in public sector buildings throughout Moldova. The program is tasked with the post-implementation monitoring and verification of outcomes achieved.
DATE: |  | 2024-04-09

## Project description
1. PROJECT BACKGROUND
1.1 | Contract #
1.2 | Facility name
1.3 | Facility address
1.4 | Guaranteed savings (in %) incl. In the EPC
1.5 | Contractor's name (ESCO)
2. ENERGY EFFICIENCY MEASURES
Energy Efficiency Measures (EEMs) are taken actions to improve energy efficiency and achieve energy savings, including investments made in this respect (Law no 139, Art. 3 of 19.07.2018)
2.1 | List of Energy Efficiency Measures (EEMs) included in the EPC's scope of works:
| - | …
| - | …
| - | …
| - | …
| - | …
| - | …
| - | …
3. SELECTED M&V OPTION AND MEASUREMENT BOUNDARY
Option C. Whole facility Definition: Savings are determined by measuring energy consumption and demand at the whole facility utility meter level. Continuous measurements of the entire facility's energy consumption and demand are taken throughout the reporting period. Calculation of savings: Analysis of the whole facility baseline and reporting period meter data. Routine adjustments as required, using techniques such as simple comparison or regression analysis. Non-routine adjustments as required. Typical applications: Multifaceted energy management programs affecting many systems in a facility. Measure energy consumption and demand with the gas and electric utility meters for a twelve-month baseline period and throughout the reporting period.
Measurement boundary: due to selected Option C measurement boundary determitated for all building by the points of installing comercial meters of heat and electricity.
Interactive effects: Taking into consideration that it is posible to replace heat from district heating system or gas boiler by the electricity - the general efficiency is measured as heat saving plus electricity saving with coeficients depend of the price of this energy resources.
4. BASELINE: PERIOD, USAGE AND CONDITIONS
Baseline description: The baseline consumption is based on the energy consupmtion measerd in previos period by the instaled commercial meters.
Baseline period: The baseline period is 3 year before the measures implementation.
Baseline utility consumption and demand data: The baseline utility is the billing data (Option C approach is being used) and oficial information about weather conditions, starting and ending of the heating period and amount od the working days.
Utility-influencing variable data: Adjustement for the actual conditions are maded for the heatby the degree-days for the heating, degree-hours for the ventilation and working days for the domestic hot water. For the electricity the baseline calclated separetly for each month and adjusted by the amount of the working days.
Operating conditions: it is taken into consideration that the conditions in the facility were in accordance with the standards for at least 10 months of the year. If not, additional measerments are required.
Baseline adjustments: Additional adjustments of the baseline are needed in case of the heated area of the facility will be increases or decreased more than 10% or amount of the ocupants will increases or decreased for more than 20%
5. REPORTING PERIOD
Monthly report | Starting date for verification |  | 2025-01-17
| Start date of verification period |  | 2025-03-01
| End date of verification period |  | 2025-03-31
Cumulative report | Date of starting verification |  | 2025-01-17
| End date of verification period |  | 2025-03-31
6. M&V PARAMETERS (REPORTING PERIOD)
6.1 DETAILED PROCEDURES FOR DATA COLLECTION AND ANALYSIS
6.1.1 HEAT CONSUMPTION (Qah) The Contractor is tasked with the observation, collection, processing, systematization, and analysis of data related to the consumption of heat (Qah) at the Facility. This includes: - Recording data from heat metering units installed at the Facility for every day of the Verification Period (e.g., month), from 00:00 to 24:00. - Ensuring the monitoring system is programmed to store these readings for at least 36 months, with remote access provided to the Client.
6.1.2 ELECTRICITY CONSUMPTION (Qael) The Contractor is tasked with the observation, collection, processing, systematization, and analysis of data related to the consumption of electricity (Qael) at the Facility. This includes: - Recording data from electricity metering units installed at the Facility for every day of the Verification Period (e.g., month), from 00:00 to 24:00. - Ensuring the monitoring system is programmed to store these readings for at least 36 months, with remote access provided to the Client.
6.1.3 ACTUAL INDOOR TEMPERATURE (tai) The actual indoor temperature (tai) at the Facility is determined as specific (average per hour) amount of all measured temperature values. The Contractor must: - Measure and record the actual indoor temperatures at least every 15 minutes each day of the Verification Month, ensuring an accuracy of up to 0.5°C. These measurements should be taken in 3 (three) specific premises agreed upon by both parties and 2 (two) or less determined by the Client. - Ensure the device for information recording is programmed to store these records for at least 4 (four) months, with remote access provided to the Client.
6.1.4 ACTUAL OUTDOOR TEMPERATURE (tao) The actual outdoor temperature (tao) is determined as the mean average daily outdoor temperature for Valid Verification Days in a respective Verification Month. The Contractor must: - Determine the mean actual outdoor temperature for Valid Verification Days using data from the nearest meteorological post and temperature loggers.
6.1.5 CARBON DIOXIDE (CO2) LEVELS AT THE FACILITY The carbon dioxide levels at the Facility equipped with mechanical ventilation systems is determined as the mean per hour value of CO2 levels. The Contractor must monitor and record CO2 levels: - CO2 measurements should be taken at least every 15 minutes each day, with an accuracy of up to 100 ppm. These readings are to be taken in up to three premises where a mechanical ventilation system shall be installed as determined by the Employer. Upon the Employer’s request the mentioned premises can be changed. - The monitoring devices must be capable of storing these readings for at least 4 (four) months, with an electronic copy kept for at least 36 (thirty-six) months. This section of the M&V Plan ensures comprehensive and accurate data collection, which is fundamental for the effective analysis of energy consumption and the calculation of energy savings at the Facility.
6.2 CALCULATION OF BASELINE ENERGY CONSUMPTION
6.2.1 FOR EACH VERIFICATION MONTH
The Baseline Energy Consumption is calculated using a specific formula that considers various factors such as the heating characteristics of the Facility, specific energy consumption for ventilation, and standard indoor and outdoor temperatures. The formula is as follows:
Where:
Qbh | represents the Baseline Energy Consumption, in Gcal
Qh | is the Heating Characteristic of the Facility, in Gcal/HDD
qv | denotes specific energy consumption for ventilation, in Gcal/h
tsi | is the standard indoor temperature (average for all rooms), in °C
tao | is the average outdoor temperature, in °C
tso | is the standard outdoor temperature (for ventilation -100C), in °C
nh | is the number of Valid Verification Days, in days
nwd | is the number of working days, in days
hwh | is the average number of working hours per day, in hours
is the Ventilation Characteristic of the Facility, which shall be calculated according to the following formula:
Where:
nwd’ | is the number of working days when CO2 levels were higher than the standard, in days
hwh’ | is the average number of working hours per day when CO2 level was higher than the standard, in hours
qv | is the specific energy consumption for ventilation at a Facility, in Gcal/h
tao | is the average outdoor temperature during working days when CO2 level was higher than the standard, in °C
only for the Facility with a mechanical ventilation system and in case the CO2 level is more than the standard of 1,000 ppm during 3 (three) or more working hours per working day during a Verification Month. In other cases, value
6.2.2. Adjustments for significant changes
In cases of significant changes during Energy Performance Contract implementation the Parties shall have the right to demand the recalculation of the amounts of the Factors of Influence (Heating Characteristics of a Facility (qh), specific energy consumption for ventilation (qv) and Electricity Characteristics of a Facility (qel(i))) and establish a new baseline. This includes expansions or reductions in the heated area, installation or reduction of equipment, and changes of the operational time or in building usage.
The recalculated baseline will account for the new conditions, either increasing or decreasing based on the specific changes made.
6.3. Calculation of actual energy savings level
6.3.1. For each Verification month
The actual Energy Savings Level at the Facility for a respective Verification Month is calculated as a percentage of the Baseline Energy Consumption, using the formula:
Where:
E%m | is the actual Energy Savings Level at the Facility for the respective Verification Month, in %
Qbh | is the Baseline Energy Consumption for a respective Verification Month, in Gcal
E | represents the total amount of saved/overconsumed energy at the Facility for a respective Verification Months, calculated as the sum of the savings/overconsumption for heat and electricity according to the formula below:
Where:
Eh | is the amount of saved/overconsumed heat for a respective Verification Month, in Gcal
Eel | is the amount of saved/overconsumed electricity for a respective Verification Month adjusted by the tariffs difference for heat and electricity, in Gcal
the amount of saved/overconsumed heat for a respective Verification Month:
Where:
Qah | is the actual amount of heat consumed for Valid Verification Days for a respective Verification Month, in Gcal
Qbh | represents the Baseline Energy Consumption for a respective Verification Month, in Gcal
and the amount of saved/overconsumed electricity for a respective Verification Month:
, if
,
or
,
if
Where:
Tel | is the average, officially approved electricity tariff in a respective Verification Month, in MDL/kWh
Th | is the average, officially approved heat tariff in a respective Verification Month, in MDL/Gcal;
Qael | represents the actual amount of electricity consumed in a respective Verification Month (for verification days only), in kWh
Qbel | is the Baseline Electricity Consumption in a Verification Month, in kWh, which shall be calculated as the product of the Electricity Characteristics of a Facility (qel(i)) in kWh/working day) by the number of working days at the Verification Month (nwd):
Where (i) stands for a particular month (January, February, March, April, October, November, or December).
6.3.2. For the valid verification period
The actual Energy Savings Level at the Facility over the Valid Verification Period is calculated by aggregating the monthly savings and comparing them to the total Baseline Energy Consumption. The formula for this calculation is:
Where:
E% | the Actual Energy Saving Level at the Facility for the Valid Verification Period, in %
j | a Verification Month
m | the number of months during the Valid Verification Period
is the Baseline Energy Consumption at the Facility in jth Verification Month, in Gcal
Ejm | is the amount of saved/overconsumed energy at the Facility in jth Verification Month, in Gcal
*The detailed information about the baselie calculation is described in "BEC methodology" Annex 1
**The detailed information about the verification procedure described in "M&V plan" Annex 8
Note on C11: [Kommentarthread] Ihre Version von Excel gestattet Ihnen das Lesen dieses Kommentarthreads. Jegliche Bearbeitungen daran werden jedoch entfernt, wenn die Datei in einer neueren Version von Excel geöffnet wird. Weitere Informationen: https://go.microsoft.com/fwlink/?linkid=870924. Kommentar: Insert all the EE measures included in the Energy Performance Contract
Note on B32: [Kommentarthread] Ihre Version von Excel gestattet Ihnen das Lesen dieses Kommentarthreads. Jegliche Bearbeitungen daran werden jedoch entfernt, wenn die Datei in einer neueren Version von Excel geöffnet wird. Weitere Informationen: https://go.microsoft.com/fwlink/?linkid=870924. Kommentar: The verification of achieved savings (performance verification) starts the next day after Final Acceptance Protocol has been approved and signed
Note on B33: [Kommentarthread] Ihre Version von Excel gestattet Ihnen das Lesen dieses Kommentarthreads. Jegliche Bearbeitungen daran werden jedoch entfernt, wenn die Datei in einer neueren Version von Excel geöffnet wird. Weitere Informationen: https://go.microsoft.com/fwlink/?linkid=870924. Kommentar: The first calendar day of a respective verification month. Only the first and the last verification periods might be shorter than a calendar month (e.g., in case the performance verification starts on 17.01.2025, the first verification period will be from 17.01.2025 until 31.01.2025)
Note on B34: [Kommentarthread] Ihre Version von Excel gestattet Ihnen das Lesen dieses Kommentarthreads. Jegliche Bearbeitungen daran werden jedoch entfernt, wenn die Datei in einer neueren Version von Excel geöffnet wird. Weitere Informationen: https://go.microsoft.com/fwlink/?linkid=870924. Kommentar: The last day of a respective verification month. Only the last verification period might end earlier than the last day of the respective verification month (e.g., for 2 years contracted verification - 17.01.2025 until 16.01.2027, the end date will be 16.01.2027)
Note on B36: [Kommentarthread] Ihre Version von Excel gestattet Ihnen das Lesen dieses Kommentarthreads. Jegliche Bearbeitungen daran werden jedoch entfernt, wenn die Datei in einer neueren Version von Excel geöffnet wird. Weitere Informationen: https://go.microsoft.com/fwlink/?linkid=870924. Kommentar: The verification of achieved savings (performance verification) starts the next day after Final Acceptance Protocol has been approved and signed
Note on B37: [Kommentarthread] Ihre Version von Excel gestattet Ihnen das Lesen dieses Kommentarthreads. Jegliche Bearbeitungen daran werden jedoch entfernt, wenn die Datei in einer neueren Version von Excel geöffnet wird. Weitere Informationen: https://go.microsoft.com/fwlink/?linkid=870924. Kommentar: The last day of a respective verification month. Only the last verification period might end earlier than the last day of the respective verification month (e.g., for 2 years contracted verification - 17.01.2025 until 16.01.2027, the end date will be 16.01.2027)

## FORM 1
FORM 1. INPUT DATA FOR [Verification Month, year] ENERGY PERFORMANCE CONTRACT [#], for [Facility name]
Verification Month
Heating tariff rate*, MDL/Gcal
Electricity tariff rate*, MDL/kWh
* tariff rates valid on the last day of the Verification Month
DATE | ACTUAL OUTDOOR TEMPERATURE (tao), in 0C | VALID VERIFICATION DAYS (nh), in days | WORKING DAYS (nwd), in days | WORKING HOURS (hwh), in hours
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
Average |  | - |  | -
TOTAL | -

## FORM 2
FORM2. INDOOR CONDITIONS AND VALID VERIFICATION DAYS, [Verifiation Month, year] FOR [Facility name]
Month
Number of VVD1
Number of IVDprol 2
|  | room 1 | room 2 | room 3 | room …
tsi 3
CO2 4
DATE | Actual indoor temperature (tai) in 0С |  |  |  |  | CO2 level in ppm |  |  |  | tao5 in 0C | VVD 1 | WORKING DAYS WITH CO2 > STANDARD | IVDprol 2
| ROOM 1 | ROOM 2 | ROOM 3 | ROOM … | AVERAGE FOR FACILITY | ROOM 1 | ROOM 2 | ROOM 3 | AVERAGE FOR FACILITY
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
Average | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  |  |  | #DIV/0!
VVD average
1VVD - valid verification day
2IVDprol - invalid verification day that will prolong the valid verification period
3 Standard indoor temprature
4 Standard CO2 level
5 Actual outdoor temperature

## FORM 3
FORM 3.MEASUREMENT & VERIFICATION ACT FOR [Verification Month, year] for [Facility name]
# | PARAMETERS |  | VALUE
1 | Contract #
2 | Institution name
3 | Facility name
4 | Facility address
5 | Heating characteristic of the Facility (Qh), Gcal/HDD
6 | Ventilation Characteristic of the Facility(Qbhcor), Gcal/h
7 | Electricity characteristic of the Facility (qel(i)), kWh per working day
8 | Number of the Valid Verification Days (nh) during the Verification Month, in days
9 | Number of working days during the Verification Month (nwd), in days
10 | Number of working days during the Verification Month with CO2 > standard (nwd'), in days
11 | Average number of working hours per day during the Verification Month (hwh), in hours
12 | Average number of working hours per day during the Verification Month with CO2 > standard (hwh'), in hours
13 | Electricity tariff rate (Tеl), in MDL/kWh
14 | Heat tariff rate (Th), in MDL/Gcal
15 | Actual heat consumption for the Valid Verification Days (Qah), in Gcal
measured by the meter #_______________
measured by the meter #_______________
total for all meters
16 | Actual electricity consumption for the Valid Verification Days (Qael), in kWh
measured by the meter #_______________
measured by the meter #_______________
total for all meters
17 | Actual indoor temperature for working hours during the verification month, 0C
in selected room 1
in selected room 2
in selected room 3
additional rooms (if needed)
average for the Facility
18 | Standard indoor temperature (tsi), in 0C
in selected room 1
in selected room 2
in selected room 3
additional rooms (if needed)
19 | Standard outdoor temperature (tso), 0C
20 | Average outdoor temperature during the Valid Varification Day (tao), 0C
21 | Average outdoor temperature during the Valid Varification Day with CO2 > standard (toa), 0C
22 | Specific energy consumption for ventilation at a Facility (qv), Gcal/h
23 | Baseline heat consumption for the Verification Month (Qbh), in Gcal
24 | Baseline electricity consumption for the Verification Month (Qbel), in kWh
25 | Achieved energy (heat) savings for the Verification Month (Em), in Gcal
26 | Achieved energy (electricity) savings for the Verification Month (Em), in kWh
27 | Achieved energy savings for the Verification Month (E%m), in %
28 | Number of Invalid Verification Days that will prolong the Valid Verification Period, in days
29 | Tariff for electricity, MDL/kWh
30 | Tariff for heat, MDL/Gcal
31 | Baseline consumption in MDL
32 | Achived saving in MDL
Note on D16: [Kommentarthread] Ihre Version von Excel gestattet Ihnen das Lesen dieses Kommentarthreads. Jegliche Bearbeitungen daran werden jedoch entfernt, wenn die Datei in einer neueren Version von Excel geöffnet wird. Weitere Informationen: https://go.microsoft.com/fwlink/?linkid=870924. Kommentar: Weighted average
Note on D17: [Kommentarthread] Ihre Version von Excel gestattet Ihnen das Lesen dieses Kommentarthreads. Jegliche Bearbeitungen daran werden jedoch entfernt, wenn die Datei in einer neueren Version von Excel geöffnet wird. Weitere Informationen: https://go.microsoft.com/fwlink/?linkid=870924. Kommentar: Weighted average

## F4. Cumulative report
FORM 4. MEASUREMENT & VERIFICATION ACT FOR [Verification Month, year] for [Facility name]
# | Year | Mounth | Baseline heat consumption for the Verification Month (Qbh), in Gcal | Baseline electricity consumption for the Verification Month (Qbel), in kWh | Achieved energy (heat) savings for the Verification Month (Em), in Gcal | Achieved energy (electricity) savings for the Verification Month (Em), in kWh | Achieved energy savings for the Verification Month (E%m), in % | Number of Invalid Verification Days that will prolong the Valid Verification Period, in days | Tariff for electricity, MDL/kWh | Tariff for heat, MDL/Gcal | Baseline consumption in MDL | Achived saving in MDL
1 | 2025 | 1
2 | 2025 | 2
3 | 2025 | 3
4 | 2025 | 4
5 | 2025 | 5
6 | 2025 | 6
7 | 2025 | 7
8 | 2025 | 8
9 | 2025 | 9
10 | 2025 | 10
11 | 2025 | 11
12 | 2025 | 12
1 | 2026 | 1
2 | 2026 | 2
3 | 2026 | 3
… | … | …
Totally |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0