## LOT 3
FINANCIAL PROPOSAL Annex 2 of the Agreement
for the rehabilitation equipment
| Service Provider: |  | XXXX
| Purpose: |  | Supply of the Rehabilitation Equipment. Lot 3: Suspension Therapy Equipment
| Duration: |  | October-November 2026
| Place: |  | Ukraine
Please use this form for the submission of your Financial Proposal. Additional information can be supplied on a separate page.
Lot / ЛОТ | # | Item/ Одиниця | Description and Specifications | Опис та технічні характеристики | Items and Specifications/ Пропоновані елементи та технічні характеристики | Quantity, units/ Кількість, одиниці | European medical standards | Certificates and Declarations of Conformity | Unit price, UAH excl. VAT / Ціна за одиницю, без ПДВ | Total price, UAH excl. VAT / Всього, грн без ПДВ | Unit price, UAH with VAT / Ціна за одиницю, з ПДВ | Total price, UAH with VAT / Всього, грн з ПДВ | Total VAT / Загальна сума ПДВ | Comments (suggested column for vendors to show the discrapancies if any)
3 | 1 | Suspension Sling Therapy Cage (Kinesiotherapy Cage), Fully Equipped Graviton-1 or equivalent / Кабіна для підвісної слінг-терапії (кінезіо-терапії), в повній комплектації "Гравітон-1", або аналог | The equipment shall be a set of mechanotherapy equipment intended for kinesitherapy, sling therapy, suspension therapy and rehabilitation procedures in healthcare institutions, rehabilitation departments, exercise therapy rooms, physical therapy and occupational therapy facilities. It shall be intended for the rehabilitation of patients with functional disorders of the musculoskeletal system, spine, joints and skeletal muscles, after injuries, surgical interventions and implantation, as well as patients with motor impairments following diseases or injuries of the brain and spinal cord. The set shall provide the possibility to perform: active unloading kinesitherapy procedures; active procedures with adjustable resistance; procedures using a pulley system; procedures with partial or complete unloading of the body or individual body segments of the patient; exercises in a closed kinetic chain and in unstable positions; training aimed at developing sensorimotor control, coordination, balance, strength and increasing range of motion. The set shall consist of at least a suspension kinesitherapy complex, a rehabilitation/massage table and a set of accessories for fixation, suspension, stabilization and load dosing. Free access to the patient and working area for medical personnel from all four sides shall be ensured. Suspension and positioning system: The left and right lateral sides, as well as the rear side of the complex, shall have support points for suspending and fixing therapeutic accessories, adjustable in height and width. The number of support points shall be not less than 8 on each of the specified sides. The design shall include movable posts or movable carriages with the possibility of reliable fixation in the working position. Movable parts of the complex shall be fixed by clamping or equivalent locking mechanisms to ensure safe operation and transportation/movement of elements within the structure. The frame of the complex shall be metal, frame-type, stable and resistant during rehabilitation exercises. The complex shall provide the possibility to perform exercises in lying, sitting and standing positions. It shall allow work with different muscle groups and joints of the upper limbs, lower limbs, trunk, spine, pelvic girdle and the musculoskeletal system as a whole. It shall provide the possibility to perform closed kinetic chain exercises, exercises in unstable positions, exercises aimed at developing sensorimotor control, coordination, balance, strength, range of motion and functional activity of the patient. It shall provide the possibility of dosed loading by means of soft weights or an equivalent resistance dosing system. The maximum permissible load on the complex shall be not less than 180 kg. Overall dimensions of the complex shall be not less than: length — 2500 mm; width — 2100 mm; height — 2200 mm. A deviation of dimensions within ±10% shall be allowed. The weight of the product shall be not less than 250 kg. The set shall include a rehabilitation/massage table with height adjustment by means of an electric, hydraulic or equivalent drive. The rehabilitation/massage table shall have an adjustable headrest with an inclination angle of at least up to 45°. The table shall have self-orienting castors for movement and support legs or another fixation mechanism to ensure a stable stationary position during the procedure. Accessory set: foot sling, approximate size 75 x 610 mm — not less than 4 pcs.; forearm and lower-leg cuff, approximate size 100 x 420 mm — not less than 6 pcs.; head sling, approximate size 150 x 530 mm — not less than 1 pc.; thigh and arm sling, approximate size 145 x 540 mm — not less than 6 pcs.; back and chest sling — not less than 1 pc.; double sling with pads — not less than 4 pcs.; foot fixation device — not less than 2 pcs.; Glisson loop — not less than 1 pc.; fixation strap for the couch/table — not less than 1 pc.; lower-leg stabilization strap — not less than 2 pcs.; double strap for stabilization of the arm and forearm — not less than 2 pcs.; double strap for thigh stabilization — not less than 1 pc.; chest stabilization strap — not less than 1 pc.; triple strap for lumbar or chest stabilization — not less than 1 pc.; pelvic sling — not less than 2 pcs.; “Spider” type system or equivalent system for multipoint suspension of the patient — not less than 1 set; strap for the multipoint suspension system, child size — not less than 1 pc.; strap for the multipoint suspension system, adult size L — not less than 1 pc.; strap for the multipoint suspension system, adult size XL — not less than 1 pc.; soft weight 5 kg — not less than 2 pcs.; soft weight 4 kg — not less than 2 pcs.; soft weight 3 kg — not less than 2 pcs.; soft weight 2.5 kg — not less than 2 pcs.; soft weight 2 kg — not less than 2 pcs.; soft weight 1.5 kg — not less than 2 pcs.; soft weight 1 kg — not less than 2 pcs.; soft weight 0.5 kg — not less than 2 pcs.; ropes of different lengths for use with the pulley and suspension system — not less than 26 pcs. in total; elastic ropes for suspension therapy — not less than 8 pcs.; universal pelvic lifting strap — not less than 1 pc. All straps, slings, cuffs and fixation devices shall be made of materials suitable for repeated use in medical or rehabilitation facilities. All metal elements of the structure shall have a protective coating resistant to wear, regular cleaning and disinfection agents. Warranty period shall be not less than 12 months. | Обладнання являє собою комплект механотерапевтичного обладнання для проведення кінезотерапії, слінг-терапії, підвісної терапії та реабілітаційних процедур у закладах охорони здоров’я, реабілітаційних відділеннях, залах ЛФК, фізичної терапії та ерготерапії. Призначене для реабілітації пацієнтів із порушеннями функцій опорно-рухового апарату, хребта, суглобів, м’язово-скелетної системи, після травм, оперативних втручань, імплантації, а також пацієнтів із руховими порушеннями після захворювань або травм головного та спинного мозку. Комплект повинен забезпечувати можливість проведення: - активних розвантажувальних кінезотерапевтичних процедур, - активних процедур із дозуванням супротиву, - процедур із використанням блокової системи, - процедур із частковим або повним розвантаженням тіла чи окремих сегментів тіла пацієнта, - вправ у закритому кінематичному ланцюзі та в нестабільних положеннях; - тренувань на розвиток сенсомоторного контролю, координації, рівноваги, сили та збільшення амплітуди рухів. Складається щонайменше з комплексу для підвісної кінезотерапії, реабілітаційно-масажного стола та комплекту аксесуарів для фіксації, підвішування, стабілізації та дозування навантаження. Забезпечення вільного доступу до пацієнта та робочої зони для медичного персоналу з усіх чотирьох сторін. Система підвісу та позиціонування: - Бокові ліва та права сторони, а також тильна сторона комплексу повинні мати опорні точки для підвішування та фіксації терапевтичного приладдя, що регулюються за висотою та шириною. Кількість опорних точок — не менше 8 на кожній із зазначених сторін. - Конструкція повинна передбачати наявність рухомих стійок або рухомих кареток з можливістю надійної фіксації в робочому положенні. - Рухомі частини комплексу повинні фіксуватися зажимними або еквівалентними фіксаторами для безпечної роботи та транспортування/переміщення елементів у межах конструкції. Каркас комплексу - металевий, рамного типу, стабільний та стійкий під час виконання реабілітаційних вправ. Можливість виконання вправ у положенні лежачи, сидячи та стоячи. Можливість роботи з різними групами м’язів та суглобами верхніх кінцівок, нижніх кінцівок, тулуба, хребта, тазового поясу та м’язово-скелетної системи загалом. Можливість проведення вправ у закритому кінематичному ланцюзі, вправ у нестабільних положеннях, вправ на розвиток сенсомоторного контролю, координації, рівноваги, сили, амплітуди рухів та функціональної активності пацієнта. Можливість дозованого навантаження за допомогою м’яких обважнювачів або еквівалентної системи дозування супротиву. Максимальне допустиме навантаження на комплекс — не менше 180 кг. Габаритні розміри комплексу повинні бути не менше: довжина — 2500 мм, ширина — 2100 мм, висота — 2200 мм. Допускається відхилення габаритів у межах ±10 % Маса виробу — не менше 250 кг У комплекті повинен бути реабілітаційно-масажний стіл з регулюванням висоти за допомогою електричного, гідравлічного або еквівалентного приводу. Реабілітаційно-масажний стіл повинен мати регульований підголівник із кутом нахилу не менше ніж до 45°. Стіл повинен мати самоорієнтуючі колеса для переміщення та опорні ніжки або інший механізм фіксації для стабільного стаціонарного положення під час процедури. Комплектація аксесуарами: - підвіска для ніг, розмір орієнтовно 75х610 мм — не менше 4 шт.; - манжета для передпліччя та гомілки, розмір орієнтовно 100х420 мм — не менше 6 шт.; - підвіска для голови, розмір орієнтовно 150х530 мм — не менше 1 шт.; - підвіска для стегна та руки, розмір орієнтовно 145х540 мм — не менше 6 шт.; - підвіска для спини та грудної клітини — не менше 1 шт.; - подвійна підвіска з підкладками — не менше 4 шт.; - фіксатор для стопи — не менше 2 шт.; - петля Гліссона — не менше 1 шт.; - ремінь фіксуючий до кушетки — не менше 1 шт.; - ремінь для стабілізації гомілки — не менше 2 шт.; - ремінь подвійний для стабілізації руки та передпліччя — не менше 2 шт.; - ремінь подвійний для стабілізації стегна — не менше 1 шт.; - ремінь для стабілізації грудної клітини — не менше 1 шт.; - ремінь потрійний для стабілізації попереку або грудної клітки — не менше 1 шт.; - підвіска для тазу — не менше 2 шт.; - система типу «Павук» або еквівалентна система для багатоточкової підвіски пацієнта — не менше 1 комплекту; - ремінь для системи багатоточкової підвіски дитячого розміру — не менше 1 шт.; - ремінь для системи багатоточкової підвіски дорослого розміру L — не менше 1 шт.; - ремінь для системи багатоточкової підвіски дорослого розміру XL — не менше 1 шт.; - м’яка гиря 5 кг — не менше 2 шт.; - м’яка гиря 4 кг — не менше 2 шт.; - м’яка гиря 3 кг — не менше 2 шт.; - м’яка гиря 2,5 кг — не менше 2 шт.; - м’яка гиря 2 кг — не менше 2 шт.; - м’яка гиря 1,5 кг — не менше 2 шт.; - м’яка гиря 1 кг — не менше 2 шт.; - м’яка гиря 0,5 кг — не менше 2 шт.; - мотузки різної довжини для роботи з блоковою та підвісною системою — не менше 26 шт. загалом; - еластичні мотузки для підвісної терапії — не менше 8 шт.; - ремінь для підйому тазу універсальний — не менше 1 шт. Усі ремені, підвіски, манжети та фіксатори повинні бути виготовлені з матеріалів, придатних для багаторазового використання в умовах медичного або реабілітаційного закладу. Усі металеві елементи конструкції повинні мати захисне покриття, стійке до зносу, регулярного очищення та дезінфекції засобами. Гарантійний строк не менше 12 місяців. |  | 1 | A valid ISO 13485 certificate or ISO 9001 issued to the manufacturer of the proposed goods / чинний сертифікат ISO 13485 або ISO 9001 виробника пропонованих товарів | If the product is intended for assistive/other purposes, the Declaration of Conformity is not required/ Якщо товар допоміжного/іншого призначення декларація не потрібна If the product is classified as a medical device, the Bidder must provide a valid Declaration of Conformity confirming that the medical device complies with the Technical Regulation on Medical Devices, approved by Resolution of the Cabinet of Ministers of Ukraine No. 753 dated October 2, 2013 (as amended) / Якщо товар медичного призначення Декларація про відповідність медичного виробу технічним регламентам відповідно до постанови №753
NOTE
Total for the goods excl. VAT, UAH |  |  |  |  | 0
VAT, UAH (if applicable)
Total for the goods with VAT, UAH |  |  |  |  | 0
Financial offers will be reviewed for completeness and correctness. In case of discrepancies between unit prices and total prices, the unit price shall prevail. In the case of discrepancies between words and figures, the amount in words shall prevail.
Currency: Prices shall be quoted in UAH (or EUR).
The financial proposal shall include a detailed budget that reflects clearly the costs necessary to implement the proposed contract and must include all taxes that are required to provide the services requested. Costs should be represented in UAH (or EUR). The anticipated award will be all-inclusive. No profit, fees, taxes, or additional costs can be added after award.
Company name:
Authorized representative’s name and signature:
Address:
email: