# ANNEX 1 – LIST OF ITEMS AND COMPLIANCE TABLE

## 1. List of Items and Quantities

### A. Medical Equipment

| # | Item Description | Quantity | Unit |
| --- | --- | --- | --- |
| 1 | Emergency trolley (crash cart), complete | 1 | unit |
| 2 | Patient monitor (minimum ECG / NIBP / SpO2, portable, suitable for emergency use) | 2 | unit |
| 3 | Defibrillator (AED / Manual, adult & pediatric, biphasic) | 1 | unit |
| 4 | Examination couch | 1 | unit |
| 5 | Hospital bed, manual (short-term observation, multi-function) | 4 | unit |
| 6 | Suction machine, medical grade, mobile (high vacuum, continuous operation) | 2 | unit |
| 7 | Electrosurgical unit suitable for general, orthopaedic, laparoscopic, caesarean and ENT surgeries | 1 | unit |
| 8 | Fully automated blood chemistry analyzer suitable for routine biochemical testing | 1 | unit |
| 9 | Digital mobile X-ray system with wireless flat panel detector | 1 | unit |
| 10 | Endodontic rotary motor unit, cordless type | 1 | unit |
| 11 | Automated haematology analyzer, 3-part differential | 1 | unit |
| 12 | Ordinary light microscope, laboratory grade | 1 | unit |
| 13 | Urine analyzer | 1 | unit |
| 14 | Dental unit complete with chair, dentist and assistant elements, dental light and accessories | 1 | unit |
| 15 | Dental cabinet trolley | 3 | unit |
| 16 | Medication cart (lockable, mobile) | 2 | unit |
| 17 | Portable operation lamp (mobile LED surgical light) | 1 | unit |
| 18 | Dental digital X-ray, wall-mounted type | 1 | unit |
| 19 | Mobile X-ray table with integrated detector bucky tray | 1 | unit |
| 20 | Class B autoclave sterilizer | 2 | unit |

### B. Consumables and Accessories

| # | Item Description | Quantity | Unit |
| --- | --- | --- | --- |
| 21 | Airway set (OPA + NPA, all sizes) | 40 | set |
| 22 | McGill forceps (adult & pediatric) | 4 | unit |
| 23 | Laryngoscope set + ET tubes (assorted sizes) | 2 | set |
| 24 | Bag valve mask (BVM), adult & pediatric | 5 | unit |
| 25 | Nasal cannula, adult & pediatric | 250 | unit |
| 26 | Non-rebreather oxygen masks (3 sizes) | 200 | unit |
| 27 | IV start packs | 500 | unit |
| 28 | Normal saline 0.9%, 1,000 ml IV bags | 1000 | unit |
| 29 | Suction machine consumables (1-year supply) | 1 | set |
| 30 | Electrosurgical unit consumables (1-year supply) | 1 | set |
| 31 | Blood chemistry analyzer reagents and consumables (1-year supply) | 1 | set |
| 32 | Digital mobile X-ray consumables and accessories (1-year supply) | 1 | set |
| 33 | Endodontic consumables (1-year supply) | 1 | set |
| 34 | Defibrillator consumables (pads + battery, 1-year supply) | 1 | set |