## Fin Quotation
FINANCIAL OFFER - Tenderers must price every equipment and consumables item and every associated service below. The total lot price must include all costs required by the Specifications; no unpriced mandatory cost may be charged later.
s/n | Type and Description of the items (Medical devices) | Unit | Quantities | Category Lot | Location Jordan -rawashed - Karamah medical Center " KMC | Bidder's Unit quotation excluding VAT /sale tax in EURO | Bidder's Total quotation
1 | Emergency trolley (crash cart), complete | pcs | 1 | Medical Equipment | KMC |  | 0
2 | Patient monitor (minimum ECG / NIBP / SpO2, portable, suitable for emergency use) | pcs | 2 | Medical Equipment | KMC |  | 0
3 | Defibrillator (AED / Manual, adult & pediatric, biphasic) | pcs | 1 | Medical Equipment | KMC |  | 0
4 | Examination couch | pcs | 1 | Medical Equipment | KMC |  | 0
5 | Hospital bed, manual (short-term observation, multi-function) | pcs | 4 | Medical Equipment | KMC |  | 0
6 | Suction machine, medical grade, mobile (high vacuum, continuous operation) | pcs | 2 | Medical Equipment | KMC |  | 0
7 | Electrosurgical unit suitable for general, orthopaedic, laparoscopic, caesarean and ENT surgeries | pcs | 1 | Medical Equipment | KMC |  | 0
8 | Fully automated blood chemistry analyzer suitable for routine biochemical testing | pcs | 1 | Medical Equipment | KMC |  | 0
9 | Digital mobile X-ray system with wireless flat panel detector | pcs | 1 | Medical Equipment | KMC |  | 0
10 | Endodontic rotary motor unit, cordless type | pcs | 1 | Medical Equipment | KMC |  | 0
11 | Automated haematology analyzer, 3-part differential | pcs | 1 | Medical Equipment | KMC |  | 0
12 | Ordinary light microscope, laboratory grade | pcs | 1 | Medical Equipment | KMC |  | 0
13 | Urine analyzer | pcs | 1 | Medical Equipment | KMC |  | 0
14 | Dental unit complete with chair, dentist and assistant elements, dental light and accessories | Set | 1 | Medical Equipment | KMC |  | 0
15 | Dental cabinet trolley | pcs | 3 | Medical Equipment | KMC |  | 0
16 | Medication cart (lockable, mobile) | pcs | 2 | Medical Equipment | KMC |  | 0
17 | Portable operation lamp (mobile LED surgical light) | pcs | 1 | Medical Equipment | KMC |  | 0
18 | Dental digital X-ray, wall-mounted type | pcs | 1 | Medical Equipment | KMC |  | 0
19 | Mobile X-ray table with integrated detector bucky tray | pcs | 1 | Medical Equipment | KMC |  | 0
20 | Class B autoclave sterilizer | pcs | 2 | Medical Equipment | KMC |  | 0
21 | Airway set (OPA + NPA, all sizes) | set | 40 | Consumables and Accessories | KMC |  | 0
22 | McGill forceps (adult & pediatric) | unit | 4 | Consumables and Accessories | KMC |  | 0
23 | Laryngoscope set + ET tubes (assorted sizes) | set | 2 | Consumables and Accessories | KMC |  | 0
24 | Bag valve mask (BVM), adult & pediatric | unit | 5 | Consumables and Accessories | KMC |  | 0
25 | Nasal cannula, adult & pediatric | unit | 250 | Consumables and Accessories | KMC |  | 0
26 | Non-rebreather oxygen masks (3 sizes) | unit | 200 | Consumables and Accessories | KMC |  | 0
27 | IV start packs | unit | 500 | Consumables and Accessories | KMC |  | 0
28 | Normal saline 0.9%, 1,000 ml IV bags | unit | 1000 | Consumables and Accessories | KMC |  | 0
29 | Suction machine consumables (1-year supply) | set | 1 | Consumables and Accessories | KMC |  | 0
30 | Electrosurgical unit consumables (1-year supply) | set | 1 | Consumables and Accessories | KMC |  | 0
31 | Blood chemistry analyzer reagents and consumables (1-year supply) | set | 1 | Consumables and Accessories | KMC |  | 0
32 | Digital mobile X-ray consumables and accessories (1-year supply) | set | 1 | Consumables and Accessories | KMC |  | 0
33 | Endodontic consumables (1-year supply) | set | 1 | Consumables and Accessories | KMC |  | 0
34 | Defibrillator consumables (pads + battery, 1-year supply) | set | 1 | Consumables and Accessories | KMC |  | 0
ASSOCIATED SERVICES AND OTHER MANDATORY COSTS if there are
Ref. | Description | Unit | Quantity | Category | Location | Bidder's unit quotation (€ excl. VAT) | Bidder's total quotation (€ excl. VAT)
S1 | International freight, cargo insurance and customs-clearance costs | LS | 1 | Associated service | KMC |  | 0
S2 | Inland transport, handling, storage and delivery to Jordan | LS | 1 | Associated service | KMC |  | 0
S3 | Installation, connection, testing, calibration and commissioning | LS | 1 | Associated service | KMC |  | 0
S4 | Building/electrical adaptations generated by installation and reinstatement | LS | 1 | Associated service | KMC |  | 0
S5 | User training at both hospitals, including materials and competency assessments | LS | 1 | Associated service | KMC |  | 0
S6 | Biomedical/technical maintenance training, including required tools | LS | 1 | Associated service | KMC |  | 0
S7 | Consumables and reagents required for installation, testing, training and acceptance | LS | 1 | Associated service | KMC |  | 0
S8 | Essential spare-parts package and spare-parts inventory | LS | 1 | Associated service | KMC |  | 0
S9 | Preventive and corrective maintenance during the warranty period | LS | 1 | Associated service | KMC |  | 0
S10 | Warranty and after-sales support, including travel, labour and replacement costs | LS | 1 | Associated service | KMC |  | 0
S11 | Documentation, manuals, certificates, reports and final handover package | LS | 1 | Associated service | KMC |  | 0
S12 | Packaging removal, waste disposal and final site cleaning | LS | 1 | Associated service | KMC |  | 0
EQUIPMENT SUBTOTAL – LOT 1 | [6 empty] | 0
ASSOCIATED SERVICES SUBTOTAL – LOT 1 | [6 empty] | 0
TOTAL FIXED PRICE – LOT 1 (€ EXCL. VAT) | [6 empty] | 0

## Instructions
BIDDER FINANCIAL OFFER – COMPLETION INSTRUCTIONS
1 | Complete every yellow pricing cell. A zero price must be entered as 0; mandatory lines must not be left blank.
2 | Equipment totals are calculated as quantity × unit price. Associated services are priced as lump sums.
3 | The total fixed price for each lot must include all supplies and services required by the Technical Specifications.
4 | Prices are firm, non-revisable and stated in EUR exclusive of VAT.
5 | No cost omitted from this financial annex may be invoiced later unless covered by a duly signed contract amendment.