## Appendix A ENG
APPENDIX A : contractor feedback to specifications
|  |  | Specifications title |  |  | Microscope 3D |  |  |  |  | Only cells in white can be modified All comments shall be preceded by date
|  |  | Specifications reference |  |  | DRT-LETI-DOPT-SISP-LAIP-26-07-001636
Contractor company name
Quotation reference
|  |  | Contractor reply Please add "X" in relevant column |  |  | If Contractor reply involves change to specification --> Specification discussion between Contractor and CEA-Leti
Item number | Item title | LETI owner | Fully accepted | Accepted with modification | Not applicable | Contractor comment #1 + date | CEA-Leti comment #1 + date | Contractor comment #2 + date | CEA-Leti comment #2 + date | Contractor comment #3 + date | CEA-Leti comment #3 + date | CEA-Leti final decision
1 | PURPOSE | CP
Appendix A
Appendix H
Appendix I
Appendix J
Packing list
2 | PROCESSES OR MEASUREMENT SPECIFICATION | CP
Procédé 1- Test 1
Procédé 1- Test 2
Procédé 2- Test 1
Procédé 2- Test 2
Procédé 2- Test 3
Procédé 3- Test 1
Procédé 3- Test 2
Procédé 3- Test 3
Procédé 4- Test 1
Procédé 4- Test 2
Procédé 4- Test 3
Procédé 5- Test 1
Procédé 5- Test 2
3.1 | Equipment description | CP
3.2.1 | Pumping system | CMA |  |  | x
3.2.2 | Gas/chemical lines | CMA |  |  | x
3.2.3 | Equipment consumption monitoring | CMA |  |  | x
3.2.4 | Idle mode management and interface with peripheral sub-equipments | CMA |  |  | x
3.2.5 | Flammable gas management | CMA |  |  | x
3.2.6 | Temperature control | CP / CMA
3.2.7 | Vibrations | CHU
3.2.8 | Other | CP / CMA
3.3.1 | IT configuration | Informatique salles blanches
3.3.2 | Antivirus & Data Back-up | Informatique salles blanches
3.4.1 | Wafers specifications | CP |  |  | x
3.4.2 | Load ports | CP |  |  | x
3.4.3 | Handling and contact surfaces | CP |  |  | x
3.4.4 | References of wafer carriers used on equipment | CP |  |  | x
3.4.5 | Handling system reliability | CP |  |  | x
3.5 | Mini environment Si tableau, sinon à enlever | CP |  |  | x
3.5.1 | Check of the physical characteristics of the air | CP |  |  | x
3.5.2 | E.S.D. (Electrostatic Discharge) | CP |  |  | x
3.5.3 | Particle check | CP |  |  | x
3.6 | Interface with the rest of the clean room and its organization | CP |  |  | x
3.7.1 | Particle contamination | Referent contamination |  |  | x
3.7.2 | Metallic contamination | Referent contamination |  |  | x
3.8.1 | Interface facilities - CMP Si applicable, sinon à enlever | CMA |  |  | x
3.8.2 | Interface facilities - Wet Bench Si applicable, sinon à enlever | CHU
4.1.1 | Building characteristics | CHU
4.1.2 | Building fluids | CHU
4.1.3 | Building power network specifications | CHU
4.1.4 | Adaptation of the machine to the power network | Resp. conformité CE
2014/35/EC (Transformer) Low voltage Directive
CE marking (Transformer)
NF EN 61558 (Transformer) Safety of transformers, reactors, power supply units and combinations thereof
NF EN 60076 (Transformer) Power Transformers General
4.1.5 | Uninterruptible power supply (UPS) | Resp. conformité CE
4.2 | Management of the environment | CHU
4.2.1 | Process cooling water | CHU |  |  | x
4.2.2 | Exhaust & other internal equipment air systems | CHU |  |  | x
4.2.3 | Segregation of liquid effluents | CHU |  |  | x
4.2.4 | Case of DI return or recycling of ultra-pure water | CHU |  |  | x
4.2.5 | Gaseous effluents | Ingenieur securite |  |  | x
4.2.6 | Odours | Ingenieur securite |  |  | x
5.1 | EC conformity | Resp. conformité CE
Directive 2006/42/EC Machinery Directive
Directive 2014/30/EU EMC Directive
Directive 2014/35/EU Low Voltage Directive
Directive 2014/34/EU ATEX Directive
Directive 2014/68/EU Pressure Directive
NF EN ISO 12100 Safety of machinery. General principles for design. Risk assessment and risk reduction
NF EN ISO 13849-1 Safety of machinery. Safety-related parts of control systems - General principles for design
NF EN 60204 Safety of machinery. Electrical equipment of machines. General requirements.
NF EN ISO 14119 Safety of machinery. Interlocking devices associated with guards. Principles for design and selection
NF EN 14175-1 to 4, 6&7 Fume Cupboards
5.2 | Risks connected with facilities | Ingenieur securite
5.3 | Risks connected with fire | Ingenieur securite |  |  | x
5.4 | Risks connected with chemical products | Ingenieur securite
EC 1907/2006 (REACH)
5.5 | Risks connected with handling | Ingenieur securite
5.6 | Risks connected with pressurised equipment | Ingenieur securite
5.7 | Risks connected with work at height | Ingenieur securite
EN ISO 14122-3 Safety of machinery. Permanent means of access to machinery - Stairways, stepladders and guard-rails
EN 795 Personal fall protection equipment. Anchor devices
5.8 | Risks connected with laser radiation | Ingenieur securite
EN 60825-1 Safety of laser products - Equipment classification and requirements
5.9 | Risks related to sources of ionizing radiation (radioactive sources / electric generators of ionizing radiation, etc.) | Ingenieur securite |  |  | x
NFC 74-100 Radiology equipment –X RAY apparatus construction and tests requirements
5.10 | Risks connected with noise | Ingenieur securite
5.11 | Risks connected with temperature | Ingenieur securite
NF EN ISO 13732-1&3 Ergonomics of the thermal environment. Methods for the assessment of human responses to contact with surfaces – Hot surfaces (-1) Cold Surfaces (-3)
NF EN ISO 13849-1 Safety of machinery. Safety-related parts of control systems - General principles for design
5.12 | Signaling | Ingenieur securite
5.13 | Intervention conditions on the CEA-LETI site | Ingenieur securite
6.1 | Corporate Social Responsibility (CSR) | CINV
6.2 | Sustainable development and development of the local economic fabric | CINV
6.3 | Energy performance | CINV
7 | EQUIPMENT DELIVERY CONDITIONS | COI
8 | CONDITIONS FOR INSTALLING EQUIPMENT | CHU
9 | TRAINING & LEARNING | CP / CMA / CINV
Training for use of the equipment
Safety training
Level 1 maintenance training
Advanced maintenance training
Training certificate
10 | DOCUMENTATION | Resp. conformité CE
11.1 | Warranty conditions | CINV
11.2 | Support during warranty | CMA
11.3 | Equipment performance indicators | CMA / CINV
12.1.1 | List of spare parts | CMA
12.1.2 | Process-kit | CMA |  |  | x
12.1.3 | Storage area | CMA
12.2 | Maintenance contract | CMA
12.3 | Cost of ownership (COO) | CMA |  |  | x
13.1 | Checks and tests at the factory (Factory acceptance) | CP |  |  | x
13.2 | Check upon delivery and at unpacking | COI
13.3 | Installation and commissioning | COI
NF X 08-100 Fluid interconnection labelling (when provided by Contractor)
13.4 | Qualification | CP
13.5 | Acceptance | CP / CINV
13.6 | End of warranty | CINV
14 | INSTALLATION PREPARATION SCHEDULE | COI
PID approval
Validation upon final agreement
[6 empty] | Name | Date | Signature
Process owner (CP)
Investment and supplier partnership group (CINV)
Contractor