## Feuille 1 - Tender for an integ
Technical and administrative specifications of proposed devices |  | Requirements / suggested
Identification
Thulium laser device brand name
Thulium laser device identification name
CE certfification class
CE agreement for thulium laser
Date of first marketing of the proposed version
Thulium laser specifications
Thulium laser type (fiber-coupled thulium (TFL) and “pulsed thulium YAG” (p-Tm:YAG))
Laser core brand
Generator power (60W)
Wave length range
Pulse wave shape
Mono or tri-phase of power supply needed ?
Optic fibers for rigid endoscope
Diameter of fiber proposed 1
Diameter of fiber proposed 2
Diameter of fiber proposed 3
Optic fibers for flexible endoscope | Diameter of fiber proposed 1
Diameter of fiber proposed 2
Diameter of fiber proposed 3
Ergonomy
Size of the equipment
associated trolley
Site preparation, installation, commissioning and warranty
3.1 Installation
3.2 Commissioning
3.3 Training
Local training of clinical staff and MR operating technicians : security conditions of use
Maintenance course
Local training of technicians and engineers of the hospital
3.4 Warranty
| Duration of the warranty | 2 years min
Conditions of warranty : intervention maximal time, penalties, …
starting day
Medium and long term exploitation of the MR : after-sales services
4.1 Warranty extension (OPTIONAL separate pricing)
Duration of extended warranty
4.2 Maintenance conditions
Advice and support
| Commitment on the annual price of maintenance all included : spare parts, refill of He, work, travel, restart, … | 3 years @ min
Intervention delay
Distance performance and failure monitoring
Maintenance of air conditioning central system for MR service
4.3 Continuous education and development of skills for clinical staff (prescription and radiologist) and mammography operating technicians
| Continuous local training of clinical staff and MR operating technicians : use of sequences and patient flow optimisation (installation, preparation of series of sequences, …) | Regularly each year
Education programs abroad at the manufacturer site (OPTIONAL separate pricing)
4.4 Research cooperation program (OPTIONAL separate pricing)
| Scholarships for students | nature of grants proposed, level, …
Applied research program for the region
Medico-scientific area of interest
Make this university MR service a regional center of education
Make this university MR service a regional center of demonstration
4.5 Upgrade after 3 years proposition
Hardware
Software and sequences